Ergonomic and Safety Impacts of Wearable Technology in Laboratories
Ibeh, Nkiruka Joy1, Nwandieze, Fortune Onyedikachi2, Okoye Emeka Obiora3, Francis, Akoma Victor4, Ogbu, Eucharia Chinagolum5, Oritsebinone, Esther Imoh6, Onwubuta, C. Godspower7
1&6Industrial Chemistry and Petrochemical Technology, School of Science Laboratory Technology, University of Port Harcourt.
2,3&4 Physics with Electronics Technology, School of Science Laboratory Technology, University of Port Harcourt.
5Microbiology Technology, School of Science Laboratory Technology, University of Port Harcourt
7Biochemistry Technology, School of Science Laboratory Technology, University of Port Harcourt
Correspondence: nwandiezekachi@gmail.com 08060562865
Abstract

The laboratory environment presents unique and compounded challenges related to ergonomics and safety. Technicians and scientists are exposed to repetitive strain injuries from pipetting and microscopy, physical fatigue from handling heavy equipment, and significant chemical, biological, and physical hazards. The emergence of wearable technology offers a paradigm shift in how these challenges are managed. This paper provides a comprehensive analysis of the ergonomic and safety impacts of wearable devices, such as smart glasses and exoskeletons, within the laboratory setting. It explores how smart glasses enhance safety awareness by providing hands-free access to Safety Data Sheets (SDS), enabling remote expert guidance, and improving procedural accuracy, thereby reducing human error. Concurrently, the paper examines the role of exoskeletons in mitigating ergonomic risks by providing physical support during tasks like lifting heavy containers or maintaining static postures, potentially reducing the incidence of work-related musculoskeletal disorders (MSDs). Case study evidence indicates a 15% time saving per test and reduced documentation errors with smart glasses, as well as decreased shoulder muscle activity with upper‑body exoskeletons. However, the integration of these technologies is not without drawbacks. This analysis also addresses critical challenges, including initial cost, cybersecurity vulnerabilities, potential for new forms of distraction, the ergonomic design of the wearables themselves, and the need for robust training protocols. The paper concludes that while wearable technology holds immense promise for creating safer and more ergonomically sound laboratories, its successful implementation requires a careful, risk‑assessed approach that balances technological benefits with pragmatic considerations of cost, usability, and human factors.
Keywords: Wearable Technology, Laboratory Safety, Ergonomics, Smart Glasses, Exoskeletons, Safety Data Sheets (SDS), Musculoskeletal Disorders (MSDs), Human Factors.
1.0 Introduction 
1.1 Ergonomic and Safety Considerations in Laboratory Environments 
Laboratories, encompassing academics, pharmaceuticals, biotechnology, and chemical industries, are vibrant environments where innovation and discovery transpire. Nevertheless, they are also settings laden with considerable hazards. These risks can be classified into two interrelated domains: safety and ergonomics. Safety dangers encompass exposure to poisonous chemicals, pathogenic biological agents, radioactive substances, and the risk of fires or explosions (Furr, 2000). Ergonomic hazards, frequently more subtle, arise from the inherent characteristics of laboratory work, extended durations of static postures (e.g., microscopy, biosafety cabinet operations), highly repetitive activities (e.g., pipetting, vial capping), and the manual manipulation of heavy or cumbersome objects (e.g., gas cylinders, large solvent containers) (Woods & Buckle, 2006). These ergonomic stressors are a significant contributor to work-related musculoskeletal diseases (MSDs), resulting in pain, absenteeism, and chronic impairment among laboratory staff (David, 2005). 
Historically, the management of these risks has depended on a blend of administrative controls (standard operating procedures, training), engineering controls (fume hoods, ergonomic furniture), and personal protective equipment (PPE) including lab coats, gloves, and safety glasses. Although effective, these methodologies possess constraints. Accessing essential safety information, such as a Safety Data Sheet (SDS), frequently necessitates that a technician halt their tasks, remove gloves, and go to a computer terminal, disrupting production and potentially elevating exposure risk. Likewise, ergonomic solutions such as adjustable chairs can only partially mitigate the strain associated with repetitive, fine-motor activities. 
Figure 1 presents a conceptual framework linking laboratory challenges to wearable interventions and outcomes (see end of this section for figure placement).
[image: image1.jpg]LABORATORY )
CHALLENGES T

»ﬁ\Ergonomic INTERVENTI(}NS\ Ol}TCOM’ES
l

/MY (MSDs, &0 Q’@

fatigue) Smart glasses, j» Reduced errors,

Exoskeletons, faster response,
0% Safety & Sensors .~ lower MSD rates

‘?(chemical, el % 2,‘ J /

biological, L ® ) ® 0‘

physical hazards)





Figure 1: Conceptual framework linking laboratory challenges to wearable interventions and expected outcomes.
1.2 The Rise of Wearable Technology in Scientific Practice
The Fourth Industrial Revolution has created a novel category of instruments: wearable technology. Wearables, defined as electronic devices that may be worn on the body as accessories or integrated into clothing, such as smartwatches, fitness trackers, and smart glasses, are getting progressively advanced (Boulos & Yang, 2013). Their potential is being recognized in the industrial and healthcare sectors for activities such as intricate assembly and remote patient monitoring. In the laboratory setting, wearable technology offers the potential to address deficiencies in conventional safety and ergonomic measures. Wearables can seamlessly incorporate safety and ergonomics into the laboratory professional's workflow by delivering real-time, context-sensitive information and physical help. 
1.3 Objective and Scope
This research intends to critically evaluate the ergonomic and safety implications of wearable technology in laboratory settings. The primary emphasis will be on two principal groups of devices: 
1. Smart Glasses and Augmented Reality (AR) Headsets: To improve safety awareness and procedural precision. 
2. Exoskeletons: To mitigate physical strain and avert musculoskeletal disorders (MSDs). 
The study will examine the methods by which these technologies enhance results, substantiated by existing research and theoretical frameworks. It will offer a comprehensive study by addressing the major problems, limitations, and possible adverse effects of their application. The study will ultimately address the incorporation of wearables into a comprehensive laboratory safety culture, taking into account elements such as risk assessment, training, and prospective technical advancements. 
2.0 Methodology

This paper employs a narrative review methodology. A structured literature search was conducted using PubMed, Scopus, and Google Scholar for the period 2000–2025. Search terms included combinations of: “wearable technology” AND “laboratory safety”, “exoskeleton” AND “ergonomics”, “smart glasses” AND “laboratory”, “augmented reality” AND “hazard communication”, and “musculoskeletal disorders” AND “laboratory workers”. Only peer‑reviewed articles, conference proceedings, and authoritative reports (from NIOSH, OSHA, and equivalent bodies) written in English were included. Two case studies were synthesized from published pilot implementations (Blair, 2016; Hincapié et al., 2021; de Looze et al., 2016; Theurel & Desbrosses, 2019). No primary data collection was performed. Given the lack of studies on laboratory-specific wearables, information from industrial ergonomics and healthcare settings was cautiously extrapolated to this context, explicitly noting differences in danger profiles, workflow patterns and contamination needs.
Table 1 (in Section 3.3) summarizes the key technologies identified, and Table 2 (Section 5) maps ergonomic risk factors to wearable solutions.
3.0. Review of Literature 
3.1 Fundamentals of Laboratory Ergonomics 
Laboratory ergonomics is the discipline focused on optimizing workplace design to accommodate the user, aiming to reduce musculoskeletal disorders (MSDs) while enhancing productivity and well-being. Principal risk factors in laboratories encompass:
i. Repetition: Repetitive tasks such as pipetting necessitate thousands of repetitions daily, exerting strain on the tendons and muscles of the hand, wrist, and shoulder (Björksten et al., 1994).

ii. Force: The exertion of force while performing operations like opening adhered vial caps or manipulating manual micropipettes may lead to harm. 
iii. Awkward Postures: Utilizing biosafety cabinets frequently necessitates high arm positions, resulting in shoulder and neck pain. Prolonged use of microscopes is correlated with neck and back pain (Village & Trask, 2007). 
iv. Static Postures: Sustaining a stationary position for prolonged durations diminishes blood circulation and heightens muscular exhaustion. 
v. Contact Stress: Applying pressure from wrists or forearms on sharp cabinet edges may result in nerve compression. 
The economic and human implications of musculoskeletal disorders (MSDs) in laboratories are significant, necessitating more effective ergonomic interventions beyond conventional furniture and tool design (David, 2005). 
3.2 Fundamental Principles of Laboratory Safety 
Laboratory safety is regulated by the hierarchy of controls: elimination, substitution, engineering controls, administrative controls, and personal protective equipment (NIOSH, 2015). Figure 2 illustrates where wearable technologies fit within this hierarchy.
The OSHA Hazard Communication Standard (HCS) requires access to Safety Data Sheets (SDS) for all hazardous substances. Prompt accessibility is essential during spills, exposures, or regular usage. Moreover, rigorous compliance with complex, multi‑phase procedures is crucial for experimental integrity and staff safety, especially when handling biohazards or volatile materials.
[image: image2.jpg]Mﬁfh“zd Elimination / Substltutlon





Figure 2: Traditional hierarchy of controls (NIOSH) with wearable technology positioned as a bridge between engineering and administrative controls.
3.3 Overview of Relevant Wearable Technologies 
Smart Glasses and AR Headsets (e.g., Google Glass Enterprise Edition, Microsoft HoloLens): Superimpose digital information over the user’s visual field, enabling hands‑free interaction (Billinghurst & Starner, 1999).
Exoskeletons: Passive (springs, counterbalances) or active (motors, batteries). Upper‑body exoskeletons support arms and shoulders; back‑support exoskeletons aid lifting (de Looze et al., 2016).
Wearable Sensors: Posture monitors, heart rate sensors, and environmental detectors.
Table 1 provides a side‑by‑side comparison of these technologies for laboratory applications.
Table 1: Summary of Wearable Technologies for Laboratories
	Technology
	Primary Function
	Ergonomic Benefit
	Safety Benefit
	Key Limitation

	Smart glasses
	Hands‑free info display
	Neutral neck posture
	Real‑time SDS access
	Distraction, tunnel vision

	AR headsets
	Procedural overlay
	Reduced head rotation
	Hazard labeling
	Cybersickness, cost

	Passive exoskeleton (arm/back)
	Load support
	Reduced muscle fatigue
	N/A
	Bulk, fit issues

	Active exoskeleton
	Powered lifting assistance
	Lower spinal load
	N/A
	Battery life, high cost

	Wearable sensors (posture/HR)
	Biofeedback, monitoring
	Posture correction
	Vital sign alerts
	Privacy, data security



4.0. Enhancing Safety Awareness through Wearable Technology 
4.1. Hands-Free Information Access: Smart Glasses for Safety Protocols and Data Sheets
One of the most urgent applications of smart glasses is to offer instantaneous, hands-free access to essential information. In an emergency, such as a chemical splash or accident, time is of the essence. A technician equipped with smart glasses can utilize voice commands to access the pertinent Safety Data Sheet (SDS), displaying decontamination protocols, first-aid instructions, and flammability information directly inside their visual field, hence eliminating the need to search for a binder or operate a computer with contaminated gloves (Blair, 2016) [See Figure 3 for a visual mockup]. This not only accelerates the reaction but also reduces the chance of secondary exposure or contamination.
[image: image3.jpg]A =
- om =
SDS - Acetone ‘ | ‘
— Flammability: High
— First Aid: Flush skin





Figure 3: Smart Glasses Displaying an SDS in Real Time. Illustrative representation of a laboratory technician using smart glasses to view an SDS hands‑free while handling a chemical container.
Smart glasses can present sequential instructions or intricate recipes for regular activities. This is especially beneficial for educating new employees or for implementing infrequent yet essential practices where mistakes are expensive. Superimposing instructions on the workspace enables the user to concentrate on the equipment and materials, hence diminishing cognitive burden and the probability of omitting a step (Hincapié et al., 2021). 
4.2 Applications of Augmented Reality in Hazard Identification and Procedural Support 
In addition to exhibiting text, augmented reality can overlay virtual labels and alerts onto tangible items. A smart glass system coupled with laboratory inventory software might, for example, highlight certain chemical bottles using color-coded rings (e.g., red for highly dangerous, yellow for reactive) or display expiration dates. It may also assist a user in navigating a complex instrument setup by projecting arrows or animations that indicate the appropriate connection locations (Makhataeva & Varol, 2020). 
This visual guidance can improve accuracy and minimize errors in processes like as calibration or assembly, hence fostering a safer working environment by assuring proper equipment usage. 
4.3. Virtual Collaboration and Professional Support 
Smart glasses facilitate "see-what-I-see" remote cooperation. A young worker encountering an unusual instrument malfunction or an unforeseen result can transmit their point-of-view video to a senior colleague or equipment specialist situated remotely. The remote expert can annotate the technician's real-world perspective with arrows, text, or diagrams to assist them in the troubleshooting process (Gurevich et al., 2015). This minimizes downtime, enables just-in-time training, and guarantees that intricate issues are addressed securely and accurately without the necessity for the expert's physical presence, which is particularly advantageous in high-containment (e.g., BSL-3/4) laboratories or remote field sites. 
4.4 Surveillance of Environmental Parameters and Employee Vital Signs 
Future applications may use wearable sensors with smart glasses or alternative wearables such as smart badges. These sensors can detect gas leaks, oxygen deprivation, or elevated radiation levels in the surrounding environment, offering the wearer prompt audio or visual notifications. Moreover, wearables can monitor the user's vital signs, including heart rate and body temperature, offering an early alert for heat stress or exposure to certain toxicants that induce physiological alterations (Boulos & Yang, 2013). This real-time biomonitoring may serve as an effective instrument for safeguarding employees in hazardous settings. 
5.0. Enhancing Ergonomic Results using Wearable Technology 
5.1. Exoskeletons for Material Manipulation and Load Assistance 
Manual material handling is a major contributor to lower back injuries in laboratories. Activities such as lifting substantial carboys of distilled water, maneuvering gas cylinders, or managing hefty animal feed sacks impose significant stress on the spine. Passive back-support exoskeletons, which often employ elastic bands or stiff structures to transfer weight from the spine to the legs and hips, can markedly diminish the muscular exertion necessary for lifting and bending (Theurel & Desbrosses, 2019). These devices may mitigate compressive stresses on the lumbar spine, hence potentially lowering the occurrence of acute injuries and chronic back pain among laboratory personnel engaged in these activities. Table 2 maps ergonomic risk factors to specific wearable solutions.
Table 2: Ergonomic Risk Factors and Corresponding Wearable Solutions
	Risk Factor
	Common Lab Task
	Wearable Solution
	Evidence Level

	Static neck posture
	Microscopy
	Posture‑sensing glasses
	Moderate (Kim et al., 2019)

	Elevated arms (static)
	Biosafety cabinet / fume hood
	Passive arm exoskeleton
	Strong (EMG studies, de Looze)

	Repetitive pipetting
	Liquid handling
	Exoskeletal glove
	Emerging (Simpson et al., 2021)

	Heavy lifting
	Carboy / cylinder handling
	Back‑support exoskeleton
	Strong (Theurel & Desbrosses)

	Prolonged standing
	Bench work
	Chairless chair (lower‑body exo)
	Moderate


5.2 Wearable Interventions for Repetitive Strain Injuries in Fine Motor Work
Although hand and finger exoskeletons are relatively rare, innovative solutions seek to mitigate the ergonomic challenges posed by repetitive pipetting. Certain proposals entail lightweight, passive exoskeletal gloves constructed from flexible materials and designed with appropriate resistance to assist the thumb and finger joints during the pipetting movement, thereby diminishing muscle fatigue and mitigating the danger of ailments such as tendinitis or carpal tunnel syndrome. Active devices might potentially fully automate the repeating motion, although this necessitates flawless interaction with the pipette. The principal ergonomic advantage is the diminishment of force and repetition, two critical risk factors for musculoskeletal disorders (Simpson et al., 2021). 

5.3 Wearable Technologies for Postural Support and Feedback
Upper-body exoskeletons are particularly pertinent for laboratory tasks performed within biosafety cabinets (BSCs) or fume hoods. These duties necessitate that workers maintain their arms in an elevated position for prolonged durations, resulting in swift fatigue and shoulder discomfort. Passive arm-support exoskeletons employ springs or counterbalances to support arm weight, enabling users to exert less muscular effort and sustain a neutral shoulder posture (de Looze et al., 2016). This can prolong the duration a worker can efficiently and securely function within a BSC. 
In addition to physical support, certain wearable sensors can deliver haptic feedback which is a subtle vibration to notify users when they assume an awkward or high-risk posture, such as extreme neck flexion while observing through a microscope. Figure 4 depicts a exoskeleton in use at BSC This biofeedback process facilitates self-correction and enhances posture awareness, an essential element of ergonomic training (Kim et al., 2019). 
[image: image4.png]indicating high muscle
activity without the
the exoskeleton

indicating reduced
muscle activity with
the exoskeleton

%





Figure 4: Upper-Body Exoskeleton Use at a Biosafety Cabinet: Anatomical Illustration of Muscle Activation Reduction with a Passive Arm-Support Exoskeleton During BSC Work
6. Challenges and Constraints in Wearable Technology Adoption
The incorporation of wearable technology in laboratories is not a cure-all and poses numerous substantial obstacles that require resolution. 
6.1 Technological and Financial Limitations in Laboratory Wearable Applications
The substantial initial expense of sophisticated wearable technology, especially durable AR headsets and active exoskeletons, can be a barrier for numerous organizations (Nicolás et al., 2021). Figure 5 presents a risk-benefit matrix to guide investment decisions. Moreover, these gadgets necessitate auxiliary infrastructure, including software platforms, Wi-Fi connectivity, and IT support. The battery life is a significant limitation; a gadget that cannot endure a whole work shift is impractical. The overall cost of ownership, encompassing maintenance, software upgrades, and ultimate replacement, must be substantiated by a definitive return on investment reflected in diminished injury rates, enhanced efficiency, and reduced errors. 
[image: image5.jpg]Emerging Wearable Technology Risk-Benefit Matrix

High

sl Smart glasses

8

£ I
=

c

(D]

gS

~ Wearable sensors

G

Low Qf

Low Ease of Implementation High




Figure 5: Risk-Benefit Matrix for Wearable Technologies

Caption: Decision matrix to prioritize wearable investments based on ease of implementation and potential safety/ergonomic impact.

6.2 Human Factors and Usability Issues 
A technology that is uncomfortable, obtrusive, or cumbersome will be dismissed by its target consumers. Smart glasses may induce eye strain and motion sickness, referred to as cybersickness, in certain persons, and may lack compatibility with conventional prescription eyewear or other personal protective equipment (Krüger et al., 2022). Exoskeletons must be accurately tailored to the particular user to ensure efficacy and prevent the emergence of pressure spots or unwanted movement restrictions. If a technology is regarded as unwieldy or disruptive to intricate activities, laboratory personnel will be hesitant to embrace it.
A six‑month longitudinal study of 43 logistics workers found that while baseline vision changes were small, participants over 40 had 16.1 times higher odds of near‑vision deterioration compared to those under 40 (Hartmann et al., 2024). The most commonly reported symptoms were eye fatigue (n=32), rubbing (n=25), and burning (n=24), leading researchers to recommend pre‑implementation eye examinations for smart glass users. Beyond ocular effects, a systematic review of 21 studies on augmented reality smart glasses identified 38 factors influencing acceptance, with visual discomfort and privacy risk among the strongest predictors of use (Koutromanos & Kazakou, 2023). Furthermore, the mental workload associated with wearable devices remains high and constitutes a major barrier to long‑term adoption; as Marchand et al. (2021) concluded, "mental workload associated with their use remains high and becomes a major challenge to their ecological use". Worker acceptance also depends critically on comfort and ease of use. Baldassarre et al. (2022) found in their systematic review of 24 field studies that "comfort and easiness of use are the key factors influencing the user's experience" and that exoskeleton effectiveness is highly task‑specific, with dynamic tasks presenting particular challenges. People have different requirements for exoskeleton comfort and fit. In field research with logistics workers, de Vries et al. (2023) found that even with significant reductions in anterior deltoid muscle activity (13‑39%) and upper trapezius (16‑60%), the emotions of workers toward using the shoulder exoskeleton decreased over time, raising questions about long‑term suitability. As Kranz et al. (2023) concluded about back‑support exoskeletons, "a significant lack of user acceptance" resulted primarily from movement restrictions and discomfort. Manufacturers need to consider these user experience factors early in the design process, as they will likely determine whether lab personnel adopt or reject the technology.
 6.3 Implications of Data Security and Privacy 
Wearable devices, particularly those equipped with cameras and microphones, accumulate extensive data. This elicits significant apprehensions around data security and employee privacy. Video streams from a laboratory may encompass proprietary research data or intellectual property. The potential for continuous surveillance of employee performance and activities may foster a culture of distrust and provoke ethical dilemmas (Michael & Michael, 2013). Stringent cybersecurity protocols and explicit policies regarding data ownership, utilization, and storage are essential precondition for deployment. 
6.4 Possibility of Emerging Safety Risks and Distractions 
An inadequately executed wearable device can present additional risks. An exoskeleton with projecting components may become entangled with equipment or ignite in a combustible environment. The visual interface of smart glasses may have a "tunnel vision" effect, diverting the user's attention from peripheral dangers such as a colleague transporting a hot beaker or a spill on the floor (Nicolás et al., 2021). The cognitive load associated with using a voice-controlled device may distract from the core job, hence heightening the likelihood of error. A comprehensive task-oriented risk assessment is necessary prior to the implementation of any wearable device. 
The relationship between wearable technology and cognitive load presents a more complex picture than simple distraction. Extensive evidence suggests that the mental workload associated with wearable assistive devices remains high and constitutes a major challenge to ecological use and long‑term adoption (Marchand et al., 2021). In dual‑task paradigms, wearing smart glasses has been shown to produce slower responses and worse performance in selective attention compared to other display modalities. However, not all cognitive effects are negative; Chen et al. (2023) demonstrated that well‑designed wearable devices can augment auditory attention and memory by offloading cognitive tasks, thereby freeing up resources for primary activities. This suggests that the cognitive impact is highly dependent on task fit, interface design, and user proficiency. Safety‑critical tasks in laboratories may demand simpler, more intuitive wearable interfaces to avoid dangerous distraction or "tunnel vision" effects during emergencies. Where laboratory personnel perform multiple simultaneous operations, organizations should implement graduated training that builds cognitive fluency before relying on wearables for time‑sensitive safety responses.

7. Case Analyses and Implementations 
7.1 Case Study 1: Smart Glasses in a Pharmaceutical Quality Control Laboratory 
A major pharmaceutical corporation deployed smart glasses in its quality control laboratory for the examination of raw materials. Technicians were mandated to execute a sequence of tests adhering to stringent guidelines and record outcomes in a Laboratory Information Management System (LIMS). This formerly required frequent head rotation between the bench device and a computer screen, resulting in neck pain and possible transcription inaccuracies. 
Post-implementation, technicians utilized smart glasses to observe the test method phases without the need for hands-on interaction. They could utilize voice commands to input results straight into the LIMS. The result was a 15% saving in time per test and a notable reduction in documentation errors. Anonymized questionnaires revealed that technicians experienced reduced neck and ocular tiredness by the day's conclusion. The experiment established a definitive correlation between the ergonomic advantage of a neutral head posture and the safety benefit of enhanced procedural accuracy, as synthesized from the works of Blair (2016) and Hincapié et al. (2021). 

7.2 Case Study 2: Upper-Body Exoskeletons in a Biorepository 
A biobank overseeing thousands of tissue samples preserved in liquid nitrogen freezers experienced a significant incidence of shoulder injuries among its personnel. Retrieving boxes of samples from the depths of the freezers necessitated extended arm elevation in a frigid environment, creating an ideal scenario for musculoskeletal discomfort. 
The facility conducted a trial program utilizing passive upper-body exoskeletons for personnel engaged in retrieval duties. The exoskeletons provide gravity assistance to the arms, diminishing the physical exertion necessary to elevate them. Following a three-month experiment, EMG data indicated a substantial decrease in muscular activity in the trapezius and deltoid muscles. Employees subjectively noted reduced weariness and pain. The significant initial investment yielded a favorable cost-benefit analysis, indicating a positive return due to decreased workers' compensation claims and related lost-time injuries, as supported by de Looze et al. (2016) and Theurel & Desbrosses (2019). 
8. Discussion: Integrating Wearable Technology into Safety Culture 
The effective incorporation of wearable technology into laboratories necessitates more than mere acquisition of gadgets. It should be integral to a strategic, human-centered methodology incorporated within the organization's comprehensive safety culture. 
8.1 The Function of Risk Evaluation 
A comprehensive risk assessment tailored to the wearable device and the task must be performed prior to deployment. This evaluation should inquire: 
i. Does the gadget address a distinctly recognized safety or ergonomic issue? 
ii. What novel hazards does the device present (e.g., entanglement, distraction, cybersecurity)? 
iii. Is the equipment suitable for the laboratory setting (e.g., intrinsically safe for use with combustible materials)? 
iv. What is the procedure for cleaning and decontaminating the device? 
[image: image6.png]-MENTATION ROADMAP

@ SE 1: Risk assessment & ©

*Initial Analysis and Planning.

EOOO - Pi = 3 4

B roscz ey ) §

= PHASE 3: Training & changtﬂ' ¥
*Workforce Preparation and Adoption.

a PHASE 4: Full rollout & iterative im

*Continuous Enhancement and Expansion.

O
(Ongoing)

D i —p
Month 1 Month 2 Month 3 Month 4 Ongoing




Figure 6: Implementation Roadmap for Laboratory Wearables

(Recommended phased approach for integrating wearables into laboratory safety culture).

Table 3: Checklist for Implementing Wearables in a Lab
	Domain
	Question
	Yes/No
	Action if No

	Risk assessment
	Has a JSA been updated for wearable use?
	
	

	Fit & comfort
	Tested on diverse body types?
	
	

	Decontamination
	Cleanable with lab disinfectants?
	
	

	Privacy
	Policy on video/audio recording?
	
	

	Training
	Module on wearable limitations?
	
	

	Emergency
	Does it obstruct PPE or egress?
	
	



8.2 Training and Change Management
 Employees must receive enough training not only on the utilization of the technology but also on its constraints. Change management is essential to surmount resistance. Engaging personnel in the selection and pilot-testing process cultivates a sense of ownership and guarantees that the selected solution effectively addresses their needs. Training must underscore that wearables serve to enhance human capabilities rather than supplant vigilance or essential safety protocols.
 
8.3 Prospective Pathways and Innovative Technologies 
The prospects for wearables in laboratory settings are optimistic. Progress in battery technology, miniaturization, and artificial intelligence will result in products that are lighter, more powerful, and more intuitive. Prospective systems may incorporate: 
i. AI-Enhanced Predictive Safety: Eyewear utilizing computer vision to autonomously recognize chemical containers and alert the user of potential incompatible mixtures.

ii. Advanced Bio-Monitoring: Incorporation of stress and tiredness sensors that recommend micro-breaks to avert cognitive mistakes. Recent research confirms that multimodal sensor fusion combining heart rate, skin temperature, kinematic data, and electrooculography, enables real‑time, non‑invasive fatigue and stress detection in occupational settings (Papetti et al., 2025; Liang et al., 2024). Scoping review evidence indicates that such wearable sensor technologies "significantly contribute to workplace safety by providing real‑time, data‑driven insights into environmental hazards and workers' physiological status, thus supporting proactive health management" (Taborri et al., 2023).
iii. Haptic Navigation: Gloves that vibrate subtly to direct a user's hand to the appropriate tool or reagent, therefore minimizing search duration and cognitive burden. 
What Laboratory Managers Should Ask Before Buying Wearables

a. Have we conducted a job safety analysis (JSA) that includes the wearable device?

b. Is the device comfortable and adjustable for all body types and existing PPE?

c. Can it be decontaminated with our standard lab disinfectants?

d. Is there a policy on data privacy, recording, and cybersecurity?
e. Have we budgeted for training, maintenance, and eventual replacement?
8.4 Research Gaps and Future Directions 
The scientific community must urgently address the substantial gaps in the evidence base, despite the promise of wearable technologies for laboratory ergonomics and safety. 
There are no longitudinal outcome studies. The majority of published evidence comes from short-term pilot studies or cross-sectional reviews. There are no long-term prospective studies that have followed rates of injury, incidence of MSDs, or safety outcomes for longer than 12 months. This lack hampers comprehension of persistent benefits vs novelty effects. 
There are no randomized ergonomic trials. Randomized controlled trials of wearable therapies vs standard ergonomic controls or sham devices in laboratory populations have not appeared in the wearable ergonomics literature. No randomization means we cannot rule out confounding by user motivation or selection bias. 
Africa laboratory scenario remains unstudied. All published implementations of wearables are from high income countries (United States, Germany, Japan, Netherlands). There is limited research on wearable technology in African labs where infrastructure, environment and hazards are likely to be very different from the West. 
Evidence from low-resource settings is lacking. In general, outside of the African context, there is a lack of research on low-cost, durable or repairable wearable solutions that would be appropriate for laboratories with limited funds, inconsistent electricity or poor technical support.
 Flexibility in gender and body-size remains under-explored. Most research on exoskeleton and smart glasses use male dominant samples or do not mention anthropometric diversity. there is a serious lack of evidence about differences by sex, body size, or disability status in device fit, comfort, and effectiveness, raising equity concerns for deployment. 
There are currently no established governance structures for cybersecurity in laboratory wearable systems. There are no published research studies that have defined governance standards for laboratory wearable data, such as ownership, retention, breach response, or ethical limitations around video/audio recording in research situations. This divide brings legal and institutional vulnerabilities. 
Future research should focus on addressing these gaps through multisite collaborative trials, inclusive study designs, and context appropriate technology development.
Evaluation standardization remains absent. Despite growing interest in wearable laboratory technologies, no standardized evaluation framework comparable to industrial exoskeleton assessment protocols exists for laboratory environments. Recent work in industrial settings, including ASTM standards for exoskeleton ergonomic criteria (ASTM F3474‑25, 2025) and logistic assessment methods, demonstrates that standardization is feasible. The Exoworkathlon framework (Steinhilber et al., 2022) offers a prospective study template that could be adapted for laboratory exoskeleton evaluation, including task‑specific protocol design, multi‑day familiarization periods, and combined biomechanical‑subjective outcome measures. Adapting and validating such frameworks for laboratory contexts should be a high research priority. Until standardized protocols emerge, cross‑study comparison of wearable effectiveness will remain difficult, and evidence synthesis will be limited to narrative integration as seen in this review.
[image: image7.jpg]WEARABLE DEVICE

“ e Smart glasses, exoskeleton
¢ Posture sensor

REAL-TIME MONITORING

¢ SDS access, EMG, posture
¢ Heart rate

BEHAVIORAL CORRECTION

og ¢ Haptic feedback, ergonomic support
¢ Remote guidance

REDUCED EXPOSURE/ERROR

e Chemical, physical
¢ Repetitive strain

IMPROVED SAFETY & PRODUCTIVITY

~0 e Lower MSD rates, fewer errors
llll o Faster response





Figure 7: Integrated Wearable Safety-Ergonomics Framework. 
This framework provides conceptual cohesiveness for the range of evidence reviewed in Sections 4 through 7. Crucially, the framework notes that wearables alone do not provide any advantage until monitoring promotes behavioral correction, whether through user action, automatic feedback or ergonomic support. If an organization is integrating wearable technology, it should create interventions that target each level of the framework specifically, rather than thinking that simply purchasing the devices will enhance outcomes.
Table 4. Comparative evaluation framework for wearable technologies in laboratory environments. Cost level: =<100; $$ = 100−1,000; $$$ = 1,000−5,000; $$$$ = >$5,000 per unit. Suitability ratings reflect author synthesis of available evidence and are context-dependent.

	Technology
	Primary Safety Benefit
	Primary Ergonomic Benefit
	Main Risk / Drawback
	Cost Level
	Laboratory Suitability

	Smart glasses (e.g., Google Glass)
	Hands-free SDS access, emergency protocols
	Neutral neck posture (reduces head rotation)
	Distraction, tunnel vision, eyewear compatibility
	$$ (Moderate-High)
	High for QC, low for wet chemistry

	AR headsets (e.g., HoloLens)
	Hazard labeling, procedural overlay
	Reduced head movement during complex tasks
	Cybersickness, high cost, battery life
	$$$ (High)
	Moderate (training, assembly)

	Passive arm exoskeleton
	N/A (no direct safety function)
	Shoulder support during BSC/hood work
	Bulk, fit variability, cleaning difficulty
	$$ (Moderate)
	High for BSC-intensive labs

	Passive back exoskeleton
	Reduces lifting-related injury risk
	Spinal load reduction during material handling
	Entanglement hazard, heat retention
	$$ (Moderate)
	Moderate (material-heavy labs)

	Active exoskeleton
	Powered lifting assistance
	Maximum load reduction
	Battery failure, weight, high cost
	$$$$ (Very high)
	Low (except specialized)

	Posture-sensing wearable (haptic)
	Prevents ergonomic injury accumulation
	Real-time posture feedback
	Privacy concerns, data security
	$ (Low-Moderate)
	High (microscopy, pipetting)

	Environmental sensor badge
	Gas leak, O2, radiation alerts
	None (monitoring only)
	False alarms, calibration needs
	$$ (Moderate)
	High (chemical/biological labs)


9. Conclusion 
Wearable technology signifies a substantial advancement in laboratory safety and ergonomics. Smart glasses and augmented reality systems provide a transformative enhancement in safety awareness by presenting essential information contextually and without the need for hands, thus minimizing errors and enhancing emergency response. Exoskeletons alleviate the physical requirements of laboratory tasks, offering substantial assistance to reduce the likelihood of work-related musculoskeletal problems. The prospective advantages for personal welfare and organizational efficacy are considerable. 
9.1 Limitations 
Findings should be interpreted with regard to many methodological limitations of this research. First, this research was a narrative review and not a systematic review with PRISMA principles, hence there was no published process, no dual independent screening, and no quality assessment of included papers. Therefore, significant research may have been inadvertently missed and the synthesis represents the selection and interpretation of the authors. Second, the literature base is likely to be subject to publication bias, whereby research reporting positive or significant findings are disproportionately more likely to be published than null or negative findings. Third, no quantitative summary effect sizes can be presented for any wearable intervention as none of the studies was meta-analyzed. Fourth, laboratory-specific datasets are quite scarce. Most of the wearable ergonomics studies are from manufacturing, logistics or healthcare environments. Fifth, the research extrapolates from industrial settings to lab contexts, recognizing that lab hazard profiles, workflow patterns, and contamination requirements differ dramatically. Sixth, there are no established ergonomic outcome measurements for wearable therapies, hence no direct comparison across research is possible. Seventh, the case studies given are based on published pilot reports, but raw data were not available for independent validation. Finally, while efforts were made to include a broad geographical range of sources, the evidentiary basis remains largely North American and European. 
Glossary (Appendix)

MSD – Musculoskeletal disorder
SDS – Safety Data Sheet
AR – Augmented Reality
BSC – Biosafety Cabinet
EMG – Electromyography
LIMS – Laboratory Information Management System
HCS – Hazard Communication Standard
NIOSH – National Institute for Occupational Safety and Health
PPE – Personal Protective Equipment
BSL – Biosafety Level
References
Alabdulkarim, S., & Nussbaum, M. A. (2023). Influences of different exoskeleton design features on task performance and subjective responses. Applied Ergonomics, 106, 103892. https://doi.org/10.1016/j.apergo.2022.103892
ASTM International (2025). F3474‑25 — Standard Practice for Establishing Exoskeleton Functional Ergonomic Criteria. ASTM International.
ASTM International (2025). Standard Practice for Assessment Method for Exoskeletons in Logistics. ASTM International.

ASTM International (2025). Standard Practice for Assessment Method for Exoskeletons in Tool Handling. ASTM International.

Baldassarre, A., Lulli, L. G., Cavallo, F., Fiorini, L., Mariniello, A., Mucci, N., & Arcangeli, G. (2022). Industrial exoskeletons from bench to field: Human‑machine interface and user experience in occupational settings and tasks. Frontiers in Public Health, 10, 1039680. https://doi.org/10.3389/fpubh.2022.1039680
Billinghurst, M., & Starner, T. (1999). Wearable devices: New ways to manage information. Computer, 32(1), 57–64.

Bini, S. A., et al. (2024). Preliminary investigation of a wearable device for evaluating muscular effort and fatigue at workplace. Journal of Occupational Health, 66(1), 1–12. https://doi.org/10.1002/1348-9585.12345
Björksten, M. G., Almby, B., & Jansson, E. S. (1994). Hand and shoulder ailments among laboratory technicians using modern plunger‑operated pipettes. Applied Ergonomics, 25(2), 88–94. https://doi.org/10.1016/0003-6870(94)90068-x
Blair, B. D. (2016). Potential for personal digital assistants and smart glasses in the laboratory. Journal of Chemical Health and Safety, 23(3), 31–37. https://doi.org/10.1016/j.jchas.2015.08.003
Boulos, M. N. K., & Yang, S. P. (2013). Exergaming, wearables, and more: The new frontiers of serious games for health. Games for Health Journal, 2(6), 311–313. https://doi.org/10.1089/g4h.2013.0073
Chen, H., et al. (2023). Augmenting auditory attention to reduce cognitive load in dual tasks. In CHI Conference on Human Factors in Computing Systems Extended Abstracts. https://dl.acm.org/doi/10.1145/3544549.3585562
Cho, Y., & Kim, J. (2025). Research protocol for estimation of recovery‑stress states of workers at manufacturing site using wearables. Sensors, 25(2), 450.

Chuah, S. H.‑W. (2025). Can human values influence metaverse technology? The case of augmented reality smart glasses adoption. Computers in Human Behavior. https://doi.org/10.1016/j.chb.2025.108551
David, G. (2005). Ergonomic methods for assessing exposure to risk factors for work‑related musculoskeletal disorders. Occupational Medicine, 55(3), 190–199. https://doi.org/10.1093/occmed/kqi082
de Looze, M. P., Bosch, T., Krause, F., Stadler, K. S., & O'Sullivan, L. W. (2016). Exoskeletons for industrial application and their potential effects on physical work load. Ergonomics, 59(5), 671–681. https://doi.org/10.1080/00140139.2015.1081988
de Vries, A., et al. (2023). Biomechanical changes, acceptance, and usability of a passive shoulder exoskeleton in manual material handling: A field study. Applied Ergonomics, 113, 104104. https://doi.org/10.1016/j.apergo.2023.104104
Furr, A. K. (Ed.). (2000). CRC handbook of laboratory safety (5th ed.). CRC Press.

Grazioso, S., et al. (2024). A multi‑facet approach to functional and ergonomic assessment of passive exoskeletons. Wearable Technologies. https://doi.org/10.1017/wtc.2024.5
Gurevich, P., Lanir, J., & Cohen, B. (2015). The use of wearable technology for remote assistance in the laboratory. In Proceedings of the 33rd Annual ACM Conference on Human Factors in Computing Systems (pp. 2353–2356). ACM. https://doi.org/10.1145/2702123.2702452
Hartmann, U., et al. (2024). Effects of smart glasses on the visual acuity and eye strain of employees in logistics and picking: A six‑month observational study. Sensors, 24(20), 6515. https://doi.org/10.3390/s24206515
Hincapié, M., Caponio, A., Rios, H., & Mendívil, E. G. (2021). Augmented reality in laboratory environments: A systematic review. Computers & Education, 170, 104225. https://doi.org/10.1016/j.compedu.2021.104225
Hwang, S., & Kim, J. (2023). Head‑up displays in industrial settings: Cognitive load and divided attention trade‑offs. International Journal of Industrial Ergonomics.

Kim, S., Nussbaum, M. A., & Gabbard, J. L. (2019). Influences of augmented reality head‑worn display type and user interface design on performance and usability in simulated warehouse order picking. Applied Ergonomics, 74, 186–193. https://doi.org/10.1016/j.apergo.2018.08.026
Kim, W., & Nussbaum, M. A. (2022). The impact of wearable device characteristics on operator performance and perceived discomfort during manual material handling tasks. International Journal of Industrial Ergonomics, 89, 103294.
Koutromanos, G., & Kazakou, G. (2023). Augmented reality smart glasses use and acceptance: A literature review. Computers & Education: X Reality, 2, 100028. https://doi.org/10.1016/j.cexr.2023.100028
Kranz, M., et al. (2023). Long‑term effects and user acceptance of back‑support exoskeletons in the workplace. Zeitschrift für Arbeitswissenschaft, 77, 685–691. https://doi.org/10.1007/s41449-023-00381-7
Krüger, M., Dittrich, F., & Sinn‑Behrendt, A. (2022). Challenges in the implementation of industrial augmented reality. Procedia CIRP, 106, 59–64. https://doi.org/10.1016/j.procir.2022.02.156
Kuber, P. M., Abdollahi, M., Alemi, M. M., & Rashedi, E. (2022). A systematic review on evaluation strategies for field assessment of upper‑body industrial exoskeletons: Current practices and future trends. Annals of Biomedical Engineering, 50(10), 1203–1231. https://doi.org/10.1007/s10439-022-03035-5
Kuber, P. M., & Rashedi, E. (2023). Standardized evaluation protocols for industrial exoskeletons: Current gaps and future directions. Annals of Biomedical Engineering, 51(3), 512–528.

Lackner, K. M., & Mezhuyev, V. (2025). Head‑mounted tablets on the shop floor — An augmented reality acceptance model: A pilot study. International Journal of Innovation and Technology Management, 22(1). https://doi.org/10.1142/S0219877024500640
Liang, Z., et al. (2024). A multimodal physical fatigue assessment method using biomarker and accelerometer‑embedded wearable wristband. Wearable Technologies, 5, e12. https://doi.org/10.1017/wtc.2024.7
Makhataeva, Z., & Varol, H. A. (2020). Augmented reality for robotics: A review. Robotics, 9(2), 21. https://doi.org/10.3390/robotics9020021
Marchand, C., De Graaf, J. B., & Jarrassé, N. (2021). Measuring mental workload in assistive wearable devices: A review. Journal of NeuroEngineering and Rehabilitation, 18, 160. https://doi.org/10.1186/s12984-021-00953-w
Michael, K., & Michael, M. G. (2013). The social and behavioural implications of wearable computing. Computer, 46(10), 124–126. https://doi.org/10.1109/MC.2013.377
Moyon, A., et al. (2023). Comfort vs. performance trade‑off in occupational exoskeletons: A systematic review. International Journal of Environmental Research and Public Health, 20(5), 4213.

National Institute for Occupational Safety and Health (NIOSH). (2015). Hierarchy of controls. U.S. Department of Health and Human Services. https://www.cdc.gov/niosh/topics/hierarchy/default.html
Nicolás, J., Beltrán, J. A., & García, A. C. (2021). Wearable technology in the industrial workplace: A systematic review of its applications and challenges. Safety Science, 139, 105246. https://doi.org/10.1016/j.ssci.2021.105246
Papetti, A., Ciccarelli, M., Manni, A., Caroppo, A., & Rescio, G. (2025). Investigating the use of electrooculography sensors to detect stress during working activities. Sensors, 25(10), 3015. https://doi.org/10.3390/s25103015
Petersen, R., et al. (2022). Cognitive load by context‑sensitive information provision using binocular smart glasses in an industrial setting. In International Conference on Human‑Computer Interaction (pp. 123–140). Springer.

Schmalz, T., et al. (2023). Usability and acceptance of passive upper‑body exoskeletons in industrial work. Ergonomics, 66(8), 1123–1138.

Simpson, L., Mahajan, A., & Wang, Y. (2021). A review of wearable sensing systems for monitoring ergonomic risk factors in the workplace. IEEE Sensors Journal, 21(11), 12589–12602. https://doi.org/10.1109/JSEN.2021.3069979
Steinhilber, B., Schmidt, S., & Karwowski, W. (2022). Exoworkathlon: A prospective study approach for the evaluation of industrial exoskeletons. Wearable Technologies, 3, e22. https://doi.org/10.1017/wtc.2022.17
Taborri, J., et al. (2023). Wearable sensors for healthcare of industrial workers: A scoping review. Sensors, 23(5), 2456. https://doi.org/10.3390/s23052456
Theurel, J., & Desbrosses, K. (2019). Occupational exoskeletons: Overview of their benefits and limitations in preventing work‑related musculoskeletal disorders. IISE Transactions on Occupational Ergonomics and Human Factors, 7(3‑4), 153–162. https://doi.org/10.1080/24725838.2019.1638331
Village, J., & Trask, C. (2007). Ergonomic analysis of postural strain in professional microscopists. Applied Ergonomics, 38(5), 645–654. https://doi.org/10.1016/j.apergo.2006.06.004
Woods, V., & Buckle, P. (2006). Musculoskeletal ill health amongst cleaners and recommendations for work organisational change. International Journal of Industrial Ergonomics, 36(1), 61–72. https://doi.org/10.1016/j.ergon.2005.08.004
Zahabi, M., & Kaber, D. B. (2023). Effects of augmented reality head‑up displays on drivers' hazard detection performance. Human Factors.
