Comprehensive Review on Analytical Method Development and Validation of Rosuvastatin Calcium

ABSTRACT

Rosuvastatin Calcium is a potent antihyperlipidemic drug belonging to the class of HMG-CoA reductase inhibitors i.e statins. It acts by selectively inhibiting the enzyme 3-hydroxy-3methylglutaryl coenzyme A (HMG-CoA) reductase, which is responsible for cholesterol synthesis which helps in increasing LDL clearance from blood. The present review focuses on the different Analytical Method Development of Rosuvastatin and QbD based approaches.

Keywords : Rosuvastatin Calcium , Antihyperlipidemic, Analytical Methods, QbD.

INTRODUCTION

The development and validation of analytical methods are fundamental to pharmaceutical research and development. Selecting an appropriate method involves considering several important factors, such as accuracy, precision, sensitivity, selectivity, robustness, and ruggedness. Practical aspects like the availability of samples, the concentration of the analyte, time constraints, cost, and access to suitable equipment also play a key role in this decision-making process.

Rosuvastatin is a commonly prescribed statin used to treat high cholesterol levels and reduce the risk of cardiovascular diseases. It works by inhibiting HMG-CoA reductase, an enzyme that is essential for cholesterol synthesis, thereby lowering low-density lipoprotein (LDL) cholesterol in the blood.

Various analytical techniques—including High-Performance Liquid Chromatography (HPLC), High-Performance Thin-Layer Chromatography (HPTLC), UV-Visible spectrophotometry, and Liquid Chromatography–Mass Spectrometry (LC-MS)—are widely used for its analysis. When combined with proper method validation, these techniques ensure accurate, precise, and reliable results, making them highly effective for routine quality control in pharmaceutical applications. (Dhamdhere RB, Vijayalakshmi A. 2020).

Quality plays a critical role in the pharmaceutical industry. Rather than focusing only on testing the final product, Quality by Design (QbD) is a modern approach that ensures quality is built into both the product and the process right from the beginning. (Patel B. N., Naik S. N. 2023).

Quality by Design (QbD) is an approach that focuses on gaining a deeper scientific understanding of both the product and the processes involved. It emphasizes designing appropriate controls and testing strategies based on this scientific knowledge during the development stage. Additionally, the insights gained throughout the product’s lifecycle are used to support continuous improvement.

QbD does not mean reducing analytical testing; instead, it ensures that testing is performed at the right stage and is guided by scientific reasoning and risk assessment. By implementing QbD, more robust and reliable analytical methods can be developed that align with ICH guidelines. This is why many pharmaceutical industries are increasingly adopting this approach. In a QbD framework, various factors that may influence method robustness are carefully evaluated during analytical method development. (Dhamdhere RB, Vijayalakshmi A. 2020).

Drug Profile

| Drug | Rosuvastatin Calcium |
| --- | --- |
| IUPAC Name | 6-Heptenoic acid, 7-[4-(4-fluorophenyl)-6-(1-methylethyl)-2-[methyl(methylsulfonyl)amino]-5-pyrimidinyl]-3,5-dihydroxy-, calcium salt |
| Chemical formula | C44H54CaF2N6O12S2 |
| Molecular weight | 481.54 g/mol |
| Dosage Forms | Tablets: 5 mg, 10 mg, 20 mg, 40 mg |
| Administration Route | Oral |

Rosuvastatin Calcium[3]

Different Analytical Method of Rosuvastatin

By UV-Visible Spectroscopy

| Sr.no. | Title | Description | Reference |
| --- | --- | --- | --- |
| 1 | Analytical method development & validation for the Estimination of Rosuvastatin Calcium in Raw material and Tablet Formulation by UV Spectrometric method. | Solvent- 0.1n NaoH Wavelength- 240nm R2- 0.999 | Sailaja, B., & Kumari, K. S. (2016) |
| 2 | Method Development and validation of Rosuvastatin by using UV Spectroscopy | Solvent- 0.1n NaOH Wavelength- 247nm R2- 0.999 | Anusha, S., Sankar, K. G., Prakash, (2023) |
| 3 | Method Development and validation of Rosuvastatin by using UV Spectroscopy | Solvent- Ethanol:water 40:60v/v Wavelength- 243nm R2- 0.9994 | Chinababu, D., Aleesha, S. K., (2022). |
| 4 | Method Development and validation of Rosuvastatin by using UV Spectroscopy in Bulk & Pharmaceutical dosage form | Solvent- Methanol Wavelength- 243nm R2- 0.9981 | Maity, S., Majumdar, S., & Senapati, S. (2025) |
| 5 | UV Spectrometric Method Validation of Rosuvastatin in bulk drug form and stress Degradation Studies by UV. | Solvent- Ammonium acetate buffer & Acetonitrile 30:70 Wavelength- 242nm R2- 0.9969 | Jadhav, V. (2022). |
| 6. | Development and validation of UV Spectroscopy Technique for Estimation of Rosuvastatin drug in Bulk and Pharmaceutical Dosage Form. | Solvent- Sodium Citrate Wavelength- 299nm R2- 0.9969 | Navale S, Pingale M, Bhosale S, (2023) |

HPLC Method

| Sr.no. | Title | Description | Reference |
| --- | --- | --- | --- |
| 1. | High Performance Liquid Chromatographic Method Development & Validation of Rosuvastatin Calcium API | 1. Stationary Phase- P Cogent RPABX C 18 5µ 1000 (150×4.6mm) 2. Mobile phase- 0.1ml Formic acid & Acetonitrile 3. Linearity- 200 µg/ml 4. Flowrate- 0.5ml/min | Naveen Kumar, K., Nagesh, (2023) |
| 2. | Stability indicating RP-HPLC method development and validation for simultaneous estimation of Telmisartan &Rosuvastatin in Bulk & in tablet dosage form | 1. Stationary Phase- Oyster ODS3 (150×4.6mm, 6mm) 2. Mobile phase- 10mM Phosphate buffer 1.1g Acetone 1-Suphuric acid 3. Linearity- 23.6841-71.0522 µg/ml 4. Flowrate- 1.0 ml/min | Gholve, R., Pekamwar, S., (2021) |
| 3. | Development & Validation of RP-HPLC method for Determination of Rosuvastatin in Bulk & Pharmaceutical Dosage Form | 1. Stationary Phase-C18 column 100×4.6mm 2. Mobile phase- Phosphate buffer & Acetonitrile (50:50 v/v) 3. Linearity- 5-30 µg/ml 4. Flowrate- 0.5ml/min | Pandya CB, Channabasavaraj KP, (2010) |
| 4. | Development & Validation of 2 Chromatograph Stability indication methods for determination of Rosuvastatin in pure form & Pharmaceutical Preparation | 1. Stationary Phase-C18 column 250mm 2. Mobile phase- Acetonitrile:0.5% Formic acid 3. Linearity- 5-300 µg/ml 4. Flowrate- 1.0 ml/min | Raj HA, Rajput SJ, Dave JB, Patel CN. (2009) |

Analytical Method Validation

Validation

Validation is a structured process used to evaluate and provide objective evidence that a method meets the requirements for its intended purpose. It involves assessing the performance of the method and confirming its ability to satisfy defined criteria. In essence, validation ensures a clear understanding of the method’s reliability and consistency, particularly when analyzing low concentrations or working under challenging analytical conditions. (Santhosh, G., Nagasowjanya, G., (2014).

Method Validation

Validation of an analytical method is a process established through laboratory studies to assess the performance and reliability of a procedure, ensuring it meets the requirements for its intended purpose. The validation process begins with the planned and systematic collection of data by the applicant to support the suitability and effectiveness of the analytical method. (Nunsavathu SN, Rajaganapathy K. (2024).

For Method validation following parameters recommended by FDA, USP and ICH are as follows.

| Sr. No. | Parameter | Description |
| --- | --- | --- |
| 1 | Specificity | No interference from Excipients/Impurities |
| 2 | Linearity | Response vs Concentration Relationship |
| 3 | Accuracy | % Recovery at 80%, 100%, 120% levels |
| 4 | Precision | Repetability (Intra/Inter Day) |
| 5 | LOD | Lowest Detectable Concentration |
| 6 | LOQ | Lowest Quantifiable Concentration |
| 7 | Robustness | Effect of Small Changes (pH, Flow Rate, Wavelength |
| 8 | System Suitability | System Performance Check before anlaysis |

Quality by Design

Quality by Design (QbD) in analytical method development focuses on creating methods that are reliable, reproducible, and well-suited for their intended purpose. Originally introduced in the pharmaceutical industry, QbD has now been widely adopted across other fields such as biotechnology, chemical manufacturing, and food production due to its structured and science-based approach to ensuring quality

The International Council for Harmonisation (ICH) has established a set of guidelines that support the implementation of Quality by Design (QbD). Key guidelines include

ICH Q8(R2) for pharmaceutical development

ICH Q9 for quality risk management,

ICH Q10 for pharmaceutical quality systems.

The primary objective of these guidelines is to standardize regulatory requirements across different regions, ensuring a consistent and unified approach to maintaining quality in pharmaceutical products.

Steps of QbD

Benefits of QbD

Role of QbD in Analytical Development

Quality by Design (QbD) in analytical method development focuses on systematically designing methods that are reliable, reproducible, and fit for their intended purpose. Analytical method development itself involves creating procedures that can accurately measure specific compounds or properties. By applying QbD principles, these methods are developed with a clear understanding of critical factors, ensuring consistent performance and improved quality.

Application of QbD in Analytical Method Development

- Chromatographic Method Development

- Optimizing Separation Condition

- Enhancing Robustness

- Improving Resolution and Sensitivity

- Defining Critical Attributes and variables

- Defining validation parameters

- Continuious Monitoring

CONCLUSION

This Review Provides an overview of various analytical methods. Analytical methods utilizing RP-HPLC and QbD are well established and can give more accurate and proper results.

Future Aspect

Future research of Rosuvastatin calcium in the method development should focus on the Hyphenated techniques like LC-MS/MS and UPLC can significantly improve the detection sensitivity and reduce analysis time also by the bioanalytical development also can be done.

REFERENCES

- Anusha, S., Sankar, K. G., Prakash, G. A., Valmik, K. A., & Keru, M. R. (2023). Method development and validation of rosuvastatin calcium by using UV-spectrophotometry. International Journal of Pharmaceutical Research and Applications, 8(5), 611–615. https://doi.org/10.35629/7781-0805611615

- Chinababu, D., Aleesha, S. K., Reddy, G. B., Kumar, S. P., Sudhakar, P., Prasad, B. V., & Reddy, M. P. (2022). Method development and validation of rosuvastatin by using UV-spectrophotometric method in bulk and pharmaceutical dosage form. World Journal of Pharmacy and Pharmaceutical Sciences, 11(10), 1622–1630. https://doi.org/10.20959/wjpps202210-23391

- Dhamdhere RB, Vijayalakshmi A. (2020). Implementation of quality by design approach to the analytical method development and validation for the estimation of rosuvastatin calcium. International Journal of Pharmaceutical Quality Assurance.;11(3):303-309.

- Gholve, R., Pekamwar, S., Wadher, S., & Kalyankar, T. (2021). Stability-indicating RP-HPLC method development and validation for simultaneous estimation of telmisartan and rosuvastatin calcium in bulk and in tablet dosage form. Future Journal of Pharmaceutical Sciences, 7, 224. https://doi.org/10.1186/s43094-021-00369-2

- Rosuvastatin Calcium | C44H54CaF2N6O12S2 | CID 5282455 - PubChem

- Jadhav, V. (2022). Method development and validation of rosuvastatin in bulk drug formulation and stress degradation studies by UV. Industrial Chemistry, 8(4), Article 1000195. https://doi.org/10.4172/2469-9764.1000195

- Maity, S., Majumdar, S., & Senapati, S. (2025). UV spectrophotometric method validation of rosuvastatin calcium in API and pharmaceutical dosage form. International Journal of Pharmaceutical Sciences, 3(6), 5278–5284. https://doi.org/10.5281/zenodo.15754727

- Navale S, Pingale M, Bhosale S, Patil P, Ghongade A. (2023). Development and validation of UV spectrophotometeric technique for estimation of rosuvastain drug in bulk and pharmaceutical dosage form. J Re Attach Ther Dev Divers;6(9):1590-5.

- Naveen Kumar, K., Nagesh, T., & Akshita, G. L. (2023). High performance liquid chromatographic method development and validation of rosuvastatin calcium API. Aveshana’s International Journal of Research in Pharmacy and Life Sciences, 8(4), 27–33.

- Nunsavathu SN, Rajaganapathy K. (2024). A Review on QbD Approach in Analytical Method Development and Validation. International Journal of Pharmaceutical Quality Assurance.15(3):1707-1713.

- Pandya CB, Channabasavaraj KP, Chudasama JD, Mani TT. (2010). Development and validation of RP-HPLC method for determination of rosuvastatin calcium in bulk and pharmaceutical dosage form. International Journal of Pharmaceutical Sciences Review and Research.  Nov;5(1):82-6.

- Patel B. N., Naik S. N. (2023). Development and Validation of RP-HPLC Method for Simultaneous Estimation of Rosuvastatin Calcium, Clopidogrel Bisulfate and Aspirin in Solid Dosage Form J Pharm Sci Bioscientific Res. . 11(5): 124-128

- Raj HA, Rajput SJ, Dave JB, Patel CN. (2009). Development and validation of two chromatographic stability-indicating methods for determination of rosuvastatin in pure form and pharmaceutical preparation. International Journal of ChemTech Research. 2009;1(3):677-89.

- Sailaja, B., & Kumari, K. S. (2016). Analytical method development and validation for the estimation of rosuvastatin calcium in raw material and tablet formulation by UV spectrometric method. Saudi Journal of Medical and Pharmaceutical Sciences, 2(1), 7–11. https://doi.org/10.36348/sjmps.2016.v02i01.002

- Santhosh, G., Nagasowjanya, G., Ajitha, A., & Uma Maheswara Rao, Y. (2014). HPLC method development and validation: An overview. International Journal of Pharmaceutical Research & Analysis, 4(4), 274–280.