A Comprehensive Review of Analytical method Development and Validation for Imeglimin Hydrochloride.

.

ABSTRACT

Imeglimin Hydrochloride is a novel oral antidiabetic agent used in the management of type 2 diabetes mellitus, characterized by its unique mechanism of action targeting mitochondrial bioenergetics. The increasing therapeutic significance of Imeglimin necessitates the development of robust, accurate, and reliable analytical methods for its identification, quantification, and quality control in bulk and pharmaceutical dosage forms. This comprehensive review focuses on the various analytical techniques developed for the estimation of Imeglimin Hydrochloride, including spectroscopic methods such as UV–Visible spectrophotometry and advanced chromatographic techniques like High-Performance Liquid Chromatography (HPLC), High-Performance Thin Layer Chromatography (HPTLC), and Liquid Chromatography–Mass Spectrometry (LC–MS). Emphasis is placed on method development strategies, including selection of solvents, mobile phase optimization, detection wavelength, and column characteristics to achieve optimal sensitivity and specificity.

Keywords

Analytical methods, Type 2 diabetes, Glimins (mitochondrial modulators), Imeglimin hydrochloride.

Introduction

Imeglimin hydrochloride (branded as TWYMEEG®)—let's just call it imeglimin for short is a pioneering oral drug from the new "glimin" family. Developed by Poxel and, in parts of Asia, Sumitomo Dainippon Pharma, it's designed to tackle type 2 diabetes (T2D) by targeting several key issues behind the disease. In June 2021, it earned its first approval in Japan, backed by strong preclinical and clinical evidence, including standout results from the phase III TIMES trials. This piece walks through the major steps in imeglimin's journey that paved the way for that approval.. (Lamb, Y.N. (2021)].

Imeglimin Hydrochloride is a potent drug against diabetes as it specifically targets mitochondria bioenergetics. Also, Imeglimin hydrochloride has low chances of hypoglycaemia. Even though there are other anti-diabetic drugs available, Imeglimin hydrochloride appears to be good option for diabetes patients. It is safer, more potent, and better tolerated compared to alternatives.[ Pirags, V., Lebovitz, H.,(2012)]

Mechanism

Imeglimin helps people with type 2 diabetes manage their blood sugar levels through a multifaceted approach. Here's a breakdown of its key mechanisms,

Boosting glucose-stimulated insulin secretion (GSIS): It ramps up the ATP/ADP ratio inside pancreatic β-cells, raising their energy levels to trigger a stronger insulin release in response to rising glucose.

Preservation of Beta Cell Mass: Imeglimin safeguards beta cells by curbing apoptosis and encouraging their survival key for ongoing insulin production. It also enhances insulin sensitivity in the liver and muscles, promoting better glucose uptake and use to help control blood sugar.

Inhibition of Hepatic Glucose Output: It helps cut down on the liver's glucose production, which lowers blood sugar  keeping diabetes in check..

Improvement of the Mitochondrial Function: Imeglimin boosts mitochondrial function by raising the ATP/ADP ratio, which powers up energy production and keeps cells healthy overall. This helps insulin work better and improves metabolism.

Reduction of Oxidative Stress This medication helps lower oxidative stress, which in turn boosts insulin sensitivity and supports better overall metabolism making it a solid ally in handling type 2 diabetes.. [Mangore, M. N., Bhosale, N. R., (2025)]

Drug Profile [Pagar, O. K., Suhasini, B., & Aravinda Reddy, P. (2025)]

| Drug | Imeglimin hydrochloride |
| --- | --- |
| IUPAC Name | (6R)-6-(dimethylamino)-2,2-dimethyl-1,3,5-triazinane-4-one hydrochloride |
| Chemical Formula | C₆H₁₃ClN₄O |
| Molecular Weight | 192.65 g/mol |
| Dosage Form | Tablet |
| Administration Route | Oral |

Reported Methods for Assessment of Imeglimin hydrochloride:

The various methods are reported for estimation, quantification, by using U.V spectroscopic, High Performance Liquid Chromatography ,High Performance Thin Layer Chromatography, LC-MS/MS.

| Sr. No. | Title | Description | Ref. No |
| --- | --- | --- | --- |
| 1. | A Novel Method Development and Validation of Imeglimin HCl By UV Visible Spectroscopy | Solvent-Water Wavelength-237 nm R2-0.9991 Linearity- 2-10 μg/mL. LOD-16.74 μg/mL LOQ-50.73 μg/mL | Tamil Selvan, R., et al. (2023). |
| 2. | Method Development and Validation for Estimation of Imeglimin By UV Visible Spectroscopy | Solvent- Methanol Wavelength -242nm R2-0.9996. linearity -2-10 µg/mL LOD -0.082µg/mL LOQ - 0.248µg/mL | Parthiban, C., Renuka, G., Maheshwari, K., (2025). |
| 3 | UV-Spectrophotometric method for determination of Imeglimin hydrochloride | Solvent-Methanol and Water(50:50 v/v) Wavelength-241nm R2-0.997 LOD-0.0809 µg/mL LOQ- 0.2451 µg/mL | Mubeen, G., Meghana, D., (2026) |
| 3. | # RP-HPLC Method for Determination of Imeglimin Hydrochloride in Bulk and Tablet Formulation | Stationary Phase-BRISA LC2 C18 (25 mm x 0.46 mm, 5µm) Column, Mobile phase- Methanol: Phosphate buffer (10mM) pH6.0 linearity =1 flow rate= 1ml/min | Mubeen G, Navali, S., & N, L. (2024). |
| 4. | Stability indicating RP-HPLC Method Development and Validation for Estimation of Imeglimin HCl | Stationary Phase- Kromasil C18, 250 mm*4.6 mm, 5µ column Flow rate -1 ml/min. linearity - 80–120 µg/ml. | Vikhe, K.B., Sonawane, S.S.(2026). |
| 5 | Stability Indicating RP-HPLC Method Development and Validation for Imeglimin HCL in Pharmaceutical Dosage form | Stationary Phase- Credchrom C18 column (250mm x 4.6 mm x 5µm) Mobile phase- Phosphate Buffer and acetonitrile (80:20 v/v) Linearity -1 flow rate= 1 ml/min These results, along with successful force degradation studies | Adhao, Vaibhav S., Shreyash P. Chaudhari, (2024). |
| 6 | # Stability indicating green HPLC method for Imeglimin hydrochloride determination in pharmaceutical tablets with comprehensive assessment | Stationary Phase -XTerra® RP8 column (5 μm, 150 × 4.6 mm) Mobile Phase- 0.1% 1-octane sulfonic acid sodium salt and absolute ethanol (80:20, %v/v) flow rate-1 mL/min | Mansour, F.R., Elagamy, S.H., Elbastawissy, A.B.B. et al. (2026). |
| 7 | # Development And Validation Of Stability Indicating Rp-Uhplc Method For The Estimation Of Imeglimin Hydrochloride Used For The Treatment Of Metabolic Disorder Diabetes Mellitus | Stationary Phase - Hypersil gold ODS endcapped column (150x4.6 mm, 3micron). Mobile Phase - water: acetonitrile (15:85% v/v) Flow rate - 1 ml/min Injection volume - 20 µl. Linearity- 25 500μg/ml. | Jain, A. S. L. K., I. K. Soni, and R. A. J. E. S. H. Sharma. (2023) |
| 8 | Green Bioanalytical Method devlopement and validation for estimation of Imeglimin Hydrochloride Using human plasma in pure form by LC-MS/MS | Stationary Phase - LC–MS/MS of Shimadzu SIL-20AC Phenomenex Kinetex PFP column (50 × 4.6 mm, 2.6 μm). Internal Standard-Carbamazepine Mobile Phase- 0.1% formic acid in acetonitrile (30:70, v/v) flow rate- 0.500 mL/min. Injection volume- 5.0 µL | Chandarana, C.V., Vashi, V.H., Bera, A. et al. (2025) |
| 9 | Bioanalytical Method Development and Validation of Antidiabetic Drug: Imeglimin Hydrochloride. | Stationary phase-C18 column (Hypersil BDS, 250 × 4.6 mm, 5 µm) Mobile Phase-methanol and ammonium formate buffer (80:20 v/v) flow rate-1.0 mL/min, | Gawande, K. A., Waghulkar, V. M., & Jadhav, M. P. (2025). |
| 10 | Qbd (Quality By Design) Approach: Development And Validation Of An Rp-Hplc Method For Estimating Imeglimin Hcl And Its Ketone Impurity | Stationary Phase- Agilent Zorbax Bonus RP (AZB-RP) column (25 cm×4.6 mm, 5.0 µm) Mobile Phase- Trifluoroacetic acid (TFA) and Acetonitrile (ACN) (45:55 v/v) Flow rate -0.45 ml/min Injection volume -10 µl Design- Central Composite Design | Giri, Pooja t., et al.(2025) |

Future Aspects

The development of more sensitive, quick, and environmentally friendly analytical methods should be the main emphasis of future Imeglimin method development research. High-performance techniques like UPLC and LC-MS/MS can be integrated to greatly increase detection sensitivity and shorten analytical times. Another crucial path is to increase the use of bioanalytical techniques in pharmacokinetic and bioequivalence research. Additionally, process optimization can increase efficiency and reproducibility by using automation and artificial intelligence.

CONCLUSION

The established Imeglimin analytical techniques satisfy ICH validation standards because they are exact, accurate, and dependable. These techniques are widely used for routine quality control and are still developing due to improvements in sustainability, speed, and sensitivity. All things considered, the described techniques are appropriate for regular quality control and offer a solid basis for additional study, including bioanalytical applications and innovative formulation systems.

REFERENCES

- Giri, Pooja T., Et Al. "Qbd (Quality By Design) Approach: Development And Validation Of An Rp-Hplc Method For Estimating Imeglimin Hcl And Its Ketone Impurity." Int J App Pharm 17.4 (2025): 241-253.

- Adhao, Vaibhav S., Shreyash P. Chaudhari, and Jaya P. Ambhore. 2024. “Stability Indicating RP-HPLC Method Development and Validation for Imeglimin HCL in Pharmaceutical Dosage Form”. Chemical Science International Journal 33 (4):1-10. https://doi.org/10.9734/CSJI/2024/v33i4901

- Chandarana, C.V., Vashi, V.H., Bera, A. et al. Green bioanalytical method development and validation for estimation of Imeglimin hydrochloride using human plasma in pure form by LC–MS/MS. Futur J Pharm Sci 11, 81 (2025). https://doi.org/10.1186/s43094-025-00832-4

- Gawande, K. A., Waghulkar, V. M., & Jadhav, M. P. (Year). Bioanalytical method development and validation of antidiabetic drug: Imeglimin hydrochloride. Vidyabharati College of Pharmacy, Amravati, Maharashtra, India.

- https://pubchem.ncbi.nlm.nih.gov/

- Jain, A. S. L. K., I. K. Soni, and R. A. J. E. S. H. Sharma. "Development and validation of stability indicating rp-uhplc method for the estimation of imeglimin hydrochloride used for the treatment of metabolic disorder diabetes mellitus." International Journal of Pharmaceutical Sciences 15.6 (2023): 211-217.

- Lamb, Y.N. (2021). Imeglimin Hydrochloride: First Approval. Drugs 81, 1683–1690. https://doi.org/10.1007/s40265-021-01589-9

- Mangore, M. N., Bhosale, N. R., Khade, P. H., Chavan, R. S., Chikane, P. T., & Kardile, M. S. (2025).Formulation and optimization of imeglimin-loaded nanoparticles using central composite design. Journal of Chemical Health Risks, 15(4), 2687–2696.

- Mansour, F.R., Elagamy, S.H., Elbastawissy, A.B.B. et al. (2026). Stability indicating green HPLC method for Imeglimin hydrochloride determination in pharmaceutical tablets with comprehensive assessment. Sci Rep 16, 1334 . https://doi.org/10.1038/s41598-025-32999-4

- Mubeen G, Navali, S., & N, L. (2024). RP-HPLC Method for Determination of Imeglimin Hydrochloride in Bulk and Tablet Formulation. Asian Journal of Pharmaceutical Research and Development, 12(4), 92–96. https://doi.org/10.22270/ajprd.v12i4.1446 (Original work published August 15, 2024

- Pagar, O. K., Suhasini, B., & Aravinda Reddy, P. (2025). RS method for quantification of imeglimin HCl in its pure and tablet dosage form by using RP-HPLC technology. Journal of Pharmaceutical and Biomedical Analysis Letters, 13(2), 62–68. https://doi.org/10.30904/j.jpbmal.2025.4898⁠.

- Parthiban, C., Renuka, G., Maheshwari, K., Rithuja, K., Kumar, K. M., & Jaswanth, K. (2025). Method development and validation for the estimation of imeglimin by UV visible spectroscopy. World Journal of Pharmacy and Pharmaceutical Sciences, 14(4), 1008–1018. https://doi.org/10.20959/wjpps20254-29434

- Pirags, V., Lebovitz, H., & Fouqueray, P. (2012). Imeglimin, a novel mitochondrial-targeting agent for type 2 diabetes treatment. Diabetes Care, 35(11), 2114–2120.

- Tamil Selvan, R., et al. (2023)."A Novel method development and Validation of imeglimin HCl by UV-visible spectroscopy." Int. J. in Pharm. Sci 1.12 : 852-859

- Vikhe, K.B., Sonawane, S.S.(2026). Stability Indicating RP-HPLC Method Development and Validation for Estimation of Imeglimin HCl. BioNanoSci. 16, 152 . https://doi.org/10.1007/s12668-025-02317-3