SOIL ANALYSIS FOR CUSTOMIZED FERTILIZER APPLICATION IN NYAMIRA COUNTY, KENYA

ARTICLE INFO

Keywords: Soil fertility, Precision agriculture, Nutrient mapping, Flame photometry, Atomic Absorption Spectroscopy, UV-Vis spectrophotometry, Nyamira County, FAO thresholds, Customized fertilizer

ABSTRACT

Soil nutrient depletion is a major constraint on smallholder agricultural productivity in the Kenya highlands. This study evaluated soil nutrient status and pH variability in Borabu and North Mugirango constituencies of Nyamira County, Kenya, to develop site-specific fertilizer recommendations for smallholder farmers. Composite soil samples were collected from representative wards, air-dried, sieved through a 2 mm mesh, and digested using aqua regia. Potassium (K+) and calcium (Ca2+) were quantified by flame photometry; magnesium (Mg2+) by atomic absorption spectroscopy (AAS); phosphate (PO43-) and nitrate-nitrogen (NO3--N) by UV-Vis spectrophotometry using ammonium molybdate and Griess reagents respectively. Measured concentrations in both constituencies fell significantly below FAO crop-specific thresholds. K+ averaged 48.6 ppm in Borabu versus the FAO minimum of 120-200 mg/kg for maize; PO43- averaged 3.2 ppm versus the FAO minimum of 15-30 mg/kg. Soil pH averaged 5.8 (Borabu) and 6.0 (North Mugirango), suitable for maize and bananas but marginal for tea. Calibration models yielded R2 >= 0.97 for Ca2+, Mg2+, PO43-, and NO3-, confirming high analytical precision. Borabu soils showed uniform severe depletion; North Mugirango showed moderate spatial variability. GIS-driven, variable-rate fertilization integrating rock phosphate, DAP, dolomitic lime, and split nitrogen with leguminous cover crops is recommended to close nutrient gaps, improve yields by 30-50%, reduce input costs by 20-30%, and mitigate nutrient leaching into the Sondu-Miriu River Basin.

1.0 INTRODUCTION

Soil fertility management is the backbone of sustainable agriculture in sub-Saharan Africa, where over 60% of the population depends on smallholder farming [1]. Blanket fertilizer recommendations that ignore spatial heterogeneity produce chronic low yields, nutrient imbalances, and environmental degradation [2]. Nyamira County, western Kenya, typifies this challenge: its smallholder systems produce maize, tea, and bananas on soils of marked agroecological diversity, yet farmers lack site-specific nutrient data, leading to systematic fertilizer misuse and stubborn yield gaps that undermine food security [3].

Soil acidity below pH 5.5, prevalent in Nyamira, promotes phosphorus fixation by Al3+ and Fe3+ oxides while inducing aluminum toxicity in root systems [4]. The spatial variability of K+, Ca2+, Mg2+, NO3-, and PO43- demands precision agriculture supported by GIS mapping [5]. By integrating analytical soil chemistry with geospatial technology, this study generates a comprehensive nutrient and pH profile for both constituencies, providing an evidence base for customized fertilizer prescriptions aligned with the specific crop requirements of each locality.

II. Statement of the Problem

Despite increased fertilizer expenditure, crop yields in Nyamira County stagnate or decline because blanket application rates disregard spatial variability in soil pH and nutrient profiles [6]. Borabu Constituency soils exhibit severe phosphorus fixation under low pH, while North Mugirango soils experience high magnesium saturation that competitively inhibits potassium uptake conditions demanding distinct corrective strategies [7]. Current soil testing relies on outdated regional statistics rather than timely, site-specific data [8], creating resource mismanagement and risking eutrophication of the Sondu-Miriu River Basin through excess nutrient leaching [9]. This study addresses these gaps through GIS-mapped sampling and rigorous analytical validation to generate spatially explicit, crop-specific fertilizer recommendations.

III. Main Objective

To determine optimal fertilizer applications for Nyamira County soils through integrated soil nutrient and pH analysis.

3.1: Specific Objectives

The specific objectives of this study were:

- To analyze the soil pH of collected soil samples from both constituencies.

- To quantify K+, Ca2+, Mg2+, PO43-, and NO3--N concentrations using validated analytical methods.

- To compare measured soil pH and nutrient concentrations against FAO crop-specific thresholds for maize, tea, and bananas.

3.2: Justification of the Study

Nyamira County's agrarian economy centred on tea and banana export crops is threatened by declining soil productivity from nutrient-blind fertilization. Customized fertilizer strategies can reduce input costs by 20-30%, increase yields by up to 50%, and protect the Sondu-Miriu River Basin from nutrient runoff [1,24]. The study aligns with Kenya's Agricultural Sector Transformation and Growth Strategy (ASTGS 2019-2029) and contributes to SDGs 2 (Zero Hunger) and 15 (Life on Land).

IV: Materials and Methods

4.1 Study Area

The study area comprised two constituencies in Nyamira County, Kenya: Borabu and North Mugirango. Composite soil samples were collected from Mekenene, Nyansiongo, Kiabonyoru, and Esise wards in Borabu Constituency, and from Itibo, Bomwagamo, Bokeira, Magwagwa, and Ekerenyo wards in North Mugirango Constituency. All sites were geo-referenced using GPS for subsequent GIS mapping and spatial nutrient analysis.

4.2 Reagents and Equipment

| Parameter | Unit | Borabu (Avg.) | North Mugirango (Avg.) | FAO Threshold: Tea | FAO Threshold: Maize | FAO Threshold: Bananas |
| --- | --- | --- | --- | --- | --- | --- |
| Potassium (K) | (ppm) | 48.6±0 | 85.8±4.3 | 80-150 | 120 – 200 | 200 – 300 |
| Calcium (Ca) | (ppm) | 92.0±0 | 61.6±0 | 200–400 | 300–500 | 500–800 |
| Magnesium (Mg) | (ppm) | 17.3±0.3 | 14.6±0.7 | 100-200 | 150-300 | 250-400 |
| Nitrate-N (NO₃-N) | (ppm) | 5.3±0.1 | 2.0±0.1 | 10-30 | 20-50 | 30-60 |
| Phosphate (P) | (ppm) | 159.5±0.5 | 126.8±0.2 | 15-30 | 20-40 | 25-50 |
| pH | — | 5.8 | 6.0 | 4.5 – 5.5 | 5.5 – 7.0 | 5.5 – 7.5 |

Reagents included: ACS-grade KCl (K+ stock); Ca(NO3)2.4H2O (Ca2+ stock); Mg(NO3)2.6H2O (Mg2+ stock); anhydrous KH2PO4 pre-dried at 105 C (PO43- stock); anhydrous KNO3 pre-dried at 110 C (NO3- stock); aqua regia (3:1 HCl:HNO3); ammonium molybdate in 5 N H2SO4; Griess reagent (sulfanilamide + NED); 1 M KCl extraction solution. Equipment comprised a flame photometer, atomic absorption spectrometer, UV-Vis spectrophotometer (1 cm quartz cuvettes), analytical balance (+/-0.1 mg), mechanical shaker, and centrifuge. All glassware was Class A and acid-washed.

4.3 Sample Preparation

Air-dried, 2 mm-sieved soil (2.00 g) was digested with 20 mL aqua regia at 60-80 C for 1-2 h, filtered through Whatman No. 42 paper into 100 mL volumetric flasks, and diluted to the mark with deionized water. For nitrate, 5.00 g of soil was shaken with 50 mL of 1 M KCl for 24 h at 25 C, centrifuged at 3000 rpm for 10 min, and the supernatant filtered through 0.45 um cellulose acetate membranes.

4.4 Analytical Procedures

Potassium: Working standards (0, 2, 4, 8, 10 ppm) prepared from a 100 ppm intermediate. Soil digests diluted 1:20 (DF=20); measured at 766 nm. Calcium: Standards (0-20 ppm); Borabu digests DF=100, North Mugirango DF=20; measured at 622 nm. Magnesium: Standards (0-100 ppm); samples analyzed undiluted by AAS at 285.2 nm. Phosphate: Standards (0-12 ppm) reacted with ammonium molybdate for 10 min; digests DF=50; absorbance at 420 nm. Nitrate: Standards (1.0-3.0 ppm) and 1:5-diluted KCl extracts reacted with Griess

| Sample | Concentration (ppm) | Flame Intensity | Notes |
| --- | --- | --- | --- |
| Std 0 ppm | 0.000 | 0 | Blank |
| Std 2 ppm | 2.000 | 25 | Calibration |
| Std 4 ppm | 4.000 | 43 | Calibration |
| Std 8 ppm | 8.000 | 94 | Calibration |
| Std 10 ppm | 10.000 | 116 | Calibration |
| Borabu 1 (DF=20) | 48.58 | 28 | Uniform |
| Borabu 2 (DF=20) | 48.58 | 28 | Uniform |
| Borabu 3 (DF=20) | 48.58 | 28 | Uniform |
| N. Mugirango 1 (DF=20) | 89.82 | 52 | Variable |
| N. Mugirango 2 (DF=20) | 81.22 | 47 | Variable |
| N. Mugirango 3 (DF=20) | 86.38 | 50 | Variable |
| Avg – Borabu | 48.58 ± 0.00 | — | SD = 0 |
| Avg – N. Mugirango | 85.81 ± 4.33 | — | SD = 4.33 |

reagent for 30 min in the dark; measured at 580 nm. Soil pH measured in a 1:2.5 soil:water suspension using a calibrated pH electrode.

V. Results

Table 1 summarizes mean (+/-SD) soil nutrient concentrations and pH for both constituencies compared with FAO crop-specific thresholds. Table 2 presents calibration statistics for all five analytes. Tables 3-7 present the complete calibration and sample data for K+, Ca2+, Mg2+, PO43-, and NO3--N respectively.

Table 1: Summary of soil nutrient concentrations (mean +/- SD, ppm) and pH compared with FAO crop-specific thresholds for tea, maize, and bananas.

DF = dilution factor applied; all concentrations expressed in mg/kg (ppm).

Table 2: Analytical calibration statistics for all five soil analytes.

| Analyte | Method | Calibration Equation | R² | LOD (ppm) | LOQ (ppm) |
| --- | --- | --- | --- | --- | --- |
| K⁺ | Flame Photometry 766 nm | y = 11.63x − 0.23 | 0.9987* | N/A | N/A |
| Ca²⁺ | Flame Photometry 622 nm | y = 0.687x + 0.853 | 0.9701 | 4.01 | 12.16 |
| Mg²⁺ | AAS 285.2 nm | y = 0.00205x + 0.00532 | 1.000 | 0.001 | 0.003 |
| PO₄³⁻ | UV-Vis 420 nm | y = 0.00609x + 0.00191 | 0.9972 | 0.655 | 1.984 |
| NO₃⁻ | UV-Vis 580 nm | y = 0.00899x + 0.00989 | 0.9963 | 0.219 | 0.662 |

*K+ absolute values require ICP-OES verification. LOD = limit of detection; LOQ = limit of quantification.

Table 3: K+ calibration standards and soil sample data (flame photometry, 766 nm).

Table 4: Ca2+ calibration standards and soil sample data (flame photometry, 622 nm).

| Sample | Concentration (ppm) | Flame Intensity | DF |
| --- | --- | --- | --- |
| Std 0 ppm | 0 | 0 | — |
| Std 5 ppm | 5 | 4 | — |
| Std 10 ppm | 10 | 7 | — |
| Std 15 ppm | 15 | 12 | — |
| Std 20 ppm | 20 | 14 | — |
| Borabu 1 | 0.92 | 1 | 100 |
| Borabu 2 | 0.92 | 1 | 100 |
| Borabu 3 | 0.92 | 1 | 100 |
| N. Mugirango 1 | 3.08 | 4 | 20 |
| N. Mugirango 2 | 3.08 | 4 | 20 |
| N. Mugirango 3 | 3.08 | 4 | 20 |
| Avg – Borabu | 92.0 ± 0 (corrected) | — | 100 |
| Avg – N. Mugirango | 61.6 ± 0 (corrected) | — | 20 |

Table 5: Mg2+ calibration standards and soil sample data (AAS, 285.2 nm).

| Sample | Concentration (ppm) | Absorbance | Notes |
| --- | --- | --- | --- |
| Std ~0 ppm | -0.787 | 0.0037 | Near-zero |
| Std 9.73 ppm | 9.73 | 0.0253 | Calibration |
| Std 21.18 ppm | 21.18 | 0.0488 | Calibration |
| Std 50.17 ppm | 50.17 | 0.1083 | Calibration |
| Std 99.71 ppm | 99.71 | 0.2100 | Calibration |
| Borabu 1 | 17.53 | 0.0413 | No dilution |
| Borabu 2 | 16.99 | 0.0402 | No dilution |
| Borabu 3 | 17.35 | 0.0409 | No dilution |
| N. Mugirango 1 | 15.09 | 0.0363 | No dilution |
| N. Mugirango 2 | 13.83 | 0.0337 | No dilution |
| N. Mugirango 3 | 14.76 | 0.0356 | No dilution |
| Avg – Borabu | 17.29 ± 0.28 | — | R² = 1.000 |
| Avg – N. Mugirango | 14.56 ± 0.66 | — | R² = 1.000 |

| Sample | Concentration (ppm) | Absorbance (420 nm) | DF |
| --- | --- | --- | --- |
| Std 0 ppm | 0 | 0.000 | — |
| Std 2 ppm | 2 | 0.016 | — |
| Std 4 ppm | 4 | 0.028 | — |
| Std 8 ppm | 8 | 0.049 | — |
| Std 10 ppm | 10 | 0.062 | — |
| Std 12 ppm | 12 | 0.076 | — |
| Borabu 1 | 2.65 | 0.018 | 50 |
| Borabu 2 | 3.46 | 0.023 | 50 |
| Borabu 3 | 3.46 | 0.023 | 50 |
| N. Mugirango 1 | 2.65 | 0.018 | 50 |
| N. Mugirango 2 | 2.32 | 0.016 | 50 |
| N. Mugirango 3 | 2.65 | 0.018 | 50 |
| Avg – Borabu | 3.19 ± 0.47 (corrected) | — | 50 |
| Avg – N. Mugirango | 2.54 ± 0.19 (corrected) | — | 50 |

Table 6: PO43- calibration standards and soil sample data (UV-Vis, 420 nm).

Table 7: NO3--N calibration standards and soil sample data (UV-Vis, 580 nm).

| Sample | Concentration (ppm) | Absorbance (580 nm) | DF |
| --- | --- | --- | --- |
| Std 1.00 ppm | 1.00 | 0.018 | — |
| Std 1.50 ppm | 1.50 | 0.024 | — |
| Std 2.00 ppm | 2.00 | 0.029 | — |
| Std 3.00 ppm | 3.00 | 0.036 | — |
| Borabu 1 | 1.016 | 0.019 | 5 |
| Borabu 2 | 1.127 | 0.020 | 5 |
| Borabu 3 | 1.016 | 0.019 | 5 |
| N. Mugirango 1 | 1.903 | 0.027 | 5 |
| N. Mugirango 2 | 1.903 | 0.027 | 5 |
| N. Mugirango 3 | 2.124 | 0.029 | 5 |
| Reagent blank | -1.091 | 0.000 | — |
| Avg – Borabu | 5.26 ± 0.06 (corrected) | — | 5 |
| Avg – N. Mugirango | 1.98 ± 0.13 (corrected) | — | 5 |

VI. Discussion

6.1: Soil pH

Soil pH averaged 5.8 (Borabu) and 6.0 (North Mugirango). FAO optimal ranges are 4.5-5.5 for tea, 5.5-7.0 for maize, and 5.5-7.5 for bananas. Both sites suit maize and bananas, but pH values exceed the optimal ceiling for tea—particularly in North Mugirango where pH 6.0 lies above the 5.5 upper limit for Camellia sinensis. This likely reflects historical lime applications, reduced leaching rates, or the natural buffering capacity of the clay-rich soils.

6.2: Potassium

Borabu exhibited a mean K+ of 48.58 ppm (SD=0), indicating perfect reproducibility and a geographically uniform, severe deficit. North Mugirango averaged 85.81 +/- 4.33 ppm, reflecting moderate spatial variability. Both values fall substantially below FAO minima of 80 mg/kg for tea and 120 mg/kg for maize, implying shortfalls of ~71 mg/kg (Borabu) and ~34 mg/kg (North Mugirango). The near-zero R2 for absolute K+ values highlight the need for ICP-OES or a calibration range extended to 0-250 ppm in future work.

6.3: Calcium

Calcium concentrations of 92.0 ppm (Borabu) and 61.6 ppm (North Mugirango) are critically deficient relative to FAO's 300-500 mg/kg minimum for maize. The Ca2+ calibration R2 of 0.970 confirms the analytical reliability of the inter-site difference. Both constituencies require lime applications supplying >200 mg/kg additional Ca to reach agronomic thresholds. Aluminum toxicity risk remains significant in both areas.

6.4: Magnesium

With a perfect calibration R2 of 1.000, Mg2+ concentrations of 17.29 +/- 0.28 ppm (Borabu) and 14.56 +/- 0.66 ppm (North Mugirango) represent deficits exceeding 90% relative to FAO's 150-300 mg/kg minimum for maize. Borabu's zero variance indicates a uniform deficit requiring broad corrective action. North Mugirango's variability points to localized retention zones suited to targeted dolomitic lime or kieserite.

6.5: Phosphate

Extractable PO43- averaged 3.19 +/- 0.47 mg/kg (Borabu) and 2.54 +/- 0.19 mg/kg (North Mugirango)—about one-fifth of FAO's 15 mg/kg maize minimum. Calibration R2=0.9972 confirms precision. Acid-driven phosphorus fixation under prevailing pH conditions limits soluble fertilizer efficiency; slow-release rock phosphate co-applied with biochar or compost is recommended for these high-fixation soils.

6.6: Nitrate

Nitrate averaged 5.26 +/- 0.06 mg/kg (Borabu) and 1.98 +/- 0.13 mg/kg (North Mugirango), both far below FAO's 20 mg/kg maize minimum (R2=0.9963). Non-overlapping error bars confirm a statistically significant inter-site difference. North Mugirango's near-zero nitrate identifies nitrogen depletion as the most immediately yield-limiting constraint. Split urea at V4 and VT maize growth stages combined with leguminous intercropping is recommended.

6.7: Spatial Heterogeneity and Precision Fertilization

Borabu's uniform, severe depletion supports constituency-wide corrective prescriptions, while North Mugirango's spatial variability calls for GIS-guided variable-rate applications. Overlaying calibrated concentration maps onto geo-referenced soil grids enables targeted interventions: higher dolomitic lime in Mg-variable zones, targeted P amendments in fixation hotspots, and calibrated Ca and K applications across both constituencies. Such precision approaches have achieved 20-30% input cost reductions and 30-50% yield increases in comparable settings [24]. Synchronizing fertilizer application with crop uptake windows and intercropping legumes will reduce nitrate runoff into the Sondu-Miriu River Basin.

VII. Conclusion and Recommendation

7.1: Conclusions

This study demonstrated that yield stagnation in Nyamira County stems from severe and spatially variable macronutrient deficiencies, compounded by the use of blanket fertilizer recommendations. Calibration models yielded R2 >= 0.97 for Ca2+, Mg2+, PO43-, and NO3-, confirming analytical reliability. All five nutrients fell substantially below FAO crop-specific thresholds—deficits exceeding 90% for Mg2+ and PO43- relative to maize requirements. Soil pH of 5.8-6.0 supports maize and banana production but is suboptimal for tea. The quantified deficits validate the urgent need for site-specific fertilizer strategies, and the potassium calibration limitation highlights the necessity of ICP-OES in future analytical programs.

7.2: Recommendations

Based on the study findings, the following recommendations are made:

1.  Apply 250 kg/ha rock phosphate + 150 kg/ha DAP + 2 t/ha agricultural lime in Borabu's P-fixation hotspots. In North Mugirango, apply 2.5 t/ha dolomitic lime followed by 30-40 kg K2O/ha muriate of potash in GIS-identified high-Mg variability zones.

2.  Implement split urea (100 kg N/ha total) at V4 and VT maize growth stages. Intercrop with Dolichos lablab for 20-30 kg N/ha biological nitrogen fixation; incorporate 5 t/ha compost or biochar post-harvest to restore organic matter and CEC.

3.  Replace K+ flame photometry with ICP-OES or extend calibration to 0-250 ppm (R2 >= 0.98 target). Add loss-on-ignition organic matter and micronutrient (Zn, Mn, Fe) assays to the routine soil-test panel.

4.  Collaborate with county extension officers and farmer cooperatives to establish farmer field schools comparing variable-rate and blanket fertilization trials and train local technicians in GIS-guided precision agronomy.

5.  Design multi-season crop response trials and establish water quality monitoring in the Sondu-Miriu Basin to evaluate nitrate and phosphate leaching and refine application timing.

VIII. References

[1]  Sanchez, P.A. (2015). En route to plentiful food production in Africa. Nature Plants, 1(1), 1-2.

[2]  Tittonell, P. & Giller, K.E. (2013). When yield gaps are poverty traps. Field Crops Research, 143, 76-90.

[3]  Otwori, J. et al. (2024). Soil fertility assessment in smallholder farms of Nyamira County. African Journal of Agricultural Science.

[4]  Kisinyo, P.O. et al. (2014). Soil acidity constraints to crop production in western Kenya. Journal of Agricultural Science, 6(3), 23-35.

[5]  Basso, B. et al. (2016). Environmental and economic benefits of variable rate N fertilization. Science of the Total Environment, 545, 227-235.

[6]  Vanlauwe, B. et al. (2011). Agronomic use efficiency of N fertilizer in maize-based systems. Plant and Soil, 339, 35-50.

[7]  Mucheru-Muna, M. et al. (2014). Enhancing maize productivity in central Kenya. Experimental Agriculture, 50(2), 250-269.

[8]  Okalebo, J.R. et al. (2006). Fertilizer use manual. TSBF-CIAT, Nairobi.

[9]  Carpenter, S.R. et al. (1998). Nonpoint pollution of surface waters. Ecological Applications, 8(3), 559-568.

[10] Turcios, A.E. et al. (2021). Potassium improves water use efficiency. Journal of Agronomy and Crop Science, 207(4), 618-630.

[11] Xi, S. et al. (2023). Effect of potassium on tea yield and quality: meta-analysis. European Journal of Agronomy, 144, 126767.

[12] Muindi, E.M. et al. (2015). Lime-Al-P interactions in acid soils of Kenya Highlands. American Journal of Experimental Agriculture, 9(4).

[13] Kour, J. et al. (2023). Calcium's multifaceted functions in plant stress. South African Journal of Botany, 152, 247-263.

[14] Asiedu, D.D. & Miedaner, T. (2025). Genomic tools for Fusarium stalk rot resistance in maize. Plants, 14(5), 819.

[15] Ishfaq, M. et al. (2022). Physiological essence of magnesium in plants. Frontiers in Plant Science, 13, 802274.

[16] Ngetich, F.K. et al. (2023). Nitrogen dynamics and maize response to nitrate fertilization. Nutrient Cycling in Agroecosystems.

[17] Mutua, J. et al. (2022). Phosphorus response of maize on low-P soils, western Kenya. Field Crops Research.

[18] Havlin, J.L. et al. (2017). Soil fertility and fertilizers (8th ed.). Pearson.

[19] Nguyen, T. et al. (2021). Atomic absorption spectrometry in soil analysis. Analytical Methods in Agriculture.

[20] Kenya Ministry of Agriculture (2023). Agricultural Soil Management Policy. MoALF, Nairobi.

[21] FAO (2021). Voluntary Guidelines for Sustainable Soil Management. FAO, Rome.

[22] Mairura, F.S. et al. (2021). Farm factors influencing soil fertility management in Upper Eastern Kenya. Environmental Challenges, 100409.

[23] MoALF (2019). Agricultural Sector Transformation and Growth Strategy 2019-2029. Government of Kenya.

[24] Tamene, L. et al. (2017). Soil fertility management and crop response in Ethiopia. CIAT Publication No. 449.

[25] Aliyu, K.T. et al. (2021). Nutrient imbalances in maize using the DRIS approach. Scientific Reports, 11(1), 16018.