Establishment of an NABL-Compliant Laboratory Library in a College: Requirements, Documentation, and Operational Framework for Accreditation Readiness

Abstract

The establishment of a National Accreditation Board for Testing and Calibration Laboratories (NABL)-compliant laboratory within an academic institution is essential for ensuring quality assurance, standardization, research credibility, and competency in diagnostic and testing services. In medical and allied health colleges, the laboratory library and documentation system play a vital role in fulfilling ISO 15189 and NABL accreditation requirements. This article discusses the structural requirements, documentation procedures, quality management system, manpower, equipment validation, standard operating procedures (SOPs), internal audits, and library resource management necessary for developing an NABL-ready laboratory in a college setting. The paper also highlights the importance of continuous quality improvement and accreditation benefits in academic healthcare institutions.

Keywords: NABL, ISO 15189, Laboratory Accreditation, Quality Management System, Medical Laboratory, College Laboratory, SOP, Internal Audit, Laboratory Documentation.

Introduction

The National Accreditation Board for Testing and Calibration Laboratories (NABL) is an autonomous body under the Quality Council of India responsible for accrediting laboratories according to international standards. NABL accreditation provides formal recognition of technical competence for laboratories and is based primarily on ISO 15189 standards for medical laboratories.

ISHTM-AIIMS EXTERNAL QUALITY ASSURANCE PROGRAMME An NABL accredited programme as per ISO/IEC 17043:2023 standard Department of Hematology, AIIMS, New Delhi 110029

Website: www.ishtmaiimseqap.com E-mail: Info@ishtmaiimseqap.com, Contact No. 9013085730

In educational institutions such as Ayurveda colleges, medical colleges, and research institutes, laboratory accreditation has become increasingly important for improving diagnostic quality, research reliability, teaching standards, and patient confidence. Establishing an NABL-compliant laboratory requires systematic planning, quality documentation, infrastructure management, trained personnel, and maintenance of a laboratory information and library system.

The laboratory library serves as the knowledge backbone of the quality system by maintaining updated standards, manuals, SOPs, reference books, journals, calibration records, and accreditation documents necessary for operational consistency and audit preparedness.

A laboratory plays a crucial role in healthcare, diagnostics, research, pharmaceuticals, food testing, and quality assurance. To ensure accuracy, reliability, and international acceptance of laboratory results in India, accreditation by the National Accreditation Board for Testing and Calibration Laboratories (NABL) is considered the gold standard.

NABL works under the Quality Council of India and provides accreditation according to international standards such as ISO/IEC 17025 and ISO 15189. Establishing a NABL-accredited laboratory requires proper infrastructure, qualified manpower, quality management systems, documentation, and compliance with technical standards.

Objectives of NABL Accreditation

- To describe the requirements for establishing an NABL-compliant laboratory in a college.

- To explain the role of the laboratory library and documentation system in accreditation.

- To discuss quality management practices necessary for NABL accreditation.

- To provide a framework for implementation in academic institutions.

Other Objectives

- Ensure accurate and reliable test results

- Improve laboratory quality and competence

- Increase national and international recognition

- Maintain patient and sample safety

- Standardize laboratory procedures

- Enhance trust among clinicians and patients

NABL and ISO 15189 Requirements

NABL accreditation for medical laboratories is based on ISO 15189 standards, which include management requirements and technical requirements.

Major areas include:

- Organizational structure

- Quality management system

- Personnel competency

- Equipment calibration and maintenance

- Internal quality control

- External quality assurance

- Laboratory safety

- Document control

- Record maintenance

- Continual improvement

According to NABL guidelines, every laboratory must maintain legally identifiable status, defined authority, confidentiality, impartiality, and structured documentation.

1. Scope

•	Applies to medical laboratories seeking NABL accreditation

•	Supplements ISO 15189 requirements

2. General Requirements

•	Impartiality – Lab activities free from conflict of interest

•	 Confidentiality – Patient data protection & access control

3. Structural Requirements

•	 Legal identity – Lab must be legally identifiable

•	Organization & management – Defined responsibility, authority, organogram

4.  Resource Requirements

4.1 Personnel

•	Defined qualifications (MD/DNB/PhD/Qualified technical staff)

•	Competency assessment & continuing education mandatory

4.2 Facilities & environment

•	Adequate space, biosafety, temperature, contamination control

4.3 Equipment

•	Authorized equipment only

•	Calibration, maintenance, IQ/OQ/PQ records

4.4 Reagents & consumables

•	Validated reagents, proper storage, inventory & lot traceability

4.5 External services

•	Approved referral labs, documented agreements

5. Process Requirements

5.1 Pre-examination

•	Patient identification

•	Sample collection, labeling, transport, rejection criteria

5.2 Examination

•	Method validation/verification

•	IQC mandatory for each parameter

5.3 Post-examination

•	Authorized signatory approval

•	Result review & clinical correlation

5.4 Reporting

•	NABL-compliant report format

•	Units, reference intervals, critical alerts

5.5 Critical results

•	Documented critical values & communication log

5.6 EQAS / PT

•	Mandatory participation

•	Corrective action for unsatisfactory performance

6. Management System Requirements

6.1 Documentation

•	SOPs, quality manual, records control

6.2 Risk management

•	Risk identification, mitigation & monitoring

6.3 Nonconformity & CAPA

•	Root cause analysis mandatory

6.4 Internal audit

•	Annual audit covering all sections

6.5 Management review

•	At least once a year

•	Decisions documented & implemented

Infrastructure Requirements for an NABL Laboratory

1. Physical Infrastructure

The laboratory should have:

- Adequate working space

- Proper ventilation and lighting

- Controlled temperature and humidity

- Sample collection area

- Reagent storage area

- Waste disposal system

- Biosafety measures

- Fire safety equipment

The environment should minimize contamination and ensure accuracy of testing procedures.

2. Laboratory Equipment

All laboratory instruments must be:

- Validated before use

- Properly calibrated

- Periodically maintained

- Traceable to national/international standards

- NABL requires calibration from NABL-approved calibration laboratories.

Examples include:

- Microscopes

- Centrifuges

- Incubators

- Biochemistry analyzers

- pH meters

- Spectrophotometers

Role of the Laboratory Library in NABL Accreditation

The laboratory library is an essential component of the quality management system. It ensures availability of updated technical knowledge, reference materials, and controlled documents.

Essential Components of the Laboratory Library

A. Reference Books

The library should contain updated books related to:

- Clinical pathology

- Microbiology

- Biochemistry

- Quality assurance

- Laboratory medicine

- Research methodology

- ISO 15189 standards

B. NABL Documents

Mandatory NABL documents include:

- NABL 112A – Specific Criteria for Accreditation of Medical Laboratories

- NABL 112B – Guidance Document for Medical Laboratories

- NABL 155 – Application Form and Checklist

- NABL 160 – Quality System Manual Guidelines

- ISO 15189 Standard Manual

C. Standard Operating Procedures (SOPs)

Every laboratory procedure must have a documented SOP containing:

- Principle of test

- Sample requirements

- Reagent preparation

- Procedure steps

- Reference range

- Quality control measures

- Interpretation

- Safety precautions

D. Journals and Research Publications

The laboratory library should maintain access to:

- Indexed journals

- Research articles

- Quality assurance publications

- Accreditation updates

Documentation System in NABL Laboratories

Documentation is the core component of accreditation. Proper records demonstrate traceability, accountability, and consistency.

Essential Documents

| Document Type | Purpose |
| --- | --- |
| Quality Manual | Overall quality policy and objectives |
| SOP Manual | Standardization of procedures |
| Equipment Records | Calibration and maintenance |
| Personnel Records | Qualification and competency |
| Internal Audit Reports | Monitoring compliance |
| Corrective Action Records | Improvement measures |
| Sample Registers | Traceability |
| Safety Records | Biosafety compliance |

Quality Management System (QMS)

A Quality Management System is necessary to maintain continuous laboratory quality.

Main components include:

- Quality policy

- Organizational chart

- Risk management

- Internal audits

- Corrective and preventive actions

- Continual improvement

- Management review meetings

The quality manager plays a key role in ensuring compliance with NABL requirements.

Personnel Requirements

Competent manpower is essential for accreditation.

Required Staff

- Laboratory Director

- Quality Manager

- Technical Manager

- Laboratory Technologists

- Data Entry Operator

- Support Staff

All personnel should receive training in:

- Quality management

- Biosafety

- Equipment handling

- Internal quality control

- Documentation procedures

Competency assessment should be conducted periodically.

Internal Quality Control and External Quality Assurance

- Internal Quality Control (IQC)

IQC ensures daily monitoring of test performance through:

- Control samples

- Levey-Jennings charts

- Corrective action protocols

- External Quality Assurance Scheme (EQAS)

Participation in proficiency testing programs is mandatory to compare laboratory performance with external laboratories.

Internal Audit and Management Review

Regular internal audits help identify non-conformities and corrective measures.

Audit areas include:

- SOP compliance

- Equipment maintenance

- Record management

- Staff competency

- Safety practices

Management review meetings evaluate:

- Audit findings

- Complaints

- Corrective actions

- Quality indicat

Benefits of NABL Accreditation in Colleges

NABL accreditation offers several advantages:

- Improved diagnostic accuracy

- Enhanced research credibility

- Better patient confidence

- Standardized laboratory practices

- International recognition

- Improved teaching and training quality

- Increased funding and collaboration opportunities

Challenges in Establishing NABL Laboratories

Common challenges include:

- High infrastructure cost

- Lack of trained manpower

- Extensive documentation requirements

- Equipment maintenance expenses

- Continuous audit preparedness

Despite these challenges, systematic planning and institutional commitment can successfully establish accreditation-ready laboratories.

Types of NABL Laboratories

NABL accreditation can be obtained for:

- Medical Laboratories

- Testing Laboratories

- Calibration Laboratories

- Research and Development Laboratories

Important standards and regulations include:

1. ISO 15189

- For medical laboratories:

- “Medical laboratories — Requirements for quality and competence”

2. ISO/IEC 17025

- For testing and calibration laboratories.

3. Biomedical Waste Management Rules

- Laboratories handling biological samples must comply with biomedical waste disposal regulations.

4. Local Health Authority Permissions

- Trade license

- Fire safety clearance

- Pollution control compliance

- Biomedical waste agreement

- Infrastructure Requirements

- Laboratory Space

Procedure for NABL Accreditation

Step 1: Planning

- Define laboratory scope and services.

Step 2: Infrastructure Setup

- Arrange equipment, manpower, and space.

Step 3: Implement QMS

- Prepare SOPs and quality manuals.

Step 4: Apply to NABL

- Submit online application through the official NABL portal.

Step 5: Document Review

- NABL assesses submitted documents.

Step 6: Pre-Assessment

- Experts inspect the laboratory.

Step 7: Final Assessment

- Technical evaluation is conducted.

Step 8: Corrective Actions

- Any deficiencies must be corrected.

Step 9: Accreditation Grant

- NABL certificate is issued upon successful compliance.

How a NABL Laboratory Works

- Workflow

- Patient/sample registration

- Sample collection

- Sample labeling and storage

- Testing according to SOPs

- Quality control verification

- Report generation

- Record maintenance

- Every step must be documented and traceable.

Benefits of NABL Accreditation

- Improved credibility

- Better patient confidence

- International acceptance

- Standardized reporting

- Increased institutional recognition

- Better research opportunities

Challenges in Establishing a NABL Laboratory

- High initial investment

- Extensive documentation

- Staff training requirements

- Continuous quality monitoring

- Regular audits and renewals

Conclusion

The establishment of an NABL-compliant laboratory in a college requires structured infrastructure, systematic planning, technical competency, a robust quality management systems, trained manpower, and comprehensive documentation. The laboratory library acts as the central support system for accreditation by maintaining standards, SOPs, manuals, journals, and quality records. NABL accreditation not only improves laboratory quality and patient safety but also enhances academic excellence, research standards, and institutional credibility. Therefore, educational institutions should prioritize implementation of NABL guidelines to achieve sustainable quality healthcare and research services.

Although the process involves significant effort and compliance, NABL accreditation improves laboratory standards, reliability, and professional recognition. In the modern healthcare as well as in Indian system of medicine and research environment, NABL accreditation has become essential for maintaining quality and ensuring trust in laboratory services.

References

- nabl-india.org⁠�

Comprehensive accreditation criteria and laboratory quality standards.

- iso.org⁠�

International standards for quality and competence in medical laboratories.

- Sharma A, Gupta V. “Quality Management System in Medical Laboratories.” Journal of Laboratory Physicians. 2021;13(2):101-108.

- Mehta P, Kaur R. “Implementation of NABL Standards in Educational Institutions.” International Journal of Health Sciences and Research. 2020;10(7):245-252.

- qcin.org⁠�

National framework for accreditation and quality assurance systems.

- Singh S, Verma N. “Role of Documentation in NABL Accreditation.” Indian Journal of Pathology and Microbiology. 2019;62(4):550-556.

- who.int⁠�

WHO guidelines for laboratory quality management systems.

- Westgard JO. Basic Quality Management Systems: Essentials for Laboratory Accreditation. Madison: Westgard QC Publications; 2018.

- Das P, Jain M. “Internal Audit and Continuous Improvement in Diagnostic Laboratories.” Asian Journal of Medical Sciences. 2022;13(5):77-84.

- clsi.org⁠�

International clinical laboratory standards and operational guidelines.

- Bhatia R. “Laboratory Safety and Biosafety Practices in Medical Colleges.” Journal of Clinical and Diagnostic Research. 2021;15(3):DE01-DE05.

- nabl-india.org⁠�

Official downloadable NABL accreditation documents.

- Plebani M. “Errors in Clinical Laboratories and Quality Improvement.” Clinical Chemistry and Laboratory Medicine. 2017;55(7):943-949.

- cdc.gov⁠�

International laboratory quality and biosafety resources.

- Kulkarni S, Rao P. “Challenges in NABL Accreditation of College Laboratories.” International Journal of Medical Laboratory Research. 2023;8(1):33-39.