# The Application of Electrocoagulation in Textile Wastewater Treatment- A Scoping Review of Recent Trends (2021-2025)

ABSTRACT

Nowadays, electrochemical wastewater treatment methods are receiving increasing interest among researchers to overcome the limitations of conventional chemical and biological treatment methods. Electrocoagulation (EC) is one of the methods that generates in-situ coagulants via electrically oxidizing a sacrificial anode. Through a scoping review, this study aims to identify and analyse the state of the art in the application of electrocoagulation for the treatment of synthetic textile dye effluents. This study was conducted following the PRISMA protocol on the Scopus database from 2021 to 2025. This work maps the research trend on electrocoagulation, its application mechanism, and advancements for improved efficiency. It further investigated the modelling techniques and hybrid technologies integrated with electrocoagulation. The results show a steep increase in publications over the years, with most originating in Asia, especially India. Electrocoagulation has been demonstrated to effective to treat a wide range of dyes and is influenced by several factors directly controlling the electrochemical reactions and indirectly affecting the performance during scale-up. Overall, treatment efficiency depends on a combination of pollutant removal, operational performance, and economic indicators. RSM, with Central Composite, and Box-Behnken Designs, is the most widely used modelling technique, and integration of advanced techniques such as ozonation, the Fenton process, catalyst addition, and sonication shows the potential to achieve enhanced wastewater treatment efficiency.

Keywords: Electrocoagulation; Scoping review; Textile dyes; Textile wastewater; Wastewater treatment

# INTRODUCTION

The textile industry is a major global manufacturing sector and is the largest consumer of water. Production processes like sizing, de-sizing, scouring, bleaching, mercerizing, dyeing, printing, and finishing use large amounts of water, producing wastewater that contains salts, minerals, oils, metals, chemicals, and dyes. According to the United States Environmental Protection Agency (US EPA) reports, dyeing 1 kg of fabric requires at least 40 L of freshwater. It also notes that 830 billion liters of freshwater are consumed annually, generating 640 billion liters of wastewater (Basak, S; Pandit, P; Samanta, KK; Samanta, 2019; Thombre et al., 2025). According to the European Parliamentary Research Service (EPRS), producing a single cotton T-shirt requires 2700 L of fresh water (Van Woensel & Lipp, 2020).

Among the various operations in textile manufacturing, dyeing is considered one of the most harmful units, generating coloured wastewater that can cause severe damage to nearby waterbodies when released untreated (Navin & Mathur, 2018). According to an assessment by the European Environmental Agency, the dyeing and finishing process alone accounts for around 20% of global clean water pollution (European Parliment, 2021). Therefore, proper treatment of effluent before releasing it into the environment is essential to protect the environment, aquatic life, the natural balance, and human health.

Wastewater treatment refers to removing impurities, such as pollutants, coarse particles, toxicants, and potential pathogens (Silva, 2023), from wastewater/sewage before releasing it into natural waterbodies (Archis Ambulkar & Nathanson, 2025). Wastewater treatment is typically classified into several levels, including preliminary screening (Silva, 2023), primary sedimentation, secondary biological treatment, and tertiary effluent polishing (Archis Ambulkar & Nathanson, 2025; Senthil Kumar & Saravanan, 2017). In general, several methods are employed in textile wastewater treatment. Adsorption, coagulation, membrane separation, flotation, ozonation, ion exchange, evaporation, and crystallization are the commonly employed conventional treatment methods (Senthil Kumar & Saravanan, 2017) which are not always effective (Ghasem et al., 2016) in removing textile dyes, which often contain organic compounds and heavy metals. Among these techniques, coagulation/flocculation is one of the most widely used treatment units in the water industry (Jiang, 2015; Jo et al., 2024). However, there are several drawbacks is chemical coagulation as well, including the generation of secondary pollutants and the production of large amounts of sludge (Sajath et al., 2022). Moreover, in recent years, researchers have shown growing interest in electrochemical treatment methods, including EF-electro flotation, ER-electrokinetic remediation, EC-electrocoagulation, and EO-electrooxidation (Boinpally et al., 2023). In addition to these, microbial fuel cells have also emerged as an electrochemical approach with electrochemically active bacteria (Lepage et al., 2014). Since the conventional chemical coagulation method has potential drawbacks, this review focuses on the electrocoagulation method, which provides a similar effect to chemical coagulation but operates through multiple mechanisms, such as electrochemical kinetics, charge transport, thermodynamics, and adsorption isotherms, all occurring simultaneously in the system (Gholami Shirkoohi et al., 2022).

## Electrocoagulation (EC)

The theory of EC has been explained by several authors (Bener et al., 2019; Mollah et al., 2001). Coagulation is the core mechanism behind the EC phenomena. EC is an electrochemical process that involves an in-situ coagulant generation mechanism via an electrically oxidizing metal anode, such as the commonly used Fe or Al. Like chemical coagulation, metal hydroxides serve as coagulants in EC to efficiently adsorb and remove dissolved pollutants from water. It is a physical treatment method that mineralizes and decomposes the suspended particles in the wastewater effluent (Gasmi et al., 2022; Tanveer et al., 2022).

## Initial application of electrocoagulation

The history of electrocoagulation, reported by Bharti et al. (Bharti et al., 2023), shows that EC was first implemented in the United States in 1946.  Then it was introduced in Russia, Europe, South America, and elsewhere. Table 1 summarizes key developments in EC.

Table 1. Milestones of EC technology innovation, application, and global spread

| Year | Country/ Region | Application |
| --- | --- | --- |
| 1946 | United States | Colour removal from drinking water |
| 1970 | Russia, Europe, and South America | Removal of inorganic compounds in industrial wastewater |
| 1980 | North America | Implementation in the mining and metal processing industries |
| 1984 | London | Introduction of EC |
| 1988 | London | Construction of a household wastewater treatment facility |

# RESEARCH DESIGN

This study adopted the scoping review method described by Zahir et al. (Barahmand & Eikeland, 2022) to gather existing knowledge from recent studies relevant to EC in textile wastewater treatment. A procedure scheme was planned, as illustrated in Figure 1, outlining the key steps for systematically carrying out the review.

Review Procedure

Fig. 1. Flowchart of literature review procedure detailing the key steps followed to gather and analyze the recent studies on EC.

Initially, a keyword search was conducted in the Scopus database to identify the relevant papers on EC. The initial keywords were refined with multiple trials to enhance the search string and to capture the most relevant papers. After collecting a wide range of relevant studies, screening and sorting were performed to clean and filter the corpus. The searching and screening process were carried out according to the PRISMA protocol. Table 2 presents the detailed paper selection and screening process, including the number of papers retrieved at each step.

Developing Search String:

The initial search was performed in the Scopus database using the relevant keywords, electrocoagulation and textile, as initially defined. This search was conducted across article titles, abstracts and keywords, yielding a total of 459 papers.

Then, the keyword tailoring was performed by altering the term “ electrocoagulation ” to “ (“electro coagulation” OR electro-coagulation OR electrocoagulation) ”, yielding a few more documents and resulting in 482 papers.

Table 2: Search string development and screening/ filtering criteria used for a literature review in selecting relevant studies on EC.

Then, another keyword, wastewater, was added to the search to strongly represent wastewater treatment, reducing the number of papers by filtering out them containing this keyword, resulting in 410 documents.

The keyword “ wastewater ” was then refined to “ (wastewater OR “waste water”) ” due to usage variation, adding 10 more documents to the results, bringing the total to 420.

Some papers were found without the term wastewater in their title, but with the terms dye removal, colour removal, or decolouring, with variations in spelling due to American and British English, such as colour, color, decolour, and decolor. Thus, all these terms were added with the keyword wastewater, using the OR Boolean operator. This has captured 54 additional papers, bringing the total to 474 documents.

Once the search string was finalized, the screening process was started to sort and filter the papers.

Screening Process:

- The search type was limited to the article titles, filtering out 167 documents.

Then, the most recent documents from the past 5 years were sorted, resulting in 67 total documents.

The document type was then screened to select only articles, eliminating conference papers and book chapters from the collected documents published over the last five years, resulting in 51 papers.

After that, each paper underwent manual cleaning, and 2 non-relevant papers and 2 papers with no access were eliminated. It brought the total to 47.

Then a duplicate paper was removed, bringing the number of papers to 46.

Additionally, 1 paper was added to the final corpus, bringing the total to 47.

This final corpus was used for reviewing the EC treatment process.

# RESULTS

In this section, the selected latest papers on EC are categorized with available descriptive information.

## Analysis by year

This analysis gives the status of available papers by year under the final refined search string development. No studies on this topic were found on the Scopus database before 2002. In 2002, there was one publication. Starting from 2002, the number of publications has increased each year. Figure 2 shows that the trend of publications has increased over time in Scopus using the final search string applied only to the article title, disregarding the abstracts and keywords that contain the same search string.

Fig. 2. Annual publication trend on electrocoagulation (EC) in Scopus from 2002 to 2025, showing increasing research interest over time.

We can see a gradual increase in research interest in EC over time, as reflected in the available publications. The rise in publications in recent years is significantly higher than in the early years from 2002 to 2014, when the number of publications was relatively low, ranging from 1 to 7 documents. In 2019, there were 13 publications, and in 2020 and 2021, there were 14 publications. The year, 2024, shows the highest peak number of publications, with 21 papers, and in 2025, until February, there are five publications in total. However, some occasional fluctuations in some years show variations in research activities and publications, such as 2018 having only 3 papers and 2022 having 11 papers.

Therefore, the overall analysis suggests that the research interest in this field will keep increasing in the coming years, as this trend indicates a steady increase. Moreover, from all these publications, the papers published in the last five years, from 2021 to 2025, were selected for the review purpose of this study.

## Country-wise analysis

The available publications from the selected year range between 2021 and 2025 were categorized based on the country-wise publication to see the trend of global research interest. A total of 34 countries have been involved in this field of research on EC in textile wastewater treatment over the last five years. Among them, India is the top participant, which has published a total of 16 papers, whereas the second contributing country is Brazil which has half of the total publications of India. The other countries are even fewer. Moreover, from the continent-wise summary, we can see significant interest in research from all the continents in the world in which Asia has the highest level of research activity with 51 publications, followed by Africa with 13, South America with 11, North America with 6, Europe with 5, and Australia with 3 documents.

Figure 3 illustrates a continent-wise summary of publications over the last five years, and Figure 4 shows the publication trend of the top 10 countries that contributed to those publications in Scopus.

Fig. 3. Continent-wise distribution of studies (2021-2025) on electrocoagulation (EC) available on the Scopus database.

Fig. 4. Top 10 countries contributing to publications on electrocoagulation (EC) during 2021-2025

## Classification based on document types

In this section, the publications of the last 5 years were further analyzed based on the type of literature.

Fig. 5. Types of available literature on electrocoagulation (EC) in Scopus from 2021 to 2025

There are 3 types of literature available in the form of articles, conference papers, and book chapters, which is given and Figure 5, representing their percentages. The type of document selected for the reviewing purpose of this study was only articles.

## Classification based on subject area

Additionally, the final classification was done on the selected papers in search of identifying the subject areas involved in this research, and the following Figure 6 illustrates the key area of the selected papers under the categories of different subject areas.

Documents by Subject Area

Fig. 6. Classification of publications on electrocoagulation (EC) based on subject areas such as chemistry, engineering and environmental science.

# DISCUSSION

## Types of dyes treated with EC

The literature demonstrates that EC has been widely applied to treat a wide range of dyes in textile wastewater. Studies have been carried out on both synthetic single dye as well as real textile effluents.

Studies on synthetic dyes include reactive dyes, acidic dyes, basic dyes, vat dyes, direct dyes, disperse dyes, and indicators. From the final corpus, the most available studies are on reactive dyes such as reactive red (239 (Bünyamin, 2023), 231 (Lach et al., 2022), 152 (Sugha et al., 2025)), vivizol red (150% (Asfaha, 2022)), reactive orange (16 (Hussain et al., 2023), 84 (Sugha et al., 2025)), reactive black (WNN(Manikandan & Saraswathi, 2023), 5 (Lamhar et al., 2024, 2025; Omwene & Keyikoğlu, 2023)), reactive yellow (105 (Sugha et al., 2025)), and reactive blue (Houssini et al., 2021) suggesting their extensive use in the textile industry. Vat dyes are another widely used class, such as Vat Brown 1 (Omwene & Keyikoğlu, 2023), Coralene Navy RDRLSR (Jegathambal & Gafoor, 2021), Coralene Red 3G (Jegathambal & Gafoor, 2021), Rubru RD GLF I solid dye (Jegathambal & Gafoor, 2021), Azucryl Red (Elhadeuf, Bougdah, Balaska, et al., 2023), and  indigo derivatives (Bressan et al., 2024; Maman, Behling, et al., 2022; Maman, Conrado, et al., 2022; Somasundaram et al., 2024; Tanyol et al., 2021) used for denim colouring, highlighting the relevance of EC for treating denim effluent. On the other hand, disperse dyes, such as disperse red 19 (Sugha et al., 2025), disperse orange 30 (Omwene & Keyikoğlu, 2023), disperse blue 5BR (Sugha et al., 2025), and disperse brown 1 (Sugha et al., 2025), are reported relatively less in the literature, suggesting they are less widely used in the industry compared to reactive dyes whereas succesful to treat through EC. Likewise, acid dyes such as acid blue 324 (Omwene & Keyikoğlu, 2023), acid orange 7 (Sugha et al., 2025), and acid yellow 54 (Sugha et al., 2025), and basic dyes such as basic yellow 28 (Omwene & Keyikoğlu, 2023), methylene blue dye (de Carvalho Góes et al., 2021; Somasundaram et al., 2024), crystal violet (Somasundaram et al., 2024), and malachite green dye (Abdulrazzaq et al., 2021; Somasundaram et al., 2024) are also available in the  literature under EC studies. Meanwhile some researchers have studied EC to treate indicator dyes such as methyl red (Ibrahim et al., 2023; Somasundaram et al., 2024), methyl orange (Somasundaram et al., 2024), eosin yellow (Somasundaram et al., 2024). Most of these dye classes including reactive, direct, acid, and disperse dyes belong to the Azo dye group which contain N=N linkage producing vibrant range in colours.

These dyes are used to colour different fabrics, and each dye has its own specific chemical structure, functional groups, molecular complexity, and reactivity. The effectiveness of EC and optimal operational conditions can vary depending on the specific characteristics of each dye. A study by Omwene and Keyikoğlu (Omwene & Keyikoğlu, 2023) demonstrates how the treatment efficiency differs among different dyes under the same operational condition. Moreover, there are number of studies, focused on synthetically prepared wastewater containing a single dye to identify operational conditions and EC-based dye removal efficiency. However, a significant number of studies have examined real textile wastewater (Abdelshafi & Sadik, 2021; Ahmed, Ahsan, et al., 2024; Ahmed, Khan, et al., 2024; Arshad et al., 2023; Bulca et al., 2021; Elhadeuf, Bougdah, Chikhi, et al., 2023; Gasmi et al., 2022; Ghosh et al., 2024; Guillermo et al., 2022; Huang et al., 2025; Isawi et al., 2024; Javed et al., 2025; Jegathambal et al., 2024; Kalia et al., 2023; Karthikeyan & Vijayachitra, 2021; Maman, Behling, et al., 2022; Maman, Conrado, et al., 2022; Martín-domínguez et al., 2022; Moazeni et al., 2023; Pacheco et al., 2023; Selvaraj & Arivazhagan, 2024; Tanveer et al., 2022; Thiago et al., 2024; Yáñez-Ángeles et al., 2025), which contains a mix of dyes and chemical effluents.

Studying each dye type is important for evaluating EC performance on that dye. In contrast, studying real textile wastewater is essential for assessing EC performance in practical industrial applications.

## Factors effecting EC performance

EC mechanism is controlled by several factors. The primary factors such as type of electrode material, applied voltage/ current density, electrolysis time, concentration of the added electrolyte causing initial conductivity of the effluent, inter electrode distance, and initial pH of the effluent are the main dominant parameters which effect the electrochemical reaction process directly. On the other hand, there are some secondary factors such as volume of the effluent, flow rate of the effluent, electrode configuration, and mixing speed that do not directly control the EC performance but indirectly influences the impacts of the primary factors, depending on system design. The secondary factors are crucial when scaling-up the treatment unit for practical application from lab-scale treatment. As in the literature, researchers have studied, varying the primary factors to identify the optimal conditions to achieve the maximum dye removal efficiency.

In EC, the main material that generates coagulant agent that treats the pollutant is the sacrificial anode metal. The literature shows that Aluminium (Asfaha, 2022; Bünyamin, 2023; Gasmi et al., 2022; Guillermo et al., 2022; Houssini et al., 2021; Hussain et al., 2023; Lach et al., 2022; Lamhar et al., 2024, 2025) and Iron (Bünyamin, 2023; Guillermo et al., 2022; Houssini et al., 2021; Hussain et al., 2023) are the mostly used electrode materials since the widely used conventional coagulants in wastewater treatment are Aluminium and Iron Chloride salts. Moreover, the metal ions with higher valence charges are most preferred in EC to effectively compress the electrical double layer to improve the pollutant coagulation. Thus, Al and Fe metals are commonly accepted as standard metal anodes for their good coagulant properties, their multivalent ions and also their high availability at low cost (Garcia-segura et al., 2017). In this frame, some researchers have studies, waste iron slag (Maman, Conrado, et al., 2022) and scrap iron (Maman, Behling, et al., 2022) from foundries as well as recycled and non-recycled waste Al cans (Elhadeuf, Bougdah, Balaska, et al., 2023) for further cost effectiveness. Nevertheless, some studies investigated, alternative materials such as, copper (Hussain et al., 2023), mild steel (Jegathambal et al., 2024), and titanium coated aluminium (Jegathambal et al., 2024). However, the optimal conditional values of the operating parameters differ based on the material used as the electrode.

The applied voltage / current density is one of the most influencing parameters which directly effects the dissolving rate of the sacrificial anode material which leads to coagulant generation, resulting in the dye removal efficiency. An increase in applied voltage can result in higher current density leading better coagulation performance at the same time leading to higher power consumption (Abdulhadi et al., 2019). Researchers have found a varied optimal current density value such that 0.83 mA/cm2 was applied by Omwene et al. (Omwene & Keyikoğlu, 2023) while 50 mA/cm2 by Guillermo et. Al. (Guillermo et al., 2022), each based on the specific treatment setup with different other parameter values. Therefore, investigating optimal current density is important considering dye removal efficiency meanwhile investigating the other parameters to reduce energy consumption.

The treatment time has the effect in achieving the higher efficiency because with time the formation of cations from the electrode (anode) increase and hence the hydroxide species increase. As a result the efficiency increases (Gonçalves et al., 2016). However, some studies (Hussain et al., 2023; Sinna Lebbe et al., 2026) show a decline in treatment efficiency with prolonged electrolysis time after a certain point, which will also affect negatively with operating cost. Therefore, optimizing the electrolysis time is an important parameter to achieve the maximum EC efficiency.

Adding various types of salts as supporting electrolytes (e.g., NaCl (Elhadeuf, Bougdah, Balaska, et al., 2023; Lach et al., 2022; Maman, Behling, et al., 2022; Maman, Conrado, et al., 2022) KCL (Lamhar et al., 2024, 2025), and Na2SO4 (Hussain et al., 2023)) has a passive effect on dye removal efficiency. In general, an electrolyte is usually used to increase the solution conductivity in EC because of the ion concentration, which will reduce the electrical resistance and enhance the current flow. However, excessive electrolyte addition may lead to secondary pollution and operational cost. Therefore, this need to be optimised to ensure the EC efficiency.

The inter electrode distance directly effects the solution resistance and the energy consumption of EC due to its influence in the electric field strength. smaller electrode gap is generally considered to give stronger electric field, and lower resistance affecting the rate of electrode dissolution and coagulant generation. However, considering the short-circuiting and clogging concerns, optimization of this factor is very important.

Initial pH is another factor that determines which kind of coagulant agents are produced from the anode based on the pH level of the solution. A study by Guillermo et al. (Guillermo et al., 2022) shows higher removal efficiency at pH 10 with Fe electrodes and at pH 4 with Al electrodes. Therefore, it is crucial to investigate the effect of the initial pH based on the specific conditions of the studies.

## Performance indicators to assess electrocoagulation efficiency

To identify the effectiveness of the EC treatment, researchers have used several performance metrics such as dye removal efficiency, COD removal, turbidity removal, TOC removal, TSS removal, phenol removal, electricity consumption, energy consumption, electrode consumption, operating cost, and sludge formation. These matrices can be classified into categories such as pollutant removal-based performance indicators, operational performance indicators, as well as economic performance indicators.

Dye removal efficiency is one of the most widely reported pollutant removal indicators that shows how clear the coloured wastewater gets after the treatment process, since the primary objective of the EC treatment in textile wastewater is stabilizing the dye pollutants to trap them and getting colourless water as a result.

However, the real textile effluent consists of complex types of pollutants, sizing agents, detergents, finishing chemicals, etc. Therefore, the colour removal alone doesn’t indicate the complete water purification, as the colourless effluent still may contain dissolved organic matter and suspended impurities. In this case, some other common parameters are important to evaluate the treatment efficiency. Those are chemical oxygen demand (COD) which measures the total amount of oxygen required to chemically oxidize the organic and inorganic substances in the wastewater, total organic carbon (TOC) which measures the total amount of carbon present in the organic compounds, turbidity which measures the cloudiness of the effluent due to the fine colloids present in the water, and total suspended solids (TSS) which measures the total mass of the solid particles suspended in the wastewater. In addition, some studies by Maman et al. (Maman, Behling, et al., 2022; Maman, Conrado, et al., 2022)  have reported phenol removal through EC treatment, specifically in real textile denim effluents, as phenol is one of the finishing chemicals and its removal is another indicator for the detoxification of the treated effluent.

In addition to the pollutant removal, the operational and economic performance indicators evaluate the technical and economic feasibility of the EC process. Electricity/energy consumption evaluates the amount of electrical energy consumed to treat a unit volume of wastewater or to treat a unit volume of pollutant. This is directly influenced by applied current density, treatment time, and the electrode material. Although a higher applied potential enhances pollutant removal efficiency (Sinna Lebbe et al., 2026),  it will result in increased energy consumption leading to higher operating costs. Electrode consumption indicates how much the sacrificial anode dissolves during the EC process. When the electrode consumption is excessive, the sludge formation will be higher, as well as the operating costs.

Overall, the efficiency of EC requires optimization among all these performance metrics, to attain the maximum effectiveness in practical applications.

## Types of Modelling techniques Integrated with EC

From the selected literature, some studies were identified where researchers have integrated modelling techniques along with EC for process optimization. The statistical modelling techniques found were RSM (Houssini et al., 2021) with Central Composite Design (Gasmi et al., 2022; Tanyol et al., 2021), Box Behnken Design (Asfaha, 2022; Guillermo et al., 2022), and Factorial Experiment Design (Lach et al., 2022). These models were fitted to a second-order polynomial regression to capture the relationship between the operational factors influencing the EC mechanism.

The common independent variables studied were pH, current density, electrolysis time, dye concentration, and electrolyte concentration, in order to draw the response for colour removal, COD, turbidity and energy consumption. Several software applications, such as Design-Expert, Minitab, Statistica, Statgraphics Centurion, and JMP.11, are used for model building and for model validation, ANOVA, R², adjusted R², predicted R², adequate precision, Spearman correlation, Tukey's test, lack of fit tests, coefficient of variation, normal percentage probability plot, and experimental vs. predicted values comparison were used.

These modelling approaches were used to optimize operating parameters, maximize removal efficiency, minimize operational cost and energy consumption, and to understand the interactions among the operational parameters.

4.5 Hybrid approaches integrated with electrocoagulation

Publications from the selected corpus indicate that researchers are increasingly focusing on several advancements for an effective and efficient water treatment method through the application of EC integrated with some advanced technologies and with some hybrid approaches for enhanced treatment results. From the selected studies, 57% of the publications demonstrate a combination of EC with other technologies.

Several studies are exploring EC integrated with advanced oxidation processes. Tanveer et al. (Tanveer et al., 2022) investigated the treatment efficiency of EC combined with AOPs such as ozonation, Fenton, and photo-Fenton processes in textile dye removal. Similarly, the same treatment for EC with Photo electro‐Fenton Processes was studied by Moazeni et al. (Moazeni et al., 2023), and EC with electro-Fenton was also studied by Agarwal (Agarwal, 2024). There was another study by Domínguez et al. (Martín-domínguez et al., 2022), which explores EC combined with oxidation through oxygen and ozone, and Javed et al. (Javed et al., 2025) also studied hybrid ZIF-67 catalyzed ozonation coupled with EC. Martínez et al. (Martínez et al., 2024) further investigated the effect of high-rate aeration in EC; meanwhile, Asfaha et al. (Asfaha et al., 2022) investigated hybrid electrocoagulation and electrooxidation processes. Then, EC and anodic oxidation were studied by Sugha et al. (Sugha et al., 2025). Angeles et al. analyzed the sequence of textile washing treatment with ozonolysis, EC, and electrooxidation. In terms of enhancing the floatation in EC, Abdulrazzaq et al. (Abdulrazzaq et al., 2021) applied air microbubbles for enhanced treatment. Isawi et al. (Isawi et al., 2024) demonstrate a combined EC/Flotation technique with membrane desalination.

Moreover, Agarwal et al. (Agarwal et al., 2024) integrated EC and electrooxidation to treat textile wastewater to fit for biological remediation, and Ghosh et al. (Ghosh et al., 2024) approached a hybrid treatment method comprising anaerobic digestion and EC. Bulca et al. (Bulca et al., 2021) investigated the hybrid wastewater treatment method by evaluating the performance of absorption after EC and the performance of catalytic wet air oxidation (CWAO) after EC. Similarly, the integrated EC and adsorption treatment method was studied by Somasundaram et al. (Somasundaram et al., 2024) and Jegathambal et al. (Jegathambal & Gafoor, 2021) as well. In another study, Selvaraj et al. (Selvaraj & Arivazhagan, 2024) examined the integration of EC and adsorption by algal-activated carbon.

Pacheco et al. (Pacheco et al., 2023) proposed the addition of a bio-coagulant from Pithaya peel, and Yazdandoust et al. (Yazdandoust et al., 2024) proposed the addition of Moringa oleifera seed extract for EC enhancement. Ahmed et al. (Ahmed, Khan, et al., 2024) evaluated the impact of seawater integration on EC. Other novel approaches by Kalia et al. (Kalia et al., 2023) explore hybrid electrocoagulation and laccase-mediated treatment. Conversely, Góes et al. (de Carvalho Góes et al., 2021) studied EC combined with conventional flocculation by adding Pectin and SDS as flocculants. Another study by Arshad et al. (Arshad et al., 2023) explores the combination of chemical coagulation with EC. While Abdelshafi et al. (Abdelshafi & Sadik, 2021) examined EC integrated with granular activated carbon filtration, and another similar study was conducted by Elhadeuf et al. (Elhadeuf, Bougdah, Chikhi, et al., 2023), who combined micro-filtration with EC.

Moreover, an EC combined sonication process called sono-EC was optimized by Manikandan et al. (Manikandan & Saraswathi, 2023) and Karthikeyan et al. (Karthikeyan & Vijayachitra, 2021) developed an IoT monitoring system with sensors for the EC reactor. These advanced technological innovations were explored to further improve the efficient control of EC.

CONCLUSION

The scoping review has comprehensively explored the recent trend in the application of electrocoagulation to treat dye pollutants from textile wastewater over the last five years, from 2021 to 2025. The reviewed literature demonstrates that electrocoagulation is effective in treating a wide range of textile dyes. However, the optimal condition varies depending on the type of dye being treated and the electrode material used. Therefore, each study with a new dye or with a new electrode material requires specific optimisation to find the optimal working condition with maximum efficiency. The selection of performance indicators was found to depend on the nature of the wastewater selected for study, such as a synthetic single dye wastewater and a real textile effluent. However, for real industrial applications, a combination of all the performance indicators should be considered for practical implementation. For enhanced process optimisation, modelling approaches have been applied to effectively interpret the outcomes of the experiments. Moreover, a growing number of studies report the integration of electrocoagulation with some other advanced water treatment techniques to achieve an improved treatment performance. Moreover, despite the available studies on both synthetic and real industrial effluent, most studies were carried out at lab-scale and larger-scale long-term performance assessment remains unexplored to support industrial application.

CONFLICT OF INTEREST

The authors declare no conflict of interest.

ACKNOWLEDGEMENTS

The authors appreciate the Research Council, University of Sri Jayewardenepura, Sri Lanka for funding the project through University Research Grant No "RC/URG/TEC/2026/62"

REFERENCES

Abdelshafi, N. S., & Sadik, M. A. (2021). Environment-friendly processes: Electrocoagulation and activated carbon filtration for reuse of textile wastewater. Egyptian Journal of Chemistry, 64(8), 3997–4003. https://doi.org/10.21608/ejchem.2021.63363.3358

Abdulhadi, B. A., Kot, P., Hashim, K. S., Shaw, A., & Khaddar, R. Al. (2019). Influence of current density and electrodes spacing on reactive red 120 dye removal from dyed water using electrocoagulation/electroflotation (EC/EF) process. IOP Conference Series: Materials Science and Engineering, 584(1). https://doi.org/10.1088/1757-899X/584/1/012035

Abdulrazzaq, N. N., Al-Sabbagh, B. H., & Shanshool, H. A. (2021). Coupling of electrocoagulation and microflotation for the removal of textile dyes from aqueous solutions. Journal of Water Process Engineering, 40, 101906. https://doi.org/10.1016/j.jwpe.2020.101906

Agarwal, P. (2024). Sequential electro-coagulation and electro-Fenton processes for the treatment of textile wastewater. July, 1–16. https://doi.org/10.1002/wer.11118

Agarwal, P., Gaur, B., & Mathur, S. (2024). Enhancing textile wastewater treatment for subsequent biological processes by integrating electrooxidation and electrocoagulation. 19(10), 4192–4209. https://doi.org/10.2166/wpt.2024.244

Ahmed, T., Ahsan, A., Rahman, H., Khan, B., Kamal, T., Hasan, R., Hasan, A., Karim, R., & Imteaz, M. (2024). Comprehensive study on the selection and performance of the best electrode pair for electrocoagulation of textile wastewater using multi-criteria decision-making methods ( TOPSIS , VIKOR and PROMETHEE II ). Journal of Environmental Management, 363(June), 121337. https://doi.org/10.1016/j.jenvman.2024.121337

Ahmed, T., Khan, M. H. R. B., Ahsan, A., Islam, N., El-Sergany, M., Shafiquzzaman, M., Imteaz, M., & Al-Ansari, N. (2024). Evaluation of the impacts of seawater integration to electrocoagulation for the removal of pollutants from textile wastewater. Environmental Sciences Europe, 36(1). https://doi.org/10.1186/s12302-024-00896-8

Archis Ambulkar, & Nathanson, J. A. (2025). Wastewater Treatment. Encyclopaedia Britannica. https://www.britannica.com/technology/wastewater-treatment

Arshad, S., Ali, W., Muhammad, K., Ishfaq, T., & Usman, M. (2023). Combined Coagulation ‑ Electrocoagulation Treatment of Urban , Peri ‑ urban , and Textile Wastewaters : Process Evaluation and Sludge Setting Characteristics. Water Conservation Science and Engineering, 8(1), 1–13. https://doi.org/10.1007/s41101-023-00214-y

Asfaha, Y. G. (2022). Investigation of cotton textile industry wastewater treatment with electrocoagulation process : performance , mineralization , and kinetic study. 85(5), 1549–1567. https://doi.org/10.2166/wst.2022.061

Asfaha, Y. G., Zewge, F., Yohannes, T., & Kebede, S. (2022). Application of hybrid electrocoagulation and electrooxidation process for treatment of wastewater from the cotton textile industry. Chemosphere, 302, 134706. https://doi.org/10.1016/j.chemosphere.2022.134706

Barahmand, Z., & Eikeland, M. S. (2022). Life Cycle Assessment under Uncertainty: A Scoping Review. World, 3(3), 692–717. https://doi.org/10.3390/world3030039

Basak, S; Pandit, P; Samanta, KK; Samanta, P. (2019). Health & Environmental Research Online (HERO). In S. S. Muthu (Ed.), Water in Textiles and Fashion (pp. 41–59). Woodhead Publishing. https://doi.org/10.1016/B978-0-08-102633-5.00003-8

Bener, S., Bulca, Ö., Palas, B., Tekin, G., Atalay, S., & Ersöz, G. (2019). Electrocoagulation process for the treatment of real textile wastewater: Effect of operative conditions on the organic carbon removal and kinetic study. Process Safety and Environmental Protection, 129, 47–54. https://doi.org/10.1016/j.psep.2019.06.010

Bharti, M., Das, P. P., & Purkait, M. K. (2023). A review on the treatment of water and wastewater by electrocoagulation process: Advances and emerging applications. Journal of Environmental Chemical Engineering, 11(6), 111558. https://doi.org/10.1016/j.jece.2023.111558

Boinpally, S., Kolla, A., Kainthola, J., Kodali, R., & Vemuri, J. (2023). A state-of-the-art review of the electrocoagulation technology for wastewater treatment. Water Cycle, 4, 26–36. https://doi.org/10.1016/J.WATCYC.2023.01.001

Bressan, L. G., Cristina, G., Flores, P., & Biolchi, N. J. (2024). Comparison of electrocoagulation and physicochemical coagulation / flocculation in the treatment of synthetic textile wastewater. 56(1), 1–15.

Bulca, Ö., Palas, B., Atalay, S., & Ersöz, G. (2021). Performance investigation of the hybrid methods of adsorption or catalytic wet air oxidation subsequent to electrocoagulation in treatment of real textile wastewater and kinetic modelling. Journal of Water Process Engineering, 40(December 2020). https://doi.org/10.1016/j.jwpe.2020.101821

Bünyamin, M. (2023). Optimization of Operating Parameters in the Removal of Synthetic Textile Dyestuff with the Electrocoagulation Process. 42(5), 1553–1573.

de Carvalho Góes, M. C., Garcez, M. P. R., Siqueira, A. R. F., Farias, T. P., de Santana, C. G., de Jesus Gomes da Costa Neto, J., & Bezerra, C. W. B. (2021). Pectin and SDS as auxiliary flocculants for complementary treatment of textile wastewater by electrocoagulation. Korean Journal of Chemical Engineering, 38(8), 1631–1641. https://doi.org/10.1007/s11814-021-0812-6

Elhadeuf, K., Bougdah, N., Balaska, F., & Chikhi, M. (2023). Experimental Study and Modeling by the Complete Factorial Plan of the Elimination of Textile Dye by Electrocoagulation Using Aluminum from Recycled Cans. Chemical Methodologies, 7, 183–199. https://doi.org/10.22034/CHEMM.2023.369066.1624

Elhadeuf, K., Bougdah, N., Chikhi, M., Ben Djaballah, C., & Balaska, F. (2023). Optimization of textile wastewater treatment by electrocoagulation-microfiltration using recycled electrodes and Box-Behnken design. Reaction Kinetics, Mechanisms and Catalysis, 136(2), 981–1003. https://doi.org/10.1007/s11144-023-02395-y

European Parliment. (2021). The impact of textile production and waste on the environment (infographics). European Parliament. https://www.europarl.europa.eu/news/en/headlines/priorities/circular-economy/20201208STO93327/the-impact-of-textile-production-and-waste-on-the-environment-infographic

Garcia-segura, S., Eiband, M. M. S. G., De, J. V., & Martínez-huitle, C. A. (2017). Electrocoagulation and advanced electrocoagulation processes: A general review about the fundamentals, emerging applications and its association with other technologies. Journal of Electroanalytical Chemistry. https://doi.org/10.1016/j.jelechem.2017.07.047

Gasmi, A., Ibrahimi, S., Elboughdiri, N., Tekaya, M. A., Ghernaout, D., Hannachi, A., Mesloub, A., Ayadi, B., & Kolsi, L. (2022). Comparative Study of Chemical Coagulation and Electrocoagulation for the Treatment of Real Textile Wastewater: Optimization and Operating Cost Estimation. ACS Omega, 7, 22456–22476. https://doi.org/10.1021/acsomega.2c01652

Ghasem, N., Marzouqi, M. Al, & Nihmiya, A. R. (2016). Removal of cadmium from industrial wastewater using water-soluble polymer via hollow fiber membranes. International Journal of Petrochemical Science & Engineering Research, 1(4), 88–90. https://doi.org/10.15406/ipcse.2016.01.00016

Gholami Shirkoohi, M., Tyagi, R. D., Vanrolleghem, P. A., & Drogui, P. (2022). A comparison of artificial intelligence models for predicting phosphate removal efficiency from wastewater using the electrocoagulation process. Digital Chemical Engineering, 4(June), 100043. https://doi.org/10.1016/j.dche.2022.100043

Ghosh, S., Kunnoth, B., Pilli, S., Rao, P. V., & Dayal, R. (2024). Novel hybrid system for organic matter removal and energy production from dairy and textile wastewaters : anaerobic digestion and electrocoagulation approach. Biomass Conversion and Biorefinery, 0123456789. https://doi.org/10.1007/s13399-024-05420-9

Gonçalves, M. V. B., De Oliveira, S. C., Abreu, B. M. P. N., Guerra, E. M., & Cestarolli, D. T. (2016). Electrocoagulation/electroflotation Process Applied to Decolourization of a Solution Containing the Dye Yellow Sirius K-CF. International Journal of Electrochemical Science, 11(9), 7576–7583. https://doi.org/10.20964/2016.09.42

Guillermo, H., Pacheco, J., Yamelit, N., Elguera, M., Douglas, H., Sarka, Q., Ancco, M., Ivon, K., Eguiluz, B., Richard, G., & Banda, S. (2022). Box ‑ Behnken Response Surface Design for Modeling and Optimization of Electrocoagulation for Treating Real Textile wastewater. International Journal of Environmental Research, 16(4), 1–12. https://doi.org/10.1007/s41742-022-00419-4

Houssini, N. S., Essadki, A., & Elqars, E. (2021). Removal of reactive blue and disperse red dyes from synthetic textile effluent by electrocoagulation process using Al – Al and Fe – Fe electrodes : parametric optimization by response surface methodology. Desalination and Water Treatment, 223, 363–379. https://doi.org/10.5004/dwt.2021.27111

Huang, X., Zeng, Y., Fu, H., Zhong, L., Qi, B., Chen, D., Yu, J., Zhang, P., & Soo, S. (2025). Simultaneous removal of phosphorus , chromium ( VI ), and antimony ( V ) from textile dye wastewater by electrocoagulation. Journal of Hazardous Materials, 488(November 2024), 137409. https://doi.org/10.1016/j.jhazmat.2025.137409

Hussain, S., Yaqub, A., Ahmad, Z., & Khan, R. (2023). Electrocoagulation of Reactive Orange 16 Textile Dye Solution Using Steel , Aluminum , and Copper Metal Plates as Electrodes. Surface Engineering and Applied Electrochemistry, 59(5), 661–669. https://doi.org/10.3103/S1068375523050095

Ibrahim, M. S., Abbas, S. H., & Al-Shami, A. (2023). Taguchi approach for electrocoagulation for treatment of methyl red dye from textile wastewater by using different connection electrodes. Desalination and Water Treatment, 297, 240–253. https://doi.org/10.5004/dwt.2023.29614

Isawi, H., Sadik, M. A., & Nasr, F. A. (2024). Combined electrocoagulation/flotation technique and membrane desalination for textile wastewater reuse. Journal of Environmental Chemical Engineering, 12(5), 113661. https://doi.org/10.1016/j.jece.2024.113661

Javed, F., Tariq, M. F., Ikhlaq, A., Munir, H. M. S., & Altaee, A. (2025). Remediation of textile wastewater by hybrid technique using ZIF-67 catalyzed ozonation coupled with electrocoagulation. Journal of Water Process Engineering, 69(November 2024), 106604. https://doi.org/10.1016/j.jwpe.2024.106604

Jegathambal, P., & Gafoor, A. (2021). Two-stage hybrid electrocoagulation – adsorption in the removal of disperse dyes and inorganic salts from the textile dyeing effluent. Desalination and Water Treatment, 237, 251–258. https://doi.org/10.5004/dwt.2021.27685

Jegathambal, P., Mayilswamy, C., & Parameswari, K. (2024). Reuse and Recovery of Water from Industrial Textile Dyeing Effluent Using High-Performance Electrodes Continuous Flow Electrocoagulation Reactor.

Jiang, J. Q. (2015). The role of coagulation in water treatment. Current Opinion in Chemical Engineering, 8, 36–44. https://doi.org/10.1016/j.coche.2015.01.008

Jo, S., Kadam, R., Jang, H., Seo, D., & Park, J. (2024). Recent Advances in Wastewater Electrocoagulation Technologies: Beyond Chemical Coagulation. Energies, 17(23). https://doi.org/10.3390/en17235863

Kalia, S., Dalvi, V., Nair, V. K., Samuchiwal, S., & Malik, A. (2023). Hybrid electrocoagulation and laccase mediated treatment for efficient decolorization of effluent generated from textile industries. Environmental Research, 228(November 2022), 115868. https://doi.org/10.1016/j.envres.2023.115868

Karthikeyan, M., & Vijayachitra, S. (2021). A novel experimental study and analysis of electrocoagulation process for textile wastewater treatment using various sensors with integration of IoT monitoring system. Journal of New Materials for Electrochemical Systems, 24(2), 95–102. https://doi.org/10.14447/jnmes.v24i2.a06

Lach, C. E., Pauli, C. S., Coan, A. S., Simionatto, E. L., & Koslowski, L. A. D. (2022). Investigating the process of electrocoagulation in the removal of azo dye from synthetic textile effluents and the effects of acute toxicity on Daphnia magna test organisms. Journal of Water Process Engineering, 45(November 2021). https://doi.org/10.1016/j.jwpe.2021.102485

Lamhar, R., Kambuyi, T. N., Kherbeche, A., Zmirli, Z., Bejjany, B., Aguelmous, A., Digua, K., & Dani, A. (2025). Foam investigation and optimization by response surface methodology of electrocoagulation process for textile wastewater decolorization in single-channel reactor. Chemical Engineering Research and Design, 213, 52–65. https://doi.org/10.1016/j.cherd.2024.11.019

Lamhar, R., Ntambwe, T., Bejjany, B., Kherbeche, A., Digua, K., & Dani, A. (2024). Electrocoagulation for the decolorization of textile wastewater in single-channel reactor : Response surface methodology for optimization and a novel model exploitation. Journal of Cleaner Production, 450(March), 141900. https://doi.org/10.1016/j.jclepro.2024.141900

Lepage, G., Perrier, G., Merlin, G., Aryal, N., & Dominguez-Benetton, X. (2014). Multifactorial evaluation of the electrochemical response of a microbial fuel cell. RSC Adv., 4(45), 23815–23825. https://doi.org/10.1039/C4RA03879G

Maman, R. De, Behling, L., Conrado, V., Dervanoski, A., Dalla, C., Gean, R., & Leal, D. (2022). Oxidation of Textile Dye Through Electrocoagulation Process Using Scrap Iron Electrodes. Water, Air, & Soil Pollution, 233, 90. https://doi.org/10.1007/s11270-022-05564-2

Maman, R. De, Conrado, V., Behling, L., Dervanoski, A., & Dalla, C. (2022). Electrocoagulation applied for textile wastewater oxidation using iron slag as electrodes. Environmental Science and Pollution Research, 200, 31713–31722. https://doi.org/10.1007/s11356-021-18456-5

Manikandan, S., & Saraswathi, R. (2023). Textile dye effluent treatment using advanced sono-electrocoagulation techniques: A Taguchi and particle swarm optimization modeling approach. Energy Sources, Part A: Recovery, Utilization and Environmental Effects, 45(2), 4501–4519. https://doi.org/10.1080/15567036.2023.2205356

Martín-domínguez, A., Rivera-huerta, M. D. L., & Alarcón-herrera, M. T. (2022). Color and dissolved organic carbon removal from textile industry wastewater through oxidation and electrocoagulation. Desalination and Water Treatment, 276, 116–123. https://doi.org/10.5004/dwt.2022.28956

Martínez, V., Rosales, F., Amaya, K., Campos, A., Libertad, L., & Salvador, E. (2024). Effect of High-Rate Aeration in the Electrocoagulation Treatment of Pharmaceutical and Synthetic Textile Industrial Wastewater Effluents.

Moazeni, K., Mirzaei, M., Baghdadi, M., & Torabian, A. (2023). Sequential Treatment of Textile Industry Wastewater Using Electrocoagulation and Photo electro-Fenton Processes. Water, Air, and Soil Pollution, 234(7), 1–17. https://doi.org/10.1007/s11270-023-06406-5

Mollah, M. Y. A., Schennach, R., Parga, J. R., & Cocke, D. L. (2001). Electrocoagulation (EC) — science and applications. Journal of Hazardous Materials B84, 29, 227–237. https://doi.org/10.1007/978-3-031-48228-1_15

Navin, P. K., & Mathur, M. (2018). Textile Wastewater Treatment: A Critical Review. International Journal of Engineering Research & Technology (IJERT), 6(11), 1–7. https://doi.org/10.17577/IJERTCONV6IS11015

Omwene, P. I., & Keyikoğlu, O. T. C. U. M. Ö. R. (2023). Investigating the removal efficiency of different textile dye classes from wastewater by electrocoagulation using aluminum electrodes. 13009–13020. https://doi.org/10.1007/s13762-023-04841-9

Pacheco, H. G. J., Elguera, N. Y. M., Mamani, M. R. A., Alvarez, N. P. L., & Almeida, V. de C. (2023). Treatment of textile wastewater by electrocoagulation process assisted with biocoagulant obtained from the pitahaya peels. Desalination and Water Treatment, 283, 1–10. https://doi.org/10.5004/dwt.2023.29186

Sajath, S. H. M., Nihmiya, A., & Arachchige, U. (2022). Handling the Sludge When Using Polyaluminum Chloride as a Coagulant in the Potable Water Treatment Process. Nature Environment & Pollution Technology, 21(2), 617–624. https://doi.org/10.46488/NEPT.2022.v21i02.020

Selvaraj, D., & Arivazhagan, M. (2024). An Integrated (Electrocoagulation and Adsorption) Approach for the Treatment of Textile Industrial Wastewater: RSM and ANN Based Optimization. Water, Air, and Soil Pollution, 235(1), 1–16. https://doi.org/10.1007/s11270-023-06840-5

Senthil Kumar, P., & Saravanan, A. (2017). Sustainable wastewater treatments in textile sector. Sustainable Fibres and Textiles, 323–346. https://doi.org/10.1016/B978-0-08-102041-8.00011-1

Silva, J. A. (2023). Wastewater Treatment and Reuse for Sustainable Water Resources Management: A Systematic Literature Review. Sustainability (Switzerland), 15(14). https://doi.org/10.3390/su151410940

Sinna Lebbe, S., Abdul Rahim, N., Aryal, N., Arachchige, U. S. P. R., & Koliyabandara, P. A. (2026). Sustainable Chemistry for the Environment Electrocoagulation in textile wastewater treatment : Amaranth azo dye removal. Sustainable Chemistry for the Environment, 14(March), 100323. https://doi.org/10.1016/j.scenv.2026.100323

Somasundaram, G., Thavamani, T., & Thangavelu, S. (2024). Integration of sequential electrocoagulation and adsorption for effective removal of colour and total organic carbon in textile effluents and its utilization for seed germination and irrigation. Environmental Science and Pollution Research, 31(21), 30716–30734. https://doi.org/10.1007/s11356-024-33143-x

Sugha, A., Gilhotra, V., & Singh, M. (2025). Electrocoagulation and Anodic Oxidation for the Treatment of Commercial Dyes and Real Textile Effluent : Meta ‑ analysis for Optimal Operating Conditions. Water Conservation Science and Engineering. https://doi.org/10.1007/s41101-024-00331-2

Tanveer, R., Yasar, A., Tabinda, A. ul B., Ikhlaq, A., Nissar, H., & Nizami, A. S. (2022). Comparison of ozonation, Fenton, and photo-Fenton processes for the treatment of textile dye-bath effluents integrated with electrocoagulation. Journal of Water Process Engineering, 46, 102547. https://doi.org/10.1016/j.jwpe.2021.102547

Tanyol, M., Yildirim, N. C., & Alparslan, D. (2021). Electrocoagulation induced treatment of indigo carmine textile dye in an aqueous medium : the effect of process variables on efficiency evaluated using biochemical response of Gammarus pulex. Environmental Science and Pollution Research, 28, 55315–55329.

Thiago, L., Oliveira, D., Pereira, J., Lopes, A. F., Costa, S., Fares, E., Neto, A., Sales, S., Vieira, T., & Belmino, F. (2024). International Journal of Hydrogen Energy Electrocoagulation cell for the production of hydrogen without carbon emission and simultaneous treatment of textile wastewater. 64(January), 906–913. https://doi.org/10.1016/j.ijhydene.2024.03.310

Thombre, N., Patil, P., Yadav, A., & Patwardhan, A. (2025). A short review on water management and reuse in textile industry – a sustainable approach. Discover Water, 5(1). https://doi.org/10.1007/s43832-025-00215-z

Van Woensel, L., & Lipp, S. S. (2020). What if fashion were good for the planet? (Issue September). https://epthinktank.eu/2020/09/11/what-if-fashion-were-good-for-the-planet-science-and-technology-podcast/%0Ahttps://www.europarl.europa.eu/RegData/etudes/ATAG/2020/656296/EPRS_ATA(2020)656296_EN.pdf

Yáñez-Ángeles, M. J., González-Nava, V. J., Castro-Fernández, J. A., García-Estrada, R., Espejel-Ayala, F., Reyes-Vidal, Y., Rivera-Iturbe, F. F., Cárdenas, J., & Bustos, E. (2025). Textile-washing wastewater treatment using ozonolysis, electro-coagulation, and electro-oxidation. Electrochimica Acta, 512, 145473. https://doi.org/10.1016/J.ELECTACTA.2024.145473

Yazdandoust, M., Ehrampoush, M. H., & Dalvand, A. (2024). Moringa oleifera seed extract assisted electrocoagulation process for efficient direct dye removal from textile wastewater: Modelling, optimisation and techno-economic study. International Journal of Environmental Analytical Chemistry, 104(11), 2485–2505. https://doi.org/10.1080/03067319.2022.2062240