PEEK – Forging A New Path In The Dentistry- A Narrative Review

Abstract:

Prosthodontics is versatile branch which uses various types of materials; among which Poly ether ether ketone (Peek) is the revolutionized material that has greater biocompatibility. Poly ether ether ketone materials and its modifications led to diverse use which include removable /  fixed prosthesis, implants, crowns,  maxillofacial prosthesis. Peek materials are also used in medical applications - includes spinal implants, for lumbar cage fusions etc. Despite expensive and require 5 axial milling machines for processing; its esthetics & biocompatibility led to its greater usage in recent times. Peek materials are 1. Nontoxic 2. Nonmutagenic 3. Noncarcinogenic 4. Nonimmunogenic making it the most biocompatible material. In order to uplift properties, surface modifications are done on peek materials. Peek reinforcements like carbon reinforced peek improved elastic modulus of peek materials. The modifications, surface treatments led to better outcome with greater physical and mechanical properties of peek improving diverse application in medical, dental fields.

Key words: Biocompatible, Aesthetics, Modulus of elasticity, Bioinert, Tensile strength.

Introduction:

Prosthodontics, generally deals with numerous inter disciplinary approaches and treatment modalities which include Complete dentures, Removable partial dentures, Cast Partial Dentures, Fixed Partial dentures, Implants, Maxillofacial Prosthesis and Splints. For treating such wide variety of cases, different types of materials needs to be selected according to the treatment protocol and techniques employed. Biocompatibility is the primary requirement for the materials that were frequently used intra-orally for restorative operations, followed by mechanical and physical qualities that provide adequate function and structural durability over extended periods of time.  (Anusavice, Shen et al.2013).[1] While treating intra orally parameters like elastic modulus, tensile strength, and low plaque affinity are also to be considered.

Poly Methyl Methacrylate, or PMMA, is frequently utilized in prosthetic dentistry applications, such as the creation of artificial teeth, denture bases, dentures, and dental prosthesis maintenance. It is inexpensive and simple to utilize in the lab and in clinical settings. It continues to be the most common used material for the fabrication of prosthesis (Rahme, Tehini et al. 2005) .[2] These dentures are more prone to fracture during use or when they are dropped against hard surfaces or in Single complete denture cases. These cracks are caused by impact or flexural fatigue, (Vallittu 1997)[3] which are typically connected to the material's characteristics and/or the framework's structural integrity. (Rudd and Rudd 2001 - Part I, II & III).[4,5,6] PMMA is biocompatible with the oral tissues; nevertheless, Skin and oral mucosa may suffer negative consequences from self-curing PMMA monomers. (Silviu Mirel Pituru, Maria Greabu, et al 2020).[7]

Cobalt-chrome metal alloy has a very high specific strength and is commonly used in fixed prosthesis, dental implants & orthopedic implants. It causes modest degrees of irritation and sensitization, reducing the likelihood of allergic responses. (Kassapidou, M, Stenport V.F, Hjalmarsson 2017).[8] The most prevalent symptoms were soreness, burning feeling in the mucosa, dry mouth, and redness. In a few cases, Co-Cr dental treatments were shown to cause contact dermatitis and palmoplantar pustulosis. (Brigitte G, Alina V, Rémy G 2022).[9]

Since Branemark's experiments, titanium and its alloys have been the preferred materials for dental implant systems (Schwitalla and W.D. Muller 2013).[10]Nevertheless, titanium-based implant-supported prostheses are also prone to corrosion when exposed to the oral environment. This results in the release of ions and particles, triggering inflammatory responses surrounding the peri-implant tissues. (J. C. M. Souza 2015).[11] In addition, there is a mismatch between elastic modulus (E) and bone tissue. (J. C. M. Souza 2015, J. R. Sarot, C. M. M. Contar 2010).[11] Research has revealed that casting processes have a significant impact on the degree of contaminated zone, yield strength, and percentage elongation of titanium casting. (Freitag L, Schafföner S, Lippert N 2017).[12]According to studies, titanium alloys emit very little titanium. The risk of titanium allergy is considerable for a patient having a history of an allergic response. ( Soni R, Sharma N, Bhatnagar A 2016).[13]

To overcome the shortcomings of the above materials, it led to further innovation of the newer material to meet requirements of oral cavity and should be biocompatible; such as Poly Ether Ketone (PEEK).Polyether ether ketone (PEEK) was first invented by DuPont (USA), and is derived from the family (PAEK) Poly Aryl Ether Ketone which is an aromatic, thermoplastic biomaterial and semicrystalline in nature with a chemical formula of (-C6H4-O-C6H4-O-CH2-CO-) n. (Figure 1). PEEK is used broadly in several medical treatments like in Spinal Implants (PEEK Hand Book Chapter13).[14] in trauma, Arthroscopy, and Cranial Defect Repair (PEEK Hand Book Chapter15).[15] Late recently, the usage of PEEK Materials has been introduced into the field of dentistry replacing all the conventional materials and their shortcomings. PEEK in Dentistry can be utilised for different components of implants like abutments, FPD’S; RPD’S and components replacing the ceramic materials and different kinds of metals. (Gediminas Skirbutis, Agnė Dzingute).[16]

PEEK also has its own drawbacks like other materials; unmodified PEEK implants survival is questionable due to its compromised biocompatibility. Improper osseoconductivity and bioactivity of the dental implant can cause severe implantitis and failure. To overcome this disadvantage, few surface modifications are done to PEEK in order to improve its biocompatibility.

Chemical structure & crystallinity of peek:

PEEK was created from bisphenol salts and aromatic dihalides by nucleophilic substitutionPEEK's molecular chain does not remain static; it vibrates and spins in reaction to heat energy and external strain. The presence of aromatic(benzene) rings throughout its backbone, make it relatively stiff; yet, the molecule has the freedom to spin axially about the ether (e-e) bonds and ketone-carbon bonds (-CO-). It is bi-phased semicrystalline polymer with an amorphous and crystalline phase (Figure 2). Injection molded PEEK crystallinity in implants generally ranges between 30 and 35%.

PEEK (UNFILLED)

- Also called Virgin PEEK.

- Abrasion resistant, highest elongation and hardness.

- Available in sheet and rod shapes.

- It is used for aesthetics & seal components with high of ductility and inertness.

PEEK (Bearing Grade, Ketron HPV)

- Low friction, wear, and ease of machining in a single material.

- The colour is black or dark grey.

PEEK (30% GLASS FILLED)

- It reduces PEEK's expansion rate & increased flexural modulus.

- The colour is pale brown or tan.

PEEK (30% CARBON FILLED)

- Improved compressive strength & stiffness & lowers its expansion rate.

- It has 312 times thermal conductivity of unreinforced PEEK

- The colour is black.

Classification of peek:                    Grades (Boedeker Plastics)[17]

PEEK biomaterials are now known as OPTIMA, a brand name derived from their molecular weight, which influences their melt flow properties.

•LT1: Standard grade. 
• LT2: Optimized for melt strength and viscosity, ideal for tubing

• LT3: High-flow grade for injection molding thin-walled products.

Synthesis and manufacturing of peek:

Medical grade PEEK polymers are manufactured using typical plastic manufacturing techniques, they melt at roughly 340℃.Depending on the processing procedure, PEEK-OPTIMA materials can have a variety of viscosities.

PEEK OPTIMA LT1 is recommended for the majority of medical device component machining and injection molding applications. PEEK OPTIMA LT2 has a high melting strength and low viscosity, making it ideal for extruding thin-walled items like tubing.  PEEK OPTIMA LT3 is particularly well suited to the injection moulding of thin-walled components.

As Injection moulding is not economically feasible, Compression moulding or machining PEEK-OPTIMA polymer materials is commonly done. It is also used to process and finish PEEK-OPTIMA polymer. However, carbide or diamond-tipped tools and bits are recommended due to the superior physical features and wear characteristics.

Biocompatibility of peek:

Biological performance of materials refers to the relationship amongst materials and biological systems, which essentially involves host and material reaction. The biomaterial should not be 1. Toxic 2. Mutagenic 3. Carcinogenic and 4. Immunogenic. In 2002, Katzer et al. tested PEEK for cytotoxicity and mutagenicity using two different methods: S. typhimurium (Ames Test) and mammalian cells (Chinese hamster fibroblasts, V-79). The findings of incubating polyetheretherketone (PEEK) fiber material with seven distinct genotype variations of Salmonella typhimurium bacteria revealed that the test material had no mutagenic or cytotoxic effect.

Jockish et al. implanted PEEK(Victrex 450G) and 30% CFR-PEEK (Victrex 450CA30)  cylinders (3 mm diameter, 10 mm length) into rabbits' paravertebral muscles according to ASTM F981. At 8 weeks, half of the rabbits were put down and the PEEK implants were removed; at 12 weeks, the other half were put to death and the implants were removed. Normal muscle tissue with no adverse tissue reaction, no evident infection, few PEEK particles, and a minor chronic inflammatory response with macrophages and foreign body giant cells were discovered histopathologically according to ASTM F981. Eosinophils, lymphocytes, and plasma cells were not often observed (KA JOCKISH).[18]

PEEK biomaterials are not bioactive; nonetheless, direct bone contact with PEEK implants has previously been established using PEEK spinal interbody cylindrical implants (JM. Toth)[19] (Figure 3). In the ovine lumbar region approach, histological fusion (continuous cranial to caudal bone development) occurred within the through-growth zone of a PEEK interbody spinal fusion device.

Properties of peek:

- PEEK has tensile qualities similar to enamel and dentin, making it a viable option for prosthodontic restorations.

- PEEK has good fatigue resistant & exhibit low creep rate.

- PEEK's chemical resistance reduces biocorrosion, preventing the generation of hazardous byproducts.

- It is highly resistant to gamma and electron radiation, commonly used for sterilizing medical equipment.

- Its bioinert and hydrophobic properties limited its ability to directly touch bone. (Ludan Qin, Shuo Yao et al 2021).[20]

The impact of increasing crystallinity on different polymer characteristics (Becker et al. 1998).[21] (Table.1)

Table.1

| Properties that increase’s | Properties that decrease’s |
| --- | --- |
| Dimensional Stability | Tendency to Creep |
| Yield strength | Thermal Expansion |
| Elastic modulus | Elongation |
| Density | Impact Strength |

PEEK is utilized in implant superstructures, abutments, and fixtures. The Young's modulus of pure PEEK material is 3.6 GPa, whereas carbon-reinforced PEEK (CFR-PEEK) is around 18 GPa and glass fiber-reinforced PEEK (GFR-PEEK) is 12 GPa. PEEK has a Young's modulus close to the cortical bone, hence it displays stress shielding less than the Ti material.  (Lee WT, Koak JY, 2012).[22] (Zhang M, Matinlinna JP 2012).[23]

Comparative studies on properties of various peek materials Table .2

| Author/year | Design of study | Purpose of Study | Subject specimen | Type & no. of implants/ crowns/screws/ abutments | Study summary | Results | Inference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Maowei Zhong et al (2025) [57] | In vitro | impacts of polyetheretherketone (PEEK) surface treatment techniques on resin luting material's shear bond strength (SBS) during artificial aging. | Concentrated sulfuric acid (SA), alumina blasting + primer (ABP), untreated, alumina blasting (AB), & concentrated SA+primer (SAP) |  | A universal testing equipment was used to empirically ascertain each group's SBS score. | The initial bond strengths of ABP and SAP were substantially greater than those of AB and SA, according to the SBS tests. Furthermore, both SBS stayed high (>15 MPa) after 20,000 heat cycles. | When compared to concentrated SA etching or alumina blasting alone, both techniques demonstrated an enhanced initial binding strength to resin luting material after being treated with a primer containing functional monomers. Both treatment techniques are very accurate ways to assess how well the PEEK and resin luting material connect. |
| Gonca Deste G et al(2024) [24] | In vitro | To compare Shear bond strength of Copra PEEK & Bio HPP |  | Frameworks of Copra Peek, P and BioHPP | Shear strength is evaluated between feldspathic ceramic, hybrid nano ceramic & polymer-infiltrated ceramic blocks cemented to PEEK. | Greater shear strength is found in Bio HPP with feldspathic ceramic | Even though felspathic ceramic with PEEK has greater shear strength, there is no significant difference as framework material. |
| Andreas Wiessner et al. (2023)[25] | In Vivo | Formation of biofilm on PEEK , titanium & Zirconia implants | Split specimens | PEEK, Titanium & Zirconia | Accumulation of biofilm on abutment is assessed by fluorescence microscopy | Zirconia as abutments showed least biofilm formation | Type of abutment material must be specific to reduce peri-implantitis & implant failure. |
| Zilin Zhang et al (2023)[26] | In vitro | Immune response following PEEK implantation; strategies to enhance anti-inflammatory efficacy. |  | PEEK, modified PEEK | Improving via medication delivery methods, surface chemical modification, and surface porous treatment. | Growth of fibrous tissue around implant site- leading to failure. | Developing technological techniques is critical in avoiding the creation of fibrous wrapping following implantation. |
| Hao Yu et al(2022) [27] | In vitro | Biomechanical properties of prefabricated post made of PEEK and titanium. | Finite element analysis | PEEK, Titanium | Stress & strain of CFR-PEEK & Pure PEEK post is compared | Reduced post -core interfaces of stress but strain of CFR-PEEK is similar to dentine. | As CFR-PEEK strain is similar to dentine it is used as post material in larger tooth defects. |
| Bankole I. O et al (2021)[28] | In Vitro | To increase bio interfaces of PEEK & cHAP |  | PEEK, cellular calcium hydroxyapatite (CHAp) | Interfacial biological macromolecular cellular investigations of CHAp implanted in PEEK are evaluated. | PEEK & CHAp is used to repair & replace bone to enhance strength. | The study of cellular interfaces in hybrid cell and bone composites has an enormous opportunity for advancing biomaterial development. |
| Lakshmana et al (2019)[29] | In vitro | Superior mechanical properties with different uses. |  | PEEK, modified PEEK | Mechanical properties, advantages, modifications & different uses. | PEEK-based CAD/CAM temporary crowns provide a superior marginal fit and good fracture strength. PEEK and CFR-PEEK have improved osseointegration. | Modified PEEK materials have superior qualities than unmodified PEEK. Because of its elastic modulus, strength, rigidity, and lightweight properties, PEEK uses are not restricted to implant materials. |
| Zhang et al (2018)[30] | Invitro & In vivo | To promote cell responses, a composite covering with lithium doped silica nanospheres (LSNs) was used. | Simulated bodily fluid (SBF), rBMSCs | LSNs along with PDA treated polyetheretherketone (PK) surfaces (LPPK) | The effects of an LSNs composite (LPC) covering on the biological characteristics of LPPK were investigated. | LPPK greatly enhanced bone tissue responses. | LPPK would be a excellent material for applications of dental implants. |
| Schwitalla et al (2018)[31] | In-vitro | Calculating the insertion torque (IT) of a unique implant abutment interface design |  | n = ten unfilled PEEK, ten CFRPEEK, and ten Ti. | The average IT of the implant is calculated to establish its appropriateness for immediate loading. | IT Ti (92.6 2.3 Ncm) outperformed unfilled PEEK (22.6 0.5 Ncm) & CFR-PEEK (20.2 2.5 Ncm). | PEEK and CFRPEEK implants cannot sustain the insertion force required to establish primary stability for instant loading and a two-stage operation. |
| Kaleli et al (2018)[32] | In-vitro | The biomechanical behavior of various abutments in terms of stress distribution in implants & peripheral bone is assessed. | 3-D models with bone-level implant systems | Translucent zirconia (TZI), lithium disilicate glass ceramic (IPS), polymer-infiltrated hybrid ceramic (VTE), and bespoke PEEK and zirconia abutments. | Load of implants both vertically, obliquely, & also distribution of stress was assessed. | VTE crowns demonstrated minimal stress levels. Compared to PEEK abutment, zirconia demonstrated greater stress values. | All models revealed similar stress distributions in the implant and peripheral bone. Changes in restoration and tailored abutment material had no effect on stress distribution in the implant or peripheral bone. |
| Kumar et al (2017)[33] | In-vitro | Compare and measure the bone-promoting ability of various PEEK materials. | Human osteosarcoma cells | n = ten untreated PEEK, ten TiO2-coated PEEK, and ten TiO2-blended PEEK. | The samples were examined for the cytotoxicity and the alkaline phosphatase (ALP) activity so as to assess and characterize the bone mineralization | Variations were discovered in the matrix prior to and subsequent to cell attachment. | n-TiO2-coated PEEK was the preferred biomaterial in implant dentistry, subsequent to n-TiO2-blended PEEK and untreated PEEK. |
| Sampaio et al (2016)[34] | In-vitro | Studied the abrasive resistance to wear of PEEK and Ti6Al4V. | Cylindrical models | Ti6Al4V and PEEK cylinder | Microscale abrasion experiments were done using varying weight percentages of hydrated silica, and wear patterns were measured. | PEEK showed a higher volume loss rate compared to Ti6Al4V. | PEEK was found to have less wear resistance than Ti6Al4V |

Modifications of peek:

PEEK is a biocompatible and bioinert material, thus numerous modifications have been tried in order to render it more osteoconductive. To make PEEK bioactive, its surface has to be changed through a variety of procedures.

There are several ways in which polymer surfaces can be modified for biomedical applications which include: Physical treatments & Chemical treatments (Table.3), Plasma spraying, Acid etching, Spin coating Chemical modification, and Ultraviolet irradiation. Nanoparticles like titanium oxide, hydroxyapatite and hydroxyfluoroappatite can be coated on the surface of PEEK.

Table.3

| Modifications on surface | Methods | Material |
| --- | --- | --- |
| Coating over surface | Plasma spraying Spin coating EBE PIII | HA, Ti Surfactants, organic solvents, an aqueous solution of Ca(No3)2 & H3 P04 Ti, Silicate TiO2, Calcium, H2O, and Argon are all present in nanosized HA crystals. |
| Surface Topographical modifications | Acid etching Sand blasting | Sulfuric acid TiO2, Alumina, (Al2O)3 |
| Chemical Modifications | Sulfonation Amination Nitration | Sulfonate groups (-SO3-) Amine functions Nitrate functions |
| Incorporating with bio active properties | Bioactive inorganic materials | Nano – TiO3, nanofluorohydroxyappetite |
| Improving Hydrophilicity | UV Irradiation Plasma Gas treatment | UV – A Light, UV – C Light Oxygen Plasma |

Peek reinforcements:

PEEK has a lower elastic modulus than cortical bone, titanium dioxide, and ceramic materials. Several reinforced PEEK composites, including Carbon Fibre Reinforced PEEK (CFR-PEEK) and Glass Fibre Reinforced PEEK (GFR-PEEK), have been produced; the elastic modulus of CFR-PEEK and GFR-PEEK may reach 18 GPa.

Due to its versatility, compatibility with modern imaging methods, mechanical properties, and biocompatibility, Carbon Fibre Reinforced PEEK (CFR-PEEK) has been the interest of the medical implant community (A.D. Schwitalla )[35], (Najeeb)[36].

PEEK can be changed at the nanometre level in a variety of ways to improve its bioactivity. Melt-blending can integrate nanomaterials like TiO2, HAF, and HAP with PEEK to form bioactive nanocomposites with improved tensile characteristics.

Applications of peek:

Medical applications:

- PEEK has now become the material of choice for maxillofacial and Cranial reconstructions.

- Availability of PEEK biomaterials, its radiolucency, and biomechanical performance in spinal fusion applications has sparked interest in its use in posterior dynamic stabilisation devices.

- PEEK optima LT1 material has been used in heart sutrgeries. (Bezuidenhout)[37]

- PEEK, as a thermoplastic, material that overcomes the limits of thermosetting polymers by allowing it to be moulded to the anatomy of the patient in the operating room (SM Kurtz).[38]

- Other various applications of PEEK in spinal implants Includes:

PEEK Rods were created for both fusion and non-fusion applications.

Threaded PEEK – For Lumbar Fusion Cages

Interspinous process spacers

PEEK Anchors

Dental applications:

PEEK was successful as biological material in medicine; its implementation in dentistry involves superior biological compatibility and other biomechanical and cosmetic qualities. Different surface changes have enabled PEEK to connect with a variety of luting agents.

PEEK has tensile qualities equivalent to bone, enamel, and dentin, making it an ideal tooth restorative material. With strong biocompatibility and the previously mentioned qualities, PEEK is effectively employed in dentistry as implants, frames for detachable and fixed prostheses. (Najeeb S).[36]

Peek as a complete / removable prosthesis material:

PEEK computer-aided design and Computer-Aided Manufacture (CAD-CAM) technologies may be utilized to construct dentures (Kurtz SM)[38] due to its low weight and remarkable biologic, cosmetic, and mechanical properties. (Veena B Benakatti)[39]

Tannous et al. found that PEEK denture clasps have lower retentive forces than Co-Cr clasps. (Tannous F).[40]The fabrication of a detachable obturator (Costa-Palau)[41] is another application of PEEK.

Framework for FPD’S:

To achieve aesthetics, PEEK needs to be laminated with composite materials because it is opaque. Sandblasting, Rocatec process, sulfuric acid surface etching, and piranha solution are some of the surface treatments available. (Schwitalla AD)[35], (Keul C) .[42]

A recent approach of surface modification is using plasma, which eliminates organic residues, micro-etches the surface, and facilitates cross-linking and surface activation.

Surface modification is examined using various luting agents, multifunctional methacrylate-containing resin varnish on air-abraded PEEK surfaces; generates a promising and permanent binding to PEEK; hence, PEEK may be recommended for clinical usage(Stawarczyk)[43], (Kern M) .[44]

PEEK CAD-CAM milled fixed partial dentures:

Compared to typical fixed dentures, CAD-CAM created composites and polymethylmethacrylate (PMMA) fixed dentures have enhanced mechanical properties (AltV, Hannig M) .[45] PEEK is a material that may be used in CAD-CAM technology restorations as a substitution to PMMA(Figure 4).

Three-unit PEEK fixed partial dentures manufactured using CAD-CAM have a higher fracture resistance than pressed granular- or pellet-shaped PEEK dentures(Stawarczyk B, Eichberger M) .[46]

CAD-CAM machined PEEK fixed dentures offer much stronger fracture resistance than lithium disilicate glass-ceramic (950N), alumina (851N) (Beuer F, Steff B)[47], and zirconia (981-1331N). PEEK has comparable abrasion resistance to metallic alloys while having much lower elastic moduli and hardness (Zok F, Miserez A).[48]

Nevertheless, no clinical studies have examined the abrasion generated by PEEK crowns on teeth with the abrasion induced by other materials such as metals and ceramics.

PEEK as an implant material:

Titanium remains the material preference for dental implants due to the positive outcomes observed. It normally has adequate mechanical characteristics and is biocompatible.

Despite several advantages Titanium lacks a number of crucial qualities. Hypersensitivity to materials has been documented with Titanium, Stress shielding and bone resorption are induced by the difference in elastic moduli of titanium and surrounding bone.

PEEK's Youngs modulus is near to that of human bone, therefore it can create good stress and deformations, lowering stress shielding and bone resorption. The elastic moduli of unfilled PEEK are 3-4GPa.

Carbon-fibre reinforced PEEK (CFR-PEEK) implants were found to have less stress shielding than titanium implants in a finite-element analysis (FEA) (Lee W. Koak).[49] Recent FEA investigation by Sarot et al. demonstrates that the stress distribution around PEEK and titanium dental implants is consistent. (Sarot JR).[50]

PEEK implant abutments:

Abutments are produced from a variety of materials, including titanium, gold, zirconium, and ceramics. According to Koutouzis et al randomized, controlled clinical trial (RCT), there is no substantial difference in bone resorption and soft tissue inflammation between PEEK and titanium abutments.(Koutouzis T).[51] PEEK can help in bone remodeling. As a result, it has been claimed that this material may be a good alternative to titanium in abutment fabrication.

The adhesion of oral microbial flora to PEEK abutments is comparable to titanium, zirconia, and polymethylmethacrylate abutments. (Hahnel, Wieser).[52,53]

In one research, 40% of prosthesis put over PEEK abutments showed no fracture, with only abutment deformation noted.

A tight match between the elastic moduli of the bone and the PEEK surface reduces stress shielding effects and promotes bone remodelling. As a consequence, PEEK might be a feasible alternative to titanium for implant abutments. (Figure 5).

PEEK crowns:

PEEK is seldom utilized as a crown material due to its grayish beige hue and limited cement bond strength.

PEEK crowns made with the CAD/CAM technology did not come off, fracture, or have any notable deleterious effect on the marginal gingiva or impairment in the capacity to masticate after six months after implantation, demonstrating that PEEK is a potential alternative to metal crowns for molars. (Rodríguez V et al. 2021).[54]

PEEK can be employed as a coping material under resin composite PEEK as it may have an advantage of better mechanical properties that are identical to those of dentin and enamel on metal and ceramic restorations.

PEEK used in maxillofacial prosthesis:

Because of its biocompatibility and lightweight nature, PEEK might be employed as a maxillofacial prosthetic obturator. Costa-Paulau reports a clinical case where, in front of a loss of Centro-maxillary substance with sinus communication, a hollow shutter (0.5mm thick) could be designed numerically and machined via a 5-axis milling machine, the PEEK's lack of adhesion to the resin could be bypassed by the creation of a retention box in the shutter followed by micro abrasion by silica particles, the appointments con3firm the good maturation of peri-prosthetic soft tissue, the patient report. (Nidal Elmoutawakkil).[55]

PEEK orthodontic wires:

PEEK orthodontic wires have a better orthodontic strength than other polymers like polyethylene sulfone (PES) and polyvinyl difluoride (PVDF).

Advantages & disadvantages of PEEK: (Tekin et.al)[56]

Benefits include:

1. Aesthetically more attractive

2. Lighter in weight due to less density

3. Not made of metal

4. Bio-inert substance with less irritation and allergic reactions.

5. There is minimal waiting time and ease of processing.

6. According to Kurz.SM PEEK Bio Materials, it exhibits resilience to degradation under different sterilisation techniques

7. Over 280°C is the melting point. As such, heat sterilisation techniques can be applied to it.

8. It has a strong resistance to wear from chemicals.

Disadvantages:

- Expensive.

- Chemical processing is difficult because to the low surface energy.

- Processing requires specific machines (e.g., 5 axial milling machines).

Conclusion:

PEEK although having several drawbacks, it had crossed the several disadvantages of the former materials and properties that are used in several rehabilitation purposes like metal frame works in cast partial dentures, metal copings in fixed partial dentures and implant fixtures and other rehabilitation in maxillofacial prosthesis. Few more studies are yet to be done as to clearly demarcate the superior properties of PEEK over the conventional materials.  PEEK now being commonly used material in dentistry will be the innovative material as well as game changer in the prosthetic rehabilitative purposes in the next coming few decades.

References:

- Anusavice KJ. In: Anusavice KJ, editor. Phillips’ science of dental materials. 11th ed. St. Louis: Saunders Co; 2003. p. 655-719.

- Meng TR, Latta MA. Physical Properties of Four Acrylic Denture Base Resins. J Contemp Dent Pract 2005; (6)4: 093-100.

- Vallittu P, Kokkonen K. Deflection fatigue of cobalt-chromium, titanium, and gold alloy cast alloy cast denture clasp. J Prosthet Dent, 1997; 3(19): 265-66.

- Rudd RW, Rudd KD. A review of 243 errors possible during the fabrication of a removable partial denture: part I. J Prosthet Dent, 2001; 86(3): 251-261.

- Rudd RW, Rudd KD. A review of 243 errors possible during the fabrication of a removable partial denture: part II. J Prosthet Dent, 2001; 86(3): 262-276.

- Rudd RW, Rudd KD. A review of 243 errors possible during the fabrication of a removable partial denture: part III. J Prosthet Dent, 2001; 86(3): 277-288.

- Silviu MP, Maria G, Alexandra T et al. A Review on the Biocompatibility of PMMA-Based Dental Materials for Interim Prosthetic Restorations with a Glimpse into Their Modern Manufacturing Techniques. MDPI Materials, 2020; 13:2894.

- Maria K, Victoria FS, Carina BJ et al. Cobalt- Chromium alloys in fixed prosthodontics: Investigations of mechanical properties & microstructure. J Prosthet Dent, 2023; 130(2): 1-10.

- Grosgogeat B, Vaicelyte A, Gauthier R, et al. Toxicological Risks of the Cobalt–Chromium Alloys in Dentistry: A Systematic Review. Materials. 2022; 15(17): 01-58.

- Schwitalla A, Müller W. PEEK dental implants: A review of the literature. J Oral Implantol. 2013; 39: 743-49.

- Sarot JR, Contar CMM, da Cruz ACC, et al. Evaluation of the stress distribution in CFR-PEEK dental implants by the three-dimensional finite element method. J Mater Sci Mater Med 2010; 21(20): 79–85.

- Freitag L, Schafföner S, Lippert N et al. Tensile property improvement in Ti/Al clad sheets fabricated by twin-roll casting and annealing. Metals and Materials International, 2017; 23(4):  805–812.

- Soni R, Sharma N, Bhatnagar A. Titanium corrosion and its allergy in dentistry-a systematic review. J. Scientific Research. 2016; 60: 73-78.

- Kurtz SM. Applications of Polyaryletheretherketone in Spinal Implants. PEEK Biomaterials Handbook.2012; 201–220.

- Lovald S, & Kurtz SM. Applications of Polyetheretherketone in Trauma, Arthroscopy, and Cranial Defect Repair. PEEK Biomaterials Handbook.2012; 243–260.

- Gediminas S, Agnė D, Viltė M, et al. A review of PEEK polymer’s properties and its use in prosthodontics, Stomatologia, Baltic Dental and Maxillofacial Journal, 2017; 19: 19-23.

- Kucklick, T. Introduction to Medical Plastics. The Medical Device R&D Handbook, Second Edition,2012; 3–28.

- Jockish KA, Brown SA ,Bauer TW, et al.  Biological response to chopped - carbon-fibre-reinforced PEEK, J. Biomed. Mater. Res. 1992; 26(2): 133-46.

- Toth JM ,Wang M, Estes BT, et al. Polyetheretherketone as a biomaterial for spinal applications, Biomaterials 2006; 27(3): 24-34.

- Qin L, Yao S, Zhao J, et al. Review on Development and Dental Applications of Polyetheretherketone-Based Biomaterials and Restorations. Materials. 2021; 14(2): 408

- Schwitalla AD, Spintig T, Kallage I, et al. Flexural behaviour of PEEK materials for dental application, 2015; 31(11): 1377-1384.

- Lee WT, Koak JY, Lim YJ, et al . Stress shielding and fatigue limits of poly-ether-ether-ketone dental implants. J Biomed Mater Res  Appl Biomater. 2012; 100: 1044-1052.

- Zhang, Matinlinna M. Glass Fiber Reinforced Composites in Dental Applications. Silicon .2012; 4: 73–78.

- Gonca DG, Seda ÜA. Comparison of the shear bond strengths of two different polyetheretherketone (PEEK) framework materials and CAD–CAM veneer materials. BMC Oral Health 2024; 24: 444.

- Andreas W, Torsten W, Johanna MW, et al. In Vivo Biofilm Formation on Novel PEEK, Titanium, and Zirconia Implant Abutment Materials. Int. J. Mol. Sci. 2023; 24: 17-79.

- Zilin Z , Xingmin Z, Zhi Z. Latest advances: Improving the anti-inflammatory and immunomodulatory properties of PEEK materials. Materials Today Bio, 2023; 100-748.

- Yu H,  Feng Z,  Wang L. Finite Element Study of PEEK Materials Applied in Post-Retained Restorations. Polymers. 2022; 14: 3422.

- Oladapo BI, Zahedi SA, Ismail SO. Assessing 3D printing of Poly(ether-ether-ketone) and cellular cHAp to increase biointerfaces as a biomedical material, Colloids and Surfaces B: Biointerfaces . 2021.

- Lakshmana B, Vaishnavi M, Narendra R.  The role of Polyether Ether Ketone in dentistry- A Review. J Med Life. 2019; 12(1): 5-9.

- Zhang J, Cai L, Wang T, et al. Lithium doped silica nanospheres/poly (dopamine) composite coating on polyetheretherketone to stimulate cell responses, improve bone formation and osseointegration. Nano medicine. 2018; 14: 965-976.

- Schwitalla AD, Zimmermann T, Spintig T, et al. Maximum insertion torque of a novel implant-abutment-interface design for PEEK dental implants. J Mech Behav Biomed Mater. 2018; 77: 85-89.

- Kaleli N, Sarac D, Külünk S, et al. Effect of different restorative crown and customized abutment materials on stress distribution in single implants and peripheral bone: A three dimensional finite element analysis study. J Prosthet Dent. 2018; 119: 437-445.

- Kumar TA, Jei JB, Muthukumar B. Comparison of osteogenic potential of poly-ether-ether-ketone with titanium-coated polyetherether-ketone and titanium-blended poly-ether-etherketone: an in vitro study. J Indian Prosthodont Soc. 2017;17: 167-174.

- Sampaio M, Buciumeanu M, Henriques B, et al. Comparison between PEEK and Ti6Al4V concerning micro-scale abrasion wear on dental applications. J Mech Behav Biomed Mater. 2016; 60: 212-219.

- Schwitalla AD, Zimmermann T, Spintig T, et al. Maximum insertion torque of a novel implant-abutment-interface design for PEEK dental implants. J Mech Behav Biomed Mater. 2018; 77:  85-89.

- Najeeb S, Zafar MS, Khurshid Z, et al. Applications of polyetheretherketone (PEEK) in oral implantology and prosthodontics. J Prosthod Res 2016; 60: 12-9.

- Bezuidenhout D, Williams DF, Zilla P. Polymeric heart valves for surgical implantation, catheter-based technologies and heart assist devices. Biomaterials. 2015;36: 6–25.

- Kelly CP, Cohen AJ, Yavuzer R, et al. Cranial bone grafting for orbital reconstruction: is it still the best? J Craniofac Surg. 2005;16: 181–5.

- Veena B, Jayashree AS, Aditya A. Polyetheretherketone (PEEK) in Dentistry, Journal of Clinical and Diagnostic Research. 2019; 13(8): 10-12.

- Tannous F, Steiner M, Shahin R, et al. Retentive forces and fatigue resistance of thermoplastic resin clasps. Dental Mater 2012;28: 273–8.

- Costa-Palau S, Torrents-Nicolas J, Brufau-de Barberà M, et al. Use of polyetheretherketone in the fabrication of a maxillary obturator prosthesis: a clinical report. J Prosthet Dent 2014; 112: 680-82.

- Keul C, Liebermann A, Schmidlin PR, et al. Influence of PEEK surface modification on surface properties and bond strength to veneering resin composites. J Adhes Dent . 2014;16: 383-92.

- Stawarczyk B, Jordan P, Schmidlin PR, et al. PEEK surface treatment effects on tensile bond strength to veneering resins. J Prosthet Dent. 2014; 112(12): 78-88.

- Kern M, Lehmann F. Influence of surface conditioning on bonding to polyetheretherketone (PEEK). Dental Mater 2012; 8(12): 80-83.

- Alt V, Hannig M, Wostmann B, et al. Fracture strength of temporary fixed partial dentures: CAD/CAM versus directly fabricated restorations. Dental Mater 2011; 27(3): 39–47.

- Stawarczyk B, Jordan P, Schmidlin PR, et al. PEEK surface treatment effects on tensile bond strength to veneering resins. J Prosthet Dent.2014;112(12): 78-88.

- Beuer F, Steff B, Naumann M, et al. Load-bearing capacity of all ceramic three-unit fixed partial dentures with different computer-aided design (CAD)/computeraided manufacturing (CAM) fabricated framework materials. Eur J Oral Sci 2008; 116: 381–6.

- Zok F, Miserez A. Property maps for abrasion resistance of materials. Acta Mater 2007;  55(63): 65–71.

- Lee W,  Eschbach.K, Non-resorbable polymers in bone surgery, Injury 2000; 31(22):  4-7.

- Sarot JR, Contar CMM, da Cruz ACC, et al. Evaluation of the stress distribution in CFR-PEEK dental implants by the three-dimensional finite element method. J Mater Sci Mater Med 2010; 21(20): 79–85.

- Tannous F, Steiner M, Shahin R, et al. Retentive forces and fatigue resistance of thermoplastic resin clasps. Dental Mater 2012; 28(27): 3–8.

- Hahnel ,Anderson PA , Kurtz S, et al. Explant analysis of total disc replacement, Semin. Spine Surg. 2006; 18 (2): 109-16.

- Weiser, Leat ME, Fisher J. A synthetic leaflet heart valve with improved opening characteristics. Med Eng Phys. 1994; 16(47): 1–6.

- Rodríguez V, Tobar C, López-Suárez C, et al. Fracture Load of Metal, Zirconia and Polyetheretherketone Posterior CAD-CAM Milled Fixed Partial Denture Frameworks. Materials. 2021; 14(4): 959.

- Nidal E, Samira B. The applications of polyether-ether-ketone (peek) in dentistry: systematic review. American Journal of Innovative Research and Applied Sciences. 2020; 10(2): 192-200.

- Tekin S, Cangül S, Adıgüzel Ö, et al. Areas for use of PEEK material in dentistry. Int Dent Res. 2018; 8(2):  84-92.

- Maowei Z , Ryuhei K , Susumu T et al. Effects of PEEK surface treatment using alumina blasting or concentrated sulfuric acid etching in combination with functional monomers on shear bond strength to adhesive cement after artificial aging. Dent Mater J. 2025; 1-11.