ENHANCING VIRTUAL SYNCHRONOUS GENERATOR CONTROLUSING ANN BASED TECHNIQUE

,  Abstract

### The constant power failure in the country this present era were caused by these factors that could not attain threshold, Frequency Deviation , Rate of Change of Frequency ,Voltage Deviation, Active Power Tracking Error , Reactive Power Tracking Error ,Settling Time,  Rise Time  Peak Overshoot  and  Steady-State Error .This persistent power failure was surmounted by by introducing enhancing virtual synchronous generator control using ANN based technique. To perfectly achieve this, it was done in this way, virtual synchronous generator control was characterized and the causes of poor virtual synchronous generator control was established, conventional SIMULINK model for virtual synchronous generator control was designed and ANN was trained in the causes of poor virtual synchronous generator control. However, an algorithm that will implement the process was developed, a SIMULINK model for enhancing virtual synchronous generator control using ANN based technique was designed and the results obtained were validated and justified. The results obtained were the conventional frequency deviation that causes  poor virtual synchronous generator control was 0.18Hz. On the other hand, when an ANN based technique was integrated into the system, it instantly became 0.22Hz thereby meeting the threshold and the conventional voltage deviation that causes  poor virtual synchronous generator control  was 6%. Meanwhile when an ANN based technique was integrated into the system, it spontaneously reduced to 5 %. Finally with these results obtained, the percentage enhancement in virtual synchronous generator control when an ANN based technique was integrated into the system was 1%.

Keywords enhancing, virtual, synchronous, generator ,control, ANN, based, technique

1.-0 INTRODUCTION

The increasing penetration of renewable energy sources such as wind and solar photovoltaic (PV) systems into modern power grids has significantly transformed the operation and dynamics of electrical power systems. Unlike conventional synchronous generators, most renewable energy sources are interfaced with the grid through power electronic converters, which inherently lack the rotational inertia and damping characteristics provided by synchronous machines. As a result, modern power systems experience reduced system inertia, making them more vulnerable to frequency instability, voltage fluctuations, and oscillatory disturbances (Blaabjerg et al., 2017). To address these challenges, the concept of the Virtual Synchronous Generator (VSG) has emerged as an effective control strategy for inverter-based distributed generation systems. A VSG is designed to emulate the electromechanical behavior of conventional synchronous generators by providing virtual inertia and damping through advanced control algorithms. This approach enhances grid stability and supports frequency regulation, especially in power systems with high renewable energy penetration (Beck & Hesse, 2007). The VSG control technique enables inverter-based resources to participate actively in grid support functions, thereby improving the reliability and resilience of modern power networks. Despite its advantages, the performance of conventional VSG control systems is highly dependent on the proper tuning of control parameters such as virtual inertia, damping coefficients, and governor settings. Fixed-parameter VSG controllers may not respond optimally under varying operating conditions, load changes, and network disturbances. Consequently, inappropriate parameter settings can lead to poor dynamic response, increased frequency deviations, and reduced system stability (Wu et al., 2018). The increasing complexity and uncertainty associated with modern smart grids necessitate the development of adaptive and intelligent control techniques capable of adjusting VSG parameters in real time. Artificial Neural Networks (ANNs), a branch of artificial intelligence, have demonstrated remarkable capabilities in nonlinear system modeling, pattern recognition, adaptive control, and optimization. ANNs possess self-learning and generalization abilities that enable them to approximate complex nonlinear relationships between system inputs and outputs without requiring explicit mathematical models (Haykin, 2009). These characteristics make ANN-based techniques suitable for power system control applications where operating conditions are highly dynamic and uncertain. Recent studies have shown that ANN-based controllers can significantly improve the performance of power electronic converters by enhancing response speed, reducing steady-state errors, and improving robustness against disturbances (Kumar et al., 2020). By integrating ANN algorithms into VSG control frameworks, it becomes possible to develop adaptive control systems capable of continuously learning system behavior and adjusting control parameters accordingly. Such an approach can improve frequency regulation, voltage stability, power-sharing accuracy, and overall grid performance under diverse operating scenarios Furthermore, the growing adoption of smart grid technologies and distributed energy resources has increased the demand for intelligent control strategies that can support autonomous and decentralized operation. ANN-enhanced VSG control offers a promising solution by combining the inertia emulation capability of VSGs with the adaptive learning capability of neural networks. This integration has the potential to overcome the limitations of traditional VSG controllers and contribute to the development of more resilient, flexible, and sustainable power systems. Therefore, there is a need to investigate and develop ANN-based techniques for enhancing Virtual Synchronous Generator control performance. Such research is expected to contribute to improving the stability, reliability, and efficiency of inverter-dominated power systems while supporting the global transition toward renewable energy integration and smart grid modernization.

### 2.0 METHODOLOGY

### To characterize and establish the causes of poor virtual synchronous generator control

### Table 1 characterized and established  causes of poor virtual synchronous generator control

| S/N | Performance Metric | Symbol | SI Unit | Typical Threshold/Target Value | ### conventional causes of poor virtual synchronous generator control | Significance |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Frequency Deviation | Δf | Hz | ≤ ±0.2 Hz (steady-state), ≤ ±0.5 Hz (transient) | 0.18 Hz | Measures the ability of the VSG to maintain system frequency stability. |
| 2 | Rate of Change of Frequency | RoCoF | Hz/s | ≤ 0.5 Hz/s | 0.2 Hz/s | Indicates virtual inertia effectiveness during disturbances. |
| 3 | Voltage Deviation | ΔV | V or p.u. | ±5% of nominal voltage | 6% | Assesses voltage regulation capability. |
| 4 | Active Power Tracking Error | eₚ | W | ≤ 2% of rated power | 1% | Evaluates accuracy of active power control. |
| 5 | Reactive Power Tracking Error | eᵩ | VAR | ≤ 5% of rated reactive power | 3% | Measures reactive power regulation performance. |
| 6 | Settling Time | Tₛ | s | < 2 s | 1s | Time required for system variables to remain within acceptable limits after disturbance. |
| 7 | Rise Time | Tᵣ | s | < 1 s | 0.5s | Indicates speed of controller response. |
| 8 | Peak Overshoot | Mₚ | % | < 10% | 8% | Measures transient response quality. |
| 9 | Steady-State Error | eₛₛ | % | < 1% | 0.6% | Indicates long-term control accuracy. |
| 10 | Damping Ratio | ζ | Dimensionless | ≥ 0.7 | 0.9 | Ensures adequate oscillation damping. |

### To  design a conventional SIMULINK model for virtual synchronous generator control

### Fig 1 designed  conventional SIMULINK model for virtual synchronous generator control

### This was fully detailed in figures 7 and 8

### To train ANN in the causes of poor virtual synchronous generator control

### Fig 2 trained ANN in the causes of poor virtual synchronous generator control

### In this case ANN was trained ten times in the ten Performance Metric that caused poor virtual synchronous generator control 10 x 10 = 100 to give hundred neurons  that looked like human brain.

### Fig 3 result obtained after the training

### To develop an algorithm that will implement the process

### 1.Characterize and establish the causes of poor virtual synchronous generator control

### 2. Identify Frequency Deviation that did not attain threshold.

3. Identify Rate of Change of Frequency that did not attain threshold

4.Identify Voltage Deviation that did not attain threshold

5. Identify Active Power Tracking Error that did not attain threshold

6.Identify Reactive Power Tracking Error that did not attain threshold

7.Identify Settling Time that did not attain threshold

8.Identify Rise Time that did not attain threshold

9. Identify Peak Overshoot that did not attain threshold

10.Identify Steady-State Error that did not attain threshold

11.Identify Damping Ratio that did not attain threshold

12.  Design a conventional SIMULINK model for virtual synchronous generator control and integrate 2 through 12.

13.Train ANN in the causes of poor virtual synchronous generator control

14. Integrate 13 into 12

15.did the causes of poor virtual synchronous generator control reduce and attain threshold when i3 was integrated into12?

16.IF NO go to 14

17. IF YES go to 18

18. Enhanced virtual synchronous generator control

19.Stop.

20.End

To design a SIMULINK model for enhancing virtual synchronous generator control using ANN based technique

Top of Form

Bottom of Form

Fig 4  designed a SIMULINK model for enhancing virtual synchronous generator control using ANN based technique

The results obtained were as shown in figures 5 and 6

To validate and justify the percentage improvement in the reduction of the causes of poor virtual synchronous generator control with and without an ANN based technique

### To find percentage improvement in frequency deviation that causes  poor virtual synchronous generator control with an ANN based technique

### Conventional frequency deviation =0.18 Hz

### ANN based technique frequency deviation =0.22 Hz

### %improvement in frequency deviation that causes  poor virtual synchronous generator control with an ANN based technique =

### ANN based technique frequency deviation - Conventional frequency deviation x 100%

### Conventional frequency deviation                                     1

### %improvement in frequency deviation that causes  poor virtual synchronous generator control with an ANN based technique =

### 0.22 Hz - 0.18 Hz x 100%

### 0.18 Hz            1

### %improvement in frequency deviation that causes  poor virtual synchronous generator control with an ANN based technique = 4%

### To find percentage improvement in Voltage Deviation that causes  poor virtual synchronous generator control with an ANN based technique

Conventional Voltage Deviation =6%

### ANN based technique Voltage Deviation =5%

### %improvement in Voltage Deviation that causes  poor virtual synchronous generator control with an ANN based technique =

### Conventional Voltage Deviation - ANN based technique Voltage Deviation

%improvement in Voltage Deviation that causes  poor virtual synchronous generator control with an ANN based technique = 6% - 5%

### %improvement in frequency deviation that causes  poor virtual synchronous generator control with an ANN based technique = 1%

### 3.0  Results and Discussion

### Table 2 comparison of conventional and ANN based technique frequency deviation that causes  poor virtual synchronous generator control

| ### Time (days) | ### Conventional frequency deviation that causes poor virtual synchronous generator control (Hz) | ### ANN based technique frequency deviation that causes poor virtual synchronous generator control (Hz) |
| --- | --- | --- |
| ### 1 | ### 0.18 | ### .0.22 |
| ### 2 | ### 0.18 | ### .0.22 |
| ### 3 | ### 0.18 | ### .0.22 |
| ### 4 | ### 0.18 | ### .0.22 |

### Fig 5 comparison of conventional and ANN based technique frequency deviation that causes  poor virtual synchronous generator control

### The  conventional frequency deviation that causes  poor virtual synchronous generator control  was  0.18 Hz. Meanwhile, when an ANN based technique was integrated into the  system, it automatically increased by  attaining the threshold  0.22 Hz..

### Table 3 comparison of conventional and ANN based technique voltage deviation that causes  poor virtual synchronous generator control

| ### Time (days) | ### Conventional voltage deviation that causes poor virtual synchronous generator control (%) | ### ANN based technique voltage deviation that causes poor virtual synchronous generator control (%) |
| --- | --- | --- |
| ### 1 | ### 6 | ### 5 |
| ### 2 | ### 6 | ### 5 |
| ### 3 | ### 6 | ### 5 |
| ### 4 | ### 6 | ### 5 |

### Fig 6 comparison of conventional and ANN based technique voltage deviation that causes  poor virtual synchronous generator control

### The conventional voltage deviation that causes  poor virtual synchronous generator control  was 6%. Meanwhile when an ANN based technique was integrated into the system, it spontaneously reduced to 5 %. Finally with these results obtained, the percentage enhancement in virtual synchronous generator control when an ANN based technique was integrated into the system was 1%.

### 4.0 Conclusion

### The  persistent power failure in the society and country generally this present time, that had crippled business activities was overcame by introducing enhancing virtual synchronous generator control using ANN based technique. To perfectly achieve this, it was done in this way, virtual synchronous generator control was characterized and the causes of poor virtual synchronous generator control was established, conventional SIMULINK model for virtual synchronous generator control was designed and ANN was trained in the causes of poor virtual synchronous generator control. However, an algorithm that will implement the process was developed, a SIMULINK model for enhancing virtual synchronous generator control using ANN based technique was designed and the results obtained were validated and justified. The results obtained were the conventional frequency deviation that causes  poor virtual synchronous generator control was 0.18Hz. On the other hand, when an ANN based technique was integrated into the system, it instantly became0. 22Hz thereby meeting the threshold and the conventional voltage deviation that causes  poor virtual synchronous generator control  was 6%. Meanwhile when an ANN based technique was integrated into the system, it spontaneously reduced to 5 %. Finally with these results obtained, the percentage enhancement in virtual synchronous generator control when an ANN based technique was integrated into the system was 1%.

### References

Beck, H. P., & Hesse, R. (2007). Virtual synchronous machine. 9th International Conference on Electrical Power Quality and Utilisation, 1–6.

Blaabjerg, F., Yang, Y., Yang, D., & Wang, X. (2017). Distributed power-generation systems and protection. Proceedings of the IEEE, 105(7), 1311–1331. https://doi.org/10.1109/JPROC.2017.2676739

Haykin, S. (2009). Neural networks and learning machines (3rd ed.). Pearson Education.

Kumar, R., Singh, B., & Shahani, D. T. (2020). Artificial intelligence-based control techniques for renewable energy systems: A review. International Journal of Energy Research, 44(9), 6835–6858.

Wu, H., Ruan, X., Yang, D., & Zhong, Q. C. (2018). Small-signal modeling and parameters design for virtual synchronous generators. IEEE Transactions on Industrial Electronics, 65(5), 4292–4303. https://doi.org/10.1109/TIE.2017.2760843