Evaluation of Natural Airflow And Ventilations in High-Rise Residential Structures in Nigeria.

Abstract

The design of residential structures that relies solely on natural ventilation methods has become prevalent in various regions across the globe, and the expansion of this approach has been proven feasible in urban centers as well as in undeveloped areas. Nevertheless, the implementation of natural ventilation in high-rise residential buildings is less frequent, resulting in environmental challenges and financial implications associated with buildings that utilize mechanical ventilation. This study aims to evaluate natural ventilation techniques and the means by which they can be incorporated into multi-story residential edifices. This will be accomplished through specific objectives: to gauge the knowledge of respondents regarding natural ventilation, to comprehend how building operations influence effective ventilation in multi-storey structures, and to identify and analyze additional factors that may impact the operation of natural ventilation and the comfort of its occupants. The research will adopt a quantitative approach, utilizing surveys in the form of questionnaires and various fact-finding inquiries, alongside reviews of journals, books, and articles. In this discussion, the concepts of natural ventilation and associated strategies will be examined to highlight their importance in fostering a naturally ventilated building to decrease energy use and lower dependence on mechanical ventilation for a more sustainable environment. These strategies should be taken into account prior to and during the design phase to enhance their effectiveness. This paper intends to effectively inform the general public and raise awareness about the numerous benefits of having a well-ventilated building.

KEYWORDS: Natural  Airflow and ventilation,  high rise buildings,,  energy,  thermal  comfort,  natural cooling

Introduction:

The worldwide increase in urbanization, especially in Nigeria, has greatly heightened energy usage in buildings. According to the (IPCC 2014), buildings globally accounted for 32% of total energy consumption in 2010, with residential buildings in Africa consuming more than 79% of that energy. Research conducted in Nigeria by (Ezema et al., 2016), (Adebisi et al., 2008), and (Akinbami and Lawal 2010) indicated that residential buildings were responsible for an estimated 78-50.4% of overall energy use and electricity consumption. This highlights the necessity of tackling energy consumption in residential buildings to lessen environmental impact. The elevated energy consumption in Nigerian residential buildings is linked to rapid urbanization, climatic factors, and the failure of architects to consider climate-sensitive design (Adebisi et al., 2008). The tropical climate of Nigeria, marked by elevated temperatures, results in heat accumulation within spaces, contributing to considerable thermal discomfort for residents (Gut and Ackerknecht, 1993). Architects encounter a persistent challenge in defending against and effectively dissipating heat build-up in residential areas (Ogunsote et al., 2011). (Nwofe, 2014) points out that a significant portion of energy consumption in Nigerian buildings is due to active energy use.

appliances are considered uneconomical and contribute to energy shortages, heightened greenhouse gas emissions, and global warming (Ogunsote et al., 2011). In light of global initiatives aimed at reducing energy usage, there is increasing interest in studying natural ventilation due to its efficiency, effectiveness, zero energy demand, and economic benefits in comparison to mechanical systems (Adegbie, 2013). Given the issues associated with high energy prices, limited generation, Devices such as fans and air conditioners are utilized for indoor comfort. Nevertheless, these and erratic supply in Nigeria, investigating natural ventilation for indoor comfort in multi-story buildings in urban areas is crucial (Nwofe, 2014). Natural ventilation plays a vital role in improving thermal comfort in warm climates, with Ayinla (2011) noting its potential effectiveness. Richard (2011) underscores its efficiency in enhancing indoor air quality and its economically viable nature for achieving thermal comfort. The Energy Commission of Nigeria (2003) reported that the final energy expenses for buildings utilizing natural ventilation are 40% lower than those of air-conditioned buildings. Enhanced indoor conditions through natural ventilation can boost occupant productivity and lower healthcare expenditures (Fisk and Rosenfeld, 1997).

In 2009, it was noted that factoring in natural ventilation early during the design phase involves minimal expenses, making it an essential aspect to consider right from the beginning. This research conducted in Abuja aims to evaluate natural ventilation in multi-storey structures, with goals that include assessing the awareness of respondents regarding natural ventilation, understanding operational aspects of buildings that impact ventilation, and investigating the factors that affect its efficiency. The study highlights the significance of natural ventilation for lowering energy use in residential buildings in Nigeria and improving indoor air quality. It stresses the need to consider natural ventilation throughout the entire building lifecycle, spanning from pre-design through construction to the post-construction stages.

Literature Review:

Ventilations

Ventilation, as noted by Awbi (1991), comprises the introduction of fresh outdoor air into a building or space, along with its internal distribution, and plays a vital role in enhancing indoor air quality by diluting and eliminating pollutants to ensure a healthier environment. Natural elements like wind and thermal buoyancy facilitate the movement of outdoor air through specially designed openings such as windows, doors, solar chimneys, wind towers, and trickling ventilators. Natural ventilation is influenced by various factors, including climate, architectural design, and human behavior. Efficiently designed and well-maintained natural ventilation systems provide benefits compared to mechanical alternatives, making them an attractive option for minimizing energy consumption and costs while maintaining a healthy indoor atmosphere. Given the growing recognition of energy's environmental effects, architects should emphasize effective natural ventilation in their design processes.

The Three Key Design Components of Natural Ventilation

- Site Design — the placement of buildings, arrangement, orientation, and landscaping;

- Building Design — the kind of building, its purpose, overall shape, exterior envelope, natural ventilation approach, internal layout of spaces and uses, thermal mass, and any heating, ventilation, and air-conditioning systems that may be present; and

- Vent Opening Design — the location of openings, the variety of openings, their sizes, and the control methods used.

Site Design

Site design entails integrating buildings into the surrounding landscape, allowing for slight alterations that take environmental factors into account. To maximize natural ventilation, one should utilize the site's existing airflow patterns. For multiple structures, it is advisable to ensure exposure to South-West winds while avoiding North-East winds in warmer climates. The shape and orientation of buildings should be designed to create negative pressures in the airflow wakes (Aynsley et al., 1977).

Building design

In straightforward buildings, elements such as roof configuration, aspect ratios, and the incorporation of overhangs, wind walls, and recessed areas contribute to efficient natural ventilation. For larger and more intricate structures, employing computational fluid dynamics is advisable for optimal design and to avoid cold draughts (Fluent, 2003). Compact designs with careful arrangement of internal spaces and expansive windows on the windward side promote better airflow.

Windows and Glazing

The building’s envelope, especially windows, doors, and skylights, affects heat gain/loss and internal air movement. Windows, which are defined as openings that permit light and air to enter, significantly impact the thermal efficiency of the building envelope (Carmody et al., 1996). As outlined by (Al-Saadi, 2006) and (Datta, 2001), glazed windows provide natural illumination, decrease structural weight, and improve visual appeal. Properly shaded and strategically positioned windows can substantially lower a building's energy consumption (Szokolay, 2004). The window-to-wall ratio (WWR) is vital for the thermal environment within a building (Carmody et al., 1996). (Bokel, 2007) investigated the influence of window size and placement on energy requirements, proposing an ideal WWR of around 30% in the upper section of the facade. A WWR between 20% and 40% is considered acceptable, as larger ratios have a negligible effect on lighting demands. Additionally, selecting appropriate glazing types, sizes, orientations, and positions to minimize the sun's effects on the interiors of residential buildings are key considerations.

Methodology

The research methodology functions as a systematic strategy to tackle research issues (Kothari and Gaurav, 2014). In this study, a quantitative research approach was selected due to its organized and statistical characteristics, which facilitate the gathering of numerical data for an objective and definitive measurement of variables. This method enables statistical analysis to confirm hypotheses. Primary data was gathered through direct observations and questionnaires distributed to users of chosen multi-storey residential buildings (a total of 124 questionnaires). The questionnaires included questions about demographics, socioeconomic status, building operations, and building features. Secondary data was collected from a variety of sources, including conference proceedings, academic journals, books, theses, projects, seminar papers, architectural drawings, and credible online resources.

ResultsAnd Discussions

Building Envelope Features A significant majority of respondents, 117 (94.4%), reported using cement blocks for wall finishing, while only a small number, 2 (1.6%), opted for wood and zinc respectively. A substantial portion of the respondents, 105 (84.7%), indicated that they use tile for their floor finishing, followed by cement at 9 (7.3%) and carpet/rug at 8 (6.5%). Most respondents, 65 (52.4%), use ceiling boards for their ceiling finishing, while 57 (46%) reported using asbestos. Respondent Opinions on Building Envelope Features Variable Frequency Percent Material Used for Wall Finishing Earth/Mud 3 2.4 Wood 2 1.6 Cement Block 11794.4 Zinc 2 1.6 Total 124100 Material Used for Floor Finishing Tile 10584.7 Wood 2 1.6 Cement 9 7.3 Carpet/Rug 8 6.5 Total 124100 Material Used for Ceiling Finishing Asbestos 57 46 Carton 2 1.6 Ceiling Board 65 52.4 Total 124100 Source: Survey Data, 2025.

Demographic data of the respondents This section outlines the demographic details of the respondents in the study area, including aspects such as gender, age group, and educational attainment. The distribution of demographics among respondents is illustrated in the survey results. It was observed that a higher percentage of males (65.3%) participated in the survey compared to females (34.7%). A significant majority of the respondents (93.5%) fell within the 18-30 age range, while a smaller segment (6.5%) was aged between 45-60 years. In terms of education levels, 73.4% held a bachelor's degree, and 14.5% possessed a master's degree. Demographic distribution of the respondents | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Gender | | | | Male | 81 | 65.3 | | Female | 43 | 34.7 | | Total | 124100| | | Age range | | | | 18-30 years old | 11693.545-60| 86.5 | | Total | 124100| | | Highest academic qualification | | | | High School | 14 | 11.3 | | Bachelor | 91 | 73.4 | | Master | 18 | 14.5 | | Doctor | 1 | 0.8 | | Total | 124100| | The floor of your home is? | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | First floor | 10080.6| | | Middle section | 11 | 8.9 | | Upper section | 13 | 10.5 | | Total | 124100| | Source: Survey Data, 2022 The survey revealed that a substantial proportion of respondents (80.6%) reside in homes that have a first floor, with 10.5% on upper floors and 8.9% on middle floors. In terms of how long they have occupied their current residences, 57.3% stated they have lived there for more than 18 months, 16.9% for 12-18 months, and 11.3% for less than 6 months. Regarding the size of households, 56.5% reported having 0-5 members, while 33.9% mentioned having 5-10 members. A significant majority (63.7%) rated their knowledge of natural ventilation as very good. Overall, respondents considered the natural ventilation systems in their buildings adequate, with 46% reporting they find them adequate often and 44.4% sometimes. Approximately 58.1% indicated that all rooms receive cross-ventilation, whereas 41.9% did not. Furthermore, 40.3% sometimes utilize mechanical ventilation, and 34.7% do so often. How would you describe your knowledge of natural ventilation? | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | No knowledge | 1 | 0.8 | | Fair knowledge | 44 | 35.5 | | Very good knowledge | 79 | 63.7 | | Total | 124100| | Adequacy of natural ventilation systems in the building? | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Never | 21 | 16.6 | | Rarely | 10 | 8.1 | | Often | 57 | 46.0 | | Sometimes | 55 | 44.4 | | Total | 124100| | Are all the rooms cross-ventilated? | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Yes | 72 | 58.1 | | No | 52 | 41.9 | | Total | 124100| | How frequently do you use mechanical ventilation? | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Always | 10 | 8.1 | | Often | 43 | 34.7 | | Sometimes | 50 | 40.3 | | Rarely | 21 | 16.9 | | Total | 124100| | Is the building shaded in any way? | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Yes | 55 | 44.4 | | No | 69 | 55.6 | | Total | 124100| | Window types in the rooms | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Slide hung window casement type| 36 | 29.0 | | Top hung window | 10 | 8.1 | | Sliding window | 65 | 52.4 | | Louvers window | 13 | 10.5 | | Total | 124100| | Preferred ventilation system | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Natural wind | 10282.3| | | Mechanical | 22 | 17.7 | | Total | 124100| | Source: Survey Data, 2022 With respect to shading, 55.6% of respondents (69 individuals) reported that the building was not shaded, while 44.4% (55 individuals) indicated that it was. Concerning window types, 52.4% (65 individuals) utilized sliding windows, 29% (36 individuals) had slide-hung windows, and 8.1% (10 individuals) opted for top-hung windows. A large majority (82.3%) preferred natural wind for ventilation, with a small portion favoring mechanical systems. Building Operations The vast majority of respondents (91.9%) reported cooking in a separate kitchen, while merely 4.8% cooked in their rooms. For cooking, 87.1% utilized gas, whereas 10.5% used electric cookers. Most participants (91.9%) claimed that none of their family members smoked, while 8.1% reported otherwise. Regarding indoor activities, 58.1% stated they do not dry clothes inside, while 41.9% confirmed that they do. For lighting within their homes, 83.9% primarily use electricity, and 9.7% rely on solar energy. Respondents' views on building operation | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Where do you carry out your cooking? | | | | Inside the room | 6 | 4.8 | | Separate room in the house (i.e., Kitchen)| 11491.9| | | Separate building outside the house| 4 | 3.2 | | Total | 124100| | | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Which of the following do you use in the house for cooking? | | | | Electric cooker | 1 | 10.5 | | Gas | 10887.1| | | Charcoal | 1 | 0.8 | | Kerosene | 2 | 1.6 | | Total | 124100| | | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Do you or anyone in the family smoke in the house? | | | | Yes | 1 | 8.1 | | No | 11491.9| | | Total | 124100| | | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Do you or anyone dry clothes in the house? | | | | Yes | 52 | 41.9 | | No | 72 | 58.1 | | Total | 124100| | | Variable | Frequency | Percent | |-------------------------------|-----------|----------| | Please indicate your main source of light in the house at night | | | | Electricity | 10483.9| | | Generator | 6 | 4.8 | | Solar | 2 | 9.7 | | Lamp | 2 | 1.6 | | Total | 124100| | Chi-Square Test on Preferred Ventilation System and Building Characteristics | Variable | Value | df | Asymptotic Significance (2-sided) | |-------------------------------|-----------|----------|-------------------------------------| | Pearson Chi-Square | 3.533a | 3 | 0.317 | | Likelihood Ratio | 3.35930| |

Conclusion And Recommendations

The findings of the study indicate that there is a significant lack of awareness regarding natural ventilation techniques and their application within buildings. Thus, it is essential to develop guidelines that integrate these techniques into multi-storey buildings to support architects, builders, and other industry professionals at various stages of design and construction. These strategies should encompass factors such as the placement of openings, the positioning of those openings, the quantity and dimensions of the openings, the types of openings used, suitable landscaping, architectural design, spacing between buildings, and correct orientation.

References

Adegbie, M. (2013). Assessment of natural ventilation in residential buildings: A case studyof senior staff quarters, Obanla, Federal University of Technology, Akure, Nigeria. Journal of Sustainable Technology, Vol. 4, No. 2 PP. 78-86

Akinbami,  J.  &Lawal,  A.  (2010).  Opportunities  and  Challenges  to  Electrical  Energy  Conservation  and  C02 Emissions  Reduction  in  Nigeria’s  Building  Sector.  Proceedings  Cities  and  Climate  Change  Workshop, Midrand, South Africa, PP.345-365

Ayinla, A.K., Olaniyan, S.A. &Okeyinka, Y.R. (2013), “Bio Climatic Characteristics  of  Residential  Building Types in the Traditional Core of Ogbomoso Southwest Nigeria”, International Journal of Science, Environment and Technology, Vol. 2, No 1462-1478.

Carmody, J., Selkowitz, S., &Heschong, W. W. L., (1996). Residential Windows: A Guide to New Technologies and Energy Performance. Norton and Company

Datta,  G.,  (2001).  Effect  of  fixed  horizontal  louver  shading  devices  on  thermal  performance  of  building  by TRNSYS simulation. Renewable Energy 23 (3-4), pp 497-507.

Hooper,  C.  (1975).Design  For  Climate:  Guidelines  For  The  Design  of  Low  Cost  Houses  For  The  Climates  of Kenya. Housing Research and Development Unit, University of Nairobi, Nairobi, Kenya.Intergovernmental Panel on Climate Change [IPCC]. (2014). Climate change 2014: mitigation of climate change. Contribution  of  working  group  III  to  the  fifth  assessment  report  of  the  Intergovernmental  Panel  on  Climate Change. Cambridge: Cambridge University Press

Lacey, R. E. (1977).Climate and Building In Britain. A Review of Meteorological Information Suitable for Use In The Planning, Design, Construction and Operation of Buildings. Building Research Establishment Report, Her Majesty‘s Stationery Office, London.

United  Nations  Centre  For  Human  Settlements -HABITAT  (1984). Energy  Conservation  In  The  Construction And  Main-tenance  of  Buildings.  Volume  One:  Use  of  Solar  Energy  and  Solar  Cooling  In  The  Design  of Buildings In Developing Countries. UNCHS--HABITAT. Nairobi, Kenya.

United Nations (1971).Design of Low –Cost Housing and Community Facilities. Volume I, Climate and House Design. Department of Economicand Social Affairs, New York.