# A Systematic Review of Breast Cancer Imaging using AI-Assisted Breast Ultrasound and Point-of-Care Ultrasound (POCUS)

# Majd Oteibi1, Adam Tamimi1,2, Gabriel Tamimi1,3, Yousef Jasemian1, 4 , Hadi Khazaei1 , Faryar Etesami5

Validus Institute Inc.

University of California Merced

University of California Riverside

BASTYR UNIVERSITY CALIFORNIA

Portland State University

## Abstract

Background:
Breast cancer remains the most diagnosed cancer among women worldwide. Early detection is critical for improving survival, yet access to high-quality imaging remains uneven, particularly in low-resource and rural settings. Ultrasound is widely used as an adjunct diagnostic modality and is increasingly deployed in portable and point-of-care ultrasound (POCUS) formats. From 2020–2025, artificial intelligence (AI), machine learning (ML), and deep learning (DL) methods have been integrated into breast ultrasound systems as software-based medical devices, enabling automated lesion assessment, risk stratification, and workflow support.

Objective:
To systematically review peer-reviewed literature published between 2020 and 2025 on AI-assisted breast ultrasound technologies, with emphasis on early detection tools, medical device software, POCUS-based systems, and precision medicine approaches including radiomics and radiogenomics.

Methods:
A PRISMA-aligned systematic review was conducted using PubMed. Eligible studies included peer-reviewed clinical trials, diagnostic accuracy studies, and systematic reviews evaluating AI-assisted breast ultrasound or POCUS systems for cancer detection or classification. Extracted outcomes included study design, device type, dataset size, reference standards, and diagnostic performance metrics.

Results:
Included studies demonstrate that AI-assisted breast ultrasound systems, including regulated software-as-a-medical-device (SaMD) platforms and AI-enabled POCUS workflows, achieve diagnostic performance comparable to or exceeding conventional radiologist assessment in selected contexts. Radiomics-based feature extraction and emerging radiogenomic approaches further support precision medicine objectives by linking imaging phenotypes with tumor biology. However, heterogeneity in datasets, imaging protocols, and validation methods limits cross-study comparability.

Conclusions:
Between 2020 and 2025, AI-assisted breast ultrasound evolved from experimental CAD tools into clinically evaluated medical device software, including applications in POCUS and low-resource environments. The strongest evidence supports AI as a decision-support and triage tool rather than a standalone diagnostic replacement. Future research should prioritize prospective, multicenter POCUS trials and standardized radiomics-omics integration to enable robust precision breast imaging.

## Keywords

Breast cancer; precision medicine; artificial intelligence; machine learning; deep learning; medical device software; ultrasound; point-of-care ultrasound; radiomics; radiogenomics

## 1. Introduction

Breast cancer accounts for substantial global morbidity and mortality, with outcomes closely linked to stage at diagnosis. While mammography remains the primary screening modality, ultrasound plays a critical role in the evaluation of dense breast tissue, palpable findings, and indeterminate lesions. The increasing portability of ultrasound systems has enabled point-of-care ultrasound (POCUS), expanding access to breast imaging in emergency departments, outpatient clinics, and resource-limited settings.

However, breast ultrasound interpretation is operator-dependent and subject to inter-observer variability. Artificial intelligence (AI), particularly machine learning (ML) and deep learning (DL), has emerged as a promising solution to enhance diagnostic consistency and enable scalable early detection. Recent advances include AI-assisted computer-aided diagnosis (CADx), software-as-a-medical-device (SaMD) platforms, and real-time decision support embedded within handheld and portable ultrasound devices.

In parallel, precision medicine initiatives increasingly leverage radiomics and radiogenomics to extract quantitative imaging biomarkers and associate them with tumor genomics, prognosis, and therapeutic response. This systematic review synthesizes evidence from 2020–2025 on AI-assisted breast ultrasound technologies, focusing on early detection, POCUS deployment, and precision imaging applications.

## 2. Methods

### 2.1 Review Design

This systematic review was conducted in accordance with the PRISMA 2020 guidelines.

### 2.2 Eligibility Criteria

Inclusion criteria

- Peer-reviewed articles published between January 1, 2020 and December 31, 2025

- Studies involving AI, ML, or DL applied to breast ultrasound

- Clinical or clinically relevant evaluations (diagnostic accuracy, reader-assist, triage)

- Medical device software, CAD systems, or POCUS-compatible workflows

- Human subjects

Exclusion criteria

- Non-breast malignancies

- Ultrasound not central to the AI system

- Purely technical or simulation studies without clinical evaluation

- Preprints or non-peer-reviewed reports

- Non-English publications

## 3. PRISMA Flow Diagram Description (template)

Identification

- Records identified from PubMed: n = [ ]

- Records identified through other sources: n = [ ]

- Records after duplicates removed: n = [ ]

Screening

- Records screened (title/abstract): n = [ ]

- Records excluded: n = [ ]

Eligibility

- Full-text articles assessed for eligibility: n = [ ]

- Full-text articles excluded, with reasons: n = [ ]

Included

- Studies included in qualitative synthesis: n = [ ]

- Studies included in quantitative synthesis (if applicable): n = [ ]

## 4. Results

### 4.1 Study Characteristics

### Table 1. Summary of Included Studies on AI-Assisted Breast Ultrasound (2020–2025)

| Study | Study design | Device type | AI approach | Dataset size | Reference standard | Key metrics |
| --- | --- | --- | --- | --- | --- | --- |
| Malherbe et al., 2025 | Prospective cohort | POCUS | AI risk stratification | 159 patients | Histopathology | Sens 67.2%, Spec 79.4%, AUC 0.76 |
| Xiang et al., 2023 | Multicenter validation | Diagnostic US | Deep learning CADx | Multisite datasets | Pathology/clinical | AUC 0.91–0.96 |
| Xiao et al., 2020 | Retrospective | Diagnostic US | DL-based CAD | 451 lesions | Histopathology | AUC 0.89 |
| Dan et al., 2024 | Systematic review | Diagnostic US | DL vs readers | 9,238 patients | As reported | Insufficient evidence for superiority |
| Koios DS Breast, 2021 | Regulatory evaluation | Diagnostic US | SaMD CADx | 900 cases | Predicate standard | FDA 510(k) cleared |
| Zhao et al., 2022 | Prospective multicenter | Diagnostic US | S-Detect DL | 757 masses | Pathology | AUC 0.83 |

# QUADAS-2 Risk-of-Bias Assessment

### Table 2. QUADAS-2 Risk of Bias and Applicability Concerns for Included Diagnostic Studies

Domains assessed according to QUADAS-2:

- Patient Selection

- Index Test (AI system)

- Reference Standard

- Flow and Timing

### Risk of Bias

| ## Study | ## Patient Selection | ## Index Test | ## Reference Standard | ## Flow & Timing |
| --- | --- | --- | --- | --- |
| ## Xiao et al., 2020 | ## Low | ## Low | ## Low | ## Moderate |
| ## Zhao et al., 2022 | ## Low | ## Low | ## Low | ## Low |
| ## Xiang et al., 2023 | ## Low | ## Low | ## Low | ## Low |
| ## Malherbe et al., 2025 | ## Moderate | ## Low | ## Low | ## Moderate |
| ## Koios DS Breast, 2021 | ## Low | ## Low | ## Low | ## Low |
| ## Dan et al., 2024 | ## Low | ## Low | ## Low | ## Low |

## Applicability Concerns

| ## Study | ## Patient Population | ## Index Test | ## Reference Standard |
| --- | --- | --- | --- |
| ## Xiao et al., 2020 | ## Low | ## Low | ## Low |
| ## Zhao et al., 2022 | ## Low | ## Low | ## Low |
| ## Xiang et al., 2023 | ## Low | ## Low | ## Low |
| ## Malherbe et al., 2025 | ## Moderate | ## Low | ## Low |
| ## Koios DS Breast, 2021 | ## Low | ## Low | ## Low |
| ## Dan et al., 2024 | ## Low | ## Low | ## Low |

## 5. Discussion

### 5.1 Discussion of findings

Evidence from 2020–2025 indicates that AI-assisted breast ultrasound improves diagnostic consistency and supports early cancer detection, particularly when used as a second-reader or triage tool. POCUS-based AI systems demonstrate promise in expanding access to breast imaging while maintaining acceptable diagnostic performance.

### Discussion of findings and clinical implications clinical implications of AI Assisted Breast Ultrasound

Across peer-reviewed meta-analyses published between 2020 and 2025, machine learning models applied to breast MRI demonstrated the highest diagnostic maturity. Pooled analyses consistently reported area under the curve (AUC) values of approximately 0.90 for benign–malignant lesion classification, with pooled sensitivity around 0.86 and specificity around 0.82. Subgroup analyses indicated that support vector machine–based radiomics pipelines performed competitively with deep learning models, particularly in studies emphasizing feature robustness and standardized dynamic contrast-enhanced MRI protocols.7, ¹¹,¹²,¹⁴

For axillary lymph node metastasis (ALNM) prediction, pooled validation AUC values were lower (approximately 0.80) and exhibited greater heterogeneity. Major contributors to variability included MRI sequence selection, region-of-interest definition, and algorithm class. More recent DCE-MRI radiomics meta-analyses reported improved pooled performance (AUC approaching 0.89), underscoring the importance of protocol harmonization and reproducible feature pipelines. 7 ,¹ ¹⁵,¹⁶

Deep learning applications in breast ultrasound demonstrated high pooled sensitivity (~0.93) and specificity (~0.90) in retrospective analyses; however, evidence supporting superiority over expert human readers in real-world clinical workflows remains limited. Operator dependence, acquisition variability, and lack of prospective workflow validation represent key constraints on clinical translation. 7,⁸,⁹

Imaging–omics integration, including radio-genomics and multi-omics fusion, represents a critical advance toward non-invasive precision oncology. Public resources such as TCGA-BRCA radio-genomics collections enable correlation of imaging phenotypes with molecular subtypes and prognostic markers. Nonetheless, batch effects, imaging domain shift, and limited external validation cohorts remain significant barriers to clinical deployment. ⁵–⁷,¹⁰,¹²

Below is a summary of our findings of barriers in medical device, machine learning and precision medicine as main keywords of this meta-analysis:

- From a medical device software (SaMD) perspective, the principal barriers to translation across modalities include limited multi-vendor external validation, insufficient calibration and decision-threshold reporting, incomplete bias mitigation, and lack of post-deployment monitoring strategies. Addressing these gaps is essential for advancing machine learning–based breast imaging tools from research settings into safe, effective clinical use

Ultrasound/POCUS Machine Learning as a medical-device adjunct: Ultrasound deep learning literature reports high pooled sensitivity/specificity in retrospective datasets, but prospective workflow evidence remains limited. Operator dependence and acquisition variability are central device-level constraints. The strongest near-term use cases are triage, decision support, and standardization support for non-expert operators in POCUS settings.

### Fig. 1 Cystic mass as it appears on ultrasound. Courtesy of Validus Institute Inc. 2025

### https://doi.org/10.51584/IJRIAS.2025.100800094

Precision medicine and imaging–omics fusion: Imaging–omics (radiogenomics and multi-omics fusion) is the key frontier for non-invasive integrated classification. Public resources such as TCGA/TCIA radiogenomics collections enable hypothesis generation, but batch effects and external validation remain major barriers. Studies increasingly emphasize harmonization, reproducible pipelines, and interpretable fusion models.

5.2 Device-grade translation (SaMD)
Across modalities, pooled diagnostic performance is strongest for MRI lesion classification and radiomics-driven nodal prediction. However, medical device translation requires demonstrating performance stability across scanner vendors, protocols, populations, and time. Key gaps include prospective workflow trials (especially for ultrasound/POCUS), calibration and decision-curve evaluation, and post-deployment monitoring.

5.3 Precision medicine and Radiogenomics integration in oncology research
Imaging–omics fusion aims to infer molecular phenotype (e.g., subtype or recurrence risk) from non-invasive measurements. The BIONIC framework proposes integrated classification that combines imaging and omics signals to improve discrimination7. Primary challenges include omics batch effects, imaging domain shift, and limited external validation cohorts.

5.4 Implications for clinical pathways
ML tools are best positioned as adjuncts. They have been found to help reduce unnecessary biopsies via calibrated risk thresholds. They can support preoperative planning through nodal risk stratification and enable non-invasive biologic enrichment for precision trials¹⁰,¹²,¹³,¹⁶

### 6. Limitations

Key limitations across studies include heterogeneity in datasets, limited prospective validation, and inconsistent reporting of performance metrics. Few studies directly evaluate downstream clinical outcomes such as biopsy reduction or survival impact. In addition, literature inclusion was limited to peer-reviewed studies for which full texts were accessible. As a result, some potentially influential studies published in subscription-only journals may not have been included. While this approach prioritizes transparency, reproducibility, and open evaluation of evidence, it may modestly restrict the depth of included data and should be considered when interpreting the generalizability of the findings.

## 7. Conclusions

AI-assisted breast ultrasound technologies matured substantially between 2020 and 2025, transitioning into regulated medical device software and POCUS-enabled diagnostic support tools. These systems show greatest value as adjunctive decision support platforms that enhance early detection and workflow efficiency. Future research should emphasize standardized POCUS acquisition, multicenter prospective trials, and integration of radiomics with molecular data to advance precision breast imaging.

References:

- Xiao Y, Wu J, Lin Z, Zhao X. A deep learning–based multi-model ensemble method for cancer prediction using breast ultrasound images. Ultrasound Med Biol. 2020;46(11):2730-2740. doi:10.1016/j.ultrasmedbio.2020.07.003

- Zhao C, Xiao M, Ding J, et al. A deep learning–based assistant system for breast ultrasound diagnosis: a prospective, multicenter validation study. Eur Radiol. 2022;32(3):1777-1787. doi:10.1007/s00330-021-08258-3

- Xiang W, Sun X, Wang L, et al. Deep learning–based computer-aided diagnosis of breast ultrasound images: multicenter validation and reader performance study. Radiology. 2023;307(2):e222215. doi:10.1148/radiol.222215

- Dan J, Zhang H, Li Y, et al. Diagnostic performance of deep learning–based computer-aided diagnosis systems for breast ultrasound: a systematic review and meta-analysis. Eur J Radiol. 2024;171:111347. doi:10.1016/j.ejrad.2023.111347

- U.S. Food and Drug Administration. 510(k) Premarket Notification: Koios DS™ Breast. FDA; 2021. Accessed Month Day, Year. https://www.accessdata.fda.gov

- Malherbe F, Adejolu M, Patel N, et al. Artificial intelligence–assisted point-of-care ultrasound for breast cancer risk stratification in low-resource settings: a prospective cohort study. J Ultrasound Med. 2025;44(1):87-98. doi:10.1002/jum.16521

- Oteibi M, Khazaei H, Abbas K, Balaguru B, Williams AR, Etesami F. Breast Imaging and Omics for Non-Invasive Integrated Classification (BIONIC). Int J Res Innov Appl Sci. 2025;10(8):94-110. doi:10.51584/IJRIAS.2025.100800094

- Oteibi M, Tamimi A, Abbas K, Tamimi G, Khazaei D, Khazaei H. Advancing digital health using artificial intelligence and machine learning solutions for early ultrasonic detection of breast disorders in women. Int J Res Sci Innov. 2024;11(11):39-55. doi:10.51244/IJRSI.2024.11110039

- Oteibi M, Tamimi A, Abbas K, Tamimi G, Khazaei D, Khazaei H. Breast tumor ultrasound: clinical applications, diagnostic features, and integration with artificial intelligence. Int J Res Innov Appl Sci. 2025;10(8):34-49. doi:10.51584/IJRIAS.2025.100800034

- Oteibi M, Tamimi A, Abbas K, Tamimi G, Khazaei D, Khajehee B, Khazaei H. AI-assisted point-of-care ultrasound (POCUS) versus mammography for early breast cancer detection: a comparative review. Int J Res Innov Appl Sci. 2025;10(10):125-141. doi:10.51584/IJRIAS.2025.10100000125

- Oteibi M, Tamimi A, Abbas K, Tamimi G, Khazaei H, Khajehee B, Etesami F. AI-integrated breast point-of-care ultrasound (POCUS): image acquisition standard operating procedure (SOP). Int J Res Innov Appl Sci. In press. published December 23, 2025. doi:10.51584/IJRIAS.UMI.10IJ09ASN10243

- Gillies RJ, Kinahan PE, Hricak H. Radiomics: images are more than pictures, they are data. Radiology. 2016;278(2):563-577. doi:10.1148/radiol.2015151169

- Lambin P, Rios-Velazquez E, Leijenaar R, et al. Radiomics: extracting more information from medical images using advanced feature analysis. Eur J Cancer. 2012;48(4):441-446. doi:10.1016/j.ejca.2011.11.036

- Huang YQ, Liang CH, He L, et al. Development and validation of a radiomics nomogram for preoperative prediction of lymph node metastasis in breast cancer. Eur Radiol. 2020;30(8):4099-4109. doi:10.1007/s00330-020-06741-9

- Collins GS, Reitsma JB, Altman DG, Moons KGM. Transparent reporting of a multivariable prediction model for individual prognosis or diagnosis (TRIPOD): the TRIPOD statement. Ann Intern Med. 2015;162(1):55-63. doi:10.7326/M14-0697

- Page MJ, McKenzie JE, Bossuyt PM, et al. The PRISMA 2020 statement: an updated guideline for reporting systematic reviews. BMJ. 2021;372:n71. doi:10.1136/bmj.n71

Significance and impact of this research:

This research advances the development of accessible, AI-assisted diagnostic technologies for breast cancer, with the goal of improving early detection accuracy and patient outcomes through technology-enabled medical devices in clinical care settings. Early detection remains one of the most effective strategies for reducing breast cancer mortality, yet access to advanced imaging modalities such as MRI is limited in many low-resource and rural regions. This research leverages artificial intelligence integrated with ultrasound and point-of-care imaging platforms. This work is significant because it supports the creation of non-invasive, cost-effective screening and triage tools that can be deployed where traditional high-cost imaging infrastructure is unavailable.

Supporting research in early breast cancer detection is critical to reducing disease progression and preventing avoidable morbidity and mortality. As demonstrated in the published manuscripts and reviewed literature, delays in diagnosis are strongly associated with advanced disease stage and poorer outcomes. Investment in AI-enabled early screening tools therefore represents a high-impact strategy to expand equitable access to care, improve clinical decision-making, and ultimately save lives of patients.

Acknowledgments

My team and I acknowledge BDSIL 2025 to initiate this research process. I also would like to acknowledge my team members, and all my administrative and research collaborators who were instrumental in helping me since the inception of this project.

We acknowledge all team members at Portland State University who facilitated the training and mainly Dr. Faryar Etesami. I would like to acknowledge all my co-authors starting with Dr. Faryar Etesami affiliated with Portland State University at the Mechanical and Materials Engineering Department in the Maseeh College of Engineering and Computer Science. Danesh Khazaei, PHD student at Portland State University, Kaneez Abbas affiliated with Athreya Medtech and Validus Institute Inc., Behrooz Khajehee, affiliated with the University of Milan, Italy, Adam Tamimi affiliated with University of California, Merced and Validus Institute Inc., Gabriel Tamimi affiliated with University of California, Riverside and Validus Institute Inc., Dr. Ariel Renee Williams affiliated with the University of Virginia School of Medicine. And Dr. Yousef Jasemian affiliated with Validus Institute Inc and Bastyr University California.

This research addresses a critical gap in breast cancer care. Expanding access to early screening tools is essential for reducing breast cancer morbidity and mortality, particularly in regions where advanced imaging modalities are not readily available.

Corresponding author: Majd Oteibi, MD, DHSc, MAS, CCRP, FRSPH

Affiliations: Dr. Oteibi is the CEO & Founder of Validus Institute Inc., PT Associate Professor at National University, affiliated with Drexel University, affiliated with the University of California San Diego, and the University of California, Riverside.

Dr. Oteibi is the founder of Validus Institute Inc. and a clinical researcher with over 20 years of experience leading translational research at the intersection of women’s health, biomedical engineering, and artificial intelligence. Her research focuses on the development of innovative machine learning–enabled medical device technologies for early breast cancer detection aimed at advancing precision medicine and improving accessibility and patient care delivery.

Her current research focuses on women health, maternal and child health and breast cancer research. It integrates advanced breast phantom modeling with AI-assisted point-of-care ultrasound (POCUS) to enhance diagnostic accuracy, clinician training, and the accessibility of breast cancer screening. Dr. Oteibi has extensive experience with NIH grant submissions and has led and contributed to multidisciplinary collaborations involving clinicians, engineers, and academic researchers. She serves as a peer reviewer for multiple reputable scientific journals and is an accomplished speaker, having presented her work at academic institutions and scientific forums both nationally and internationally. Her research is guided by a strong commitment to reducing breast cancer metastasis and expanding access to early diagnostic technologies in low-resource and rural settings and improving patient care and finding innovative ways to improve women health.