###### EFFICIENT AUTO ON OFF WATER SYSTEM IN WATER TANKS

# Introduction

The Efficient Auto On-Off System in Water Tanks is designed to revolutionize the way water levels are managed in tanks. This innovative paper encompasses three distinct modes to cater to diverse user needs. The manual mode provides a straightforward, user-controlled operation, while the automatic mode introduces a layer of intelligence for hands-free management. In the automatic mode, the system diverges into two sub-modes: one with Wi-Fi connectivity and the other without. The non-Wi-Fi mode relies on RF (Radio Frequency) technology, employing receivers and transmitters to automatically regulate the water level in the tank. This mode ensures efficiency without the need for constant user intervention, making it particularly useful in scenarios where Wi-Fi connectivity might be limited.

The inclusion of Wi-Fi connectivity enhances the paper's capabilities by enabling users to interact with the system remotely. Through a dedicated mobile application, users can monitor the water level in real-time and exercise precise control. The ability to set thresholds, specifically above and below 50%, adds a layer of customization, allowing users to tailor the system to their unique requirements. At the heart of this intelligent system is the NodeMCU microcontroller, a pivotal component responsible for orchestrating the seamless transition between Wi-Fi and non-Wi-Fi modes. This microcontroller acts as the brain of the system, dynamically adapting to the prevailing connectivity conditions to optimize performance.

To provide users with comprehensive feedback, the paper incorporates an OLED display in the automatic mode. This display serves as a visual interface, presenting crucial information about the water level, mode of operation, and other relevant details. In summary, the Efficient Auto On-Off System in Water Tanks merges advanced technologies, including RF and Wi-Fi, with user-friendly controls to deliver an intelligent, automated solution. The paper's ability to adapt to different connectivity scenarios and offer remote control through a mobile application positions it as a forward-thinking and efficient water management system. Beyond its operational modes, the paper boasts a sophisticated yet user-friendly interface. The incorporation of RF technology in the non-Wi-Fi automatic mode exemplifies a robust, low-power communication method for seamless water level control. This is especially advantageous in environments where Wi-Fi signals may be unreliable or unavailable.

The Wi-Fi-enabled automatic mode expands the paper's utility, allowing users to harness the power of the internet for remote monitoring and control. The mobile application acts as a virtual control panel, providing real-time updates on the water level status and permitting users to intervene precisely when needed. The ability to set thresholds ensures a customizable experience, aligning the system with specific user preferences and water usage patterns. The NodeMCU microcontroller not only facilitates connectivity but also manages the synchronization of data between different components. Its role in dynamically switching between Wi-Fi and non-Wi-Fi modes underscores the paper's adaptability, making it suitable for a wide range of scenarios and user requirements.

Furthermore, the integration of an OLED display in the automatic mode elevates user interaction by providing instant visual feedback. Users can easily interpret information about the current water level, operational mode, and any relevant alerts, enhancing the overall user experience.

- LITERATURE SURVEY

The Efficient Auto On-Off System in Water Tanks encompasses a broad exploration of various domains to glean insights shaping the paper's design and functionality. Examination of studies on water tank systems, covering both manual and automated control methods, establishes a foundational understanding of existing approaches. Investigation into RF technology in water systems aids in identifying potential solutions for remote sensing and communication, particularly valuable for non-Wi-Fi scenarios where hands-free water level control is essential. Simultaneously, exploration of research on Wi-Fi-based water management systems provides guidance on enabling remote access and user interaction, aligning with the paper's objective of delivering a comprehensive solution. A detailed examination of the applications of microcontrollers, specifically NodeMCU, in analogous automation papers facilitates a nuanced understanding of system design intricacies, contributing to effective integration.

The literature survey extends to studies discussing the integration of OLED displays in automated systems, offering insights into best practices for user interface design and real-time information feedback. Research on energy-efficient designs is indispensable for optimizing power consumption, ensuring prolonged operation, and aligning with sustainability objectives. Furthermore, delving into mobile application-controlled systems yields valuable insights into considerations for user interface design and functionalities related to remote monitoring and control. A comprehension of automation logic in water systems and studies focusing on threshold optimization contributes to the development of an intelligent water level regulation system.

Acknowledging the paramount importance of paper documentation, the literature survey encompasses effective documentation practices and testing methodologies for electronic systems. This thorough exploration serves as a knowledge repository, guiding the Efficient Auto On-Off System in Water Tanks towards well-informed decision-making, successful implementation, and alignment with established best practices in the field. An exploration of supplementary sources provides insights into emerging trends and cutting- edge technologies relevant to water level management and automation. Investigating recent publications and industry reports allows for the incorporation of the latest advancements in RF technology, Wi-Fi connectivity, microcontroller applications, and energy-efficient designs. This supplementary literature survey aims to capture the most up-to-date methodologies, ensuring that the Efficient Auto On-Off System in Water Tanks aligns with the forefront of technological innovation. Additionally, by delving into recent case studies and real-world implementations, the paper can benefit from practical insights and lessons learned, contributing to the refinement of system design and performance.

- EXISTING SYSTEM

Existing Systems in Water Level Management:

    - Automatic Water Level Controller Systems:

      - Several commercially available automatic water level controller systems integrate sensors and microcontrollers to regulate water levels in tanks. These systems often include user- adjustable thresholds and may utilize wired or wireless communication for remote monitoring.

    - IoT-Based Water Tank Monitoring Systems:

      - Internet of Things (IoT) has influenced water tank management with smart monitoring systems. These solutions leverage sensors, microcontrollers, and cloud connectivity to provide real-time data and control options through mobile applications.

    - Wireless Water Level Monitoring Systems:

      - Wireless water level monitoring systems utilize technologies like RF, Zigbee, or LoRa for communication. These systems offer remote monitoring capabilities, enabling users to receive alerts and track water levels without direct physical access.

    - Smart Water Tank Systems with Mobile Apps:

      - Some existing systems integrate mobile applications for user-friendly interaction. These apps allow users to monitor water levels, set thresholds, and receive notifications. Integration with Wi-Fi or cellular networks facilitates remote control.

    - Sensor-Based Water Overflow Prevention Systems:

      - To prevent water overflow, sensor-based systems are available that detect high water levels and trigger automatic shutoff mechanisms. These systems are designed to prevent wastage and potential damage caused by overflowing tanks.

    - Solar-Powered Water Level Management Systems:

      - Solar-Powered Water Level Management Systems: With a focus on sustainability, solar-powered water level management systems harness solar energy for powering sensors, microcontrollers, and communication modules. These systems contribute to energy efficiency and environmental sustainability.

    - Industrial Water Tank Automation Systems:

      - In industrial settings, specialized water tank automation systems are prevalent. These systems often incorporate advanced control logic, redundancy features, and industrial-grade sensors for precise and reliable water level management.

    - Community-Based Water Monitoring Networks:

      - In certain regions, community-based water monitoring networks have been established. These networks may include multiple interconnected sensors in various water tanks, providing a comprehensive approach to managing water resources at a larger scale.

By examining these existing systems, the Efficient Auto On-Off System in Water Tanks can draw inspiration and insights, ensuring alignment with industry standards and leveraging successful features from established solutions.

## PROPOSED SYSTEM

The proposed Efficient Auto On-Off System in Water Tanks presents a forward-thinking solution for the management of water levels, combining versatility, user-friendly interfaces, and operational efficiency. The system offers a dual-mode approach, allowing users to either manually control water levels or opt for an automatic mode that intelligently adapts to the availability of Wi-Fi connectivity. In the automatic mode, the system distinguishes between scenarios with and without Wi-Fi access. In the absence of Wi-Fi, the mechanism seamlessly operates using RF technology, ensuring reliable communication for hands-free water level control. When connected to Wi-Fi, the system opens up a range of possibilities for remote monitoring and control through a dedicated mobile application. This Wi-Fi-enabled mode empowers users to regulate water levels with precision, set customized thresholds, and receive real-time updates on their mobile devices.

At the heart of the system is the NodeMCU microcontroller, a crucial component that orchestrates the entire operation. This microcontroller dynamically manages transitions between different modes, optimizing connectivity and ensuring the system's adaptability to varying conditions. The inclusion of an OLED display in the automatic mode enhances user interaction by providing instant visual feedback on water levels and system status. Users have the flexibility to customize threshold settings, allowing the system to respond intelligently to specific water level conditions.

Energy efficiency is a key focus, with the system designed for low-power operation to prolong its functionality. The integration of RF and Wi-Fi connectivity options not only ensures reliable communication but also caters to different environmental scenarios, making the system robust and adaptable. The overall objective of the proposed system is to deliver a comprehensive, intelligent, and sustainable solution for water tank management. By aligning with modern technological trends and addressing user expectations for remote control and real-time monitoring, the paper aims to provide an efficient and user-friendly water level management

###### WORKING:

The Efficient Auto On-Off System in Water Tanks represents a cutting-edge solution for intelligent water management. This system incorporates three modes—Manual, Without WiFi Auto, and With WiFi Auto—offering users versatile control options. In Manual mode, users have direct command over the water pump, while Without WiFi Auto mode utilizes RF technology for automated control based on real-time water level monitoring. With WiFi, Auto mode enhances automation by introducing remote control through a dedicated mobile application. The NodeMCU microcontroller orchestrates these functionalities, ensuring seamless operation, and an OLED display provides real-time insights. This system harmonizes. Reliability, adaptability, and user- centric features, setting a new standard for efficient and responsive water tank management.

Certainly, let’s delve even further into the intricate details of the Efficient Auto On-Off System in Water Tanks:

    - Manual Mode:

      - In manual mode, users have physical control over the water pump operation.

      - This mode is crucial for situations where immediate adjustments are necessary, allowing users to respond to unexpected changes in water usage or supply.

      - Manual control can be facilitated through tactile switches or a user-friendly interface, providing a seamless experience for users who prefer hands-on control.

    - Auto Mode:

- Without WiFi Mode:

- The RF transmitter continuously emits signals indicating the water level in the tank.

- The RF receiver, connected to the NodeMCU, captures these signals at regular intervals, ensuring real-time monitoring.

- The NodeMCU employs a predefined threshold (e.g., 50%) to determine whether the water level is above or below the desired level.

- If the water level crosses this threshold, the NodeMCU triggers the water pump to either start or stop, maintaining an optimal water level without user intervention

    - WiFi Mode:

- The NodeMCU, when connected to a WiFi network, opens up additional capabilities.

- While the RF system continues monitoring, the NodeMCU simultaneously checks for user commands through the mobile application.

- The dedicated mobile app serves as a remote control, allowing users to set specific preferences such as whether the water pump should activate when the water level is above or below 50%.

- This two-tiered monitoring system (RF-based and mobile app) enhances the system’s reliability and adaptability, combining the robustness of RF technology with the convenience of remote control.

    - NodeMCU Control:

- The NodeMCU functions as the system’s control center, orchestrating various components for seamless operation.

- During startup, the NodeMCU checks for WiFi connectivity. If WiFi is available, it seamlessly transitions into WiFi mode; otherwise, it operates in without WiFi mode.

- The RF receiver continuously streams data to the NodeMCU, which processes this information using the predefined thresholds.

- Decision-making by the NodeMCU is rapid and efficient, ensuring timely responses to changes in water levels and user commands.

In WiFi mode, the NodeMCU establishes communication with the mobile app, facilitating a dynamic exchange of information and control commands

    - Operation Flow:

- The system initiates by assessing WiFi connectivity, determining whether it should operate in WiFi or without WiFi mode.

- The RF system continuously monitors the water level, providing a redundant layer of control.

- The NodeMCU, acting as the brain of the system, evaluates the water level against predefined thresholds and user-defined preferences.

- Based on this evaluation, the NodeMCU commands the water pump to start or stop, maintaining the water level within the desired range.

- If in WiFi mode, the NodeMCU seamlessly integrates mobile app commands, allowing users to remotely control the system. This integration is reflected on the OLED display, providing users with real-time feedback on the system’s status.

- RESULT AND DISCUSSION

The ECE AUTO_PUMP paper has not only been developed with precision but has also undergone rigorous real-time testing, resulting in a seamlessly functioning application for the efficient automation of water systems in tanks. This discussion delves into the paper's testing procedures, results, and broader implications.

Testing Procedures:

- User Authentication: The paper prioritized security, and testing validated the effectiveness of the username and password login system, ensuring only authorized access.

- Control Motor Functionality: Extensive testing was conducted to fine-tune the app's ability to actively manage the water system. This included meticulous checks to guarantee precise control above 50% and below 50%, optimizing motor operation.

- Monitor Motor Feature: Real-time monitoring was a critical aspect of the paper. Thorough testing validated the app's capacity to provide accurate and instant updates on the water system's status, empowering users with timely information.

The real-time testing phase was a resounding success, with the application consistently delivering positive outcomes across all key functionalities. The paper showcased high performance, responsiveness, and accuracy in reflecting the intricacies of real-world water system dynamics.

Benefits of Real-Time Testing:

Validation of Functionality: The testing phase served as a robust validation process, ensuring the accurate operation of both motor control and monitoring features.

User Experience Assurance: Real-time testing provided valuable insights into the app's behaviour during live use, ensuring a seamless and user-friendly experience.

Optimized Performance: The paper's real-time testing confirmed its efficiency and reliability under dynamic conditions, a crucial factor in ensuring its practical viability.

Discussion:

The success of the real-time testing phase not only speaks to the technical prowess of the ECE AUTO_PUMP paper but also underscores its potential impact. Beyond the intricacies of motor control and monitoring, the application promises to contribute significantly to the sustainable management of water resources. The seamless integration with Google Firebase ensures a robust and scalable solution, setting the stage for broader applications in water resource management.

- CONCLUSION

The success of the real-time testing phase not only speaks to the technical prowess of the ECE AUTO_PUMP paper but also underscores its potential impact. Beyond the intricacies of motor control and monitoring, the application promises to contribute significantly to the sustainable management of water resources. The seamless integration with Google Firebase ensures a robust and scalable solution, setting the stage for broader applications in water resource management .In conclusion, the ECE AUTO_PUMP paper, backed by successful real-time testing, stands as a testament to effective development and meticulous quality assurance. The paper not only fulfills its immediate purpose but also opens avenues for broader applications in the realm of water resource optimization and efficiency.

- REFERENCES

- E.T. Layton Jr, Technology as knowledge, Technology and culture. 15 (1974) 31-41.

- D’Ausilio, Arduino: A low-cost multipurpose lab equipment, Behavior research methods. 44 (2012) 305-313.

- S.V. Devika, S. Khamuruddeen, S. Khamurunnisa, J. Thota, K. Shaik, Arduino based automatic plant watering system, International Journal of Advanced Research in Computer Science and Software Engineering. 4 (2014) 449-456.

- S. Nallani, V.B. Hency, Low power cost effective automatic irrigation system, Indian Journal of Science and Technology, 8 (2015) 1.

- G. Bitella, R. Rossi, R. Bochicchio, M. Perniola, M. Amato, A novel low-cost open-hardware platform for monitoring soil water content and multiple soilair-vegetation parameters, Sensors. 14 (2014) 19639-19659.

- Mashilkar, P. Kumar, A. Chawathe, V. Dabhade, V. Kamath, G. Patil, Automated bottle filling system, International Research Journal of Engineering and Technology (IRJET). 3 (2016) 357-361.