Current Perspectives on Analytical Method Validation of Empagliflozin: A Comprehensive Review

Lalit Bhoye1*, Dr. Uday A. Deokate2, Vijay Lokhande3, Muskan Mulla4, Vaishnavi Punase5, Vinod Kulkarni6, Govind Kokani7

1,3,4,5,6Student, Department of Pharmaceutical Chemistry, Government college of pharmacy, karad

2Associate Professor, Department of Pharmaceutical Chemistry, Government college of pharmacy, karad

7Department of Pharmaceutics, Government College of Pharmacy, Karad

ABSTRACT

Empagliflozin is an oral hypoglycemic drug belonging to the class of SGLT2 inhibitors. It acts on transporters in the proximal tubules of the kidneys to reduce blood glucose by promoting glucose excretion in the urine. This review examines various analytical method development strategies for Empagliflozin, with a focus on Quality by Design (QbD) approaches.

Keywords: Empagliflozin, Antidiabetic Drug, Analytical Method, QbD, ICH.

INTRODUCTION

The development and validation of analytical methods are fundamental to pharmaceutical research development. Choosing the right method requires taking into account several key factors, such as accuracy precision, sensitivity, selectivity, robustness, and ruggedness.

Empagliflozin is an oral glucose-lowering drug that was approved and came into clinical use in 2014. (Ndefo, U.A. (2015) It belongs to the sodium-glucose cotransporter 2 (SGLT2) inhibitor group. (Chen, L.H. (2013), (Scheen, A.J. (2014) These medications introduced for the treatment of the type 2 diabetes mellitus (T2DM). (Chawla, G. (2019)   By potently blocking glucose reabsorption in the proximal tubule, it increases urinary glucose excretion. (Chen, L.H. (2013), (Chatterjee, (2016) Among the currently used or tested SGLT2 inhibitors, empagliflozin has the highest selectivity for SGLT2 over sodium–glucose cotransporter 1 (SGLT1). Benefits of empagliflozin administration reduction in body weight, blood pressure reduce & increase urinary excretion, Insuline resistance, Improve Glycemic control, Glucotoxicity reduction.

Different analytical techniques—including High-Performance Liquid Chromatography (HPLC), High Performance Thin-Layer Chromatography (HPTLC), UV-Visible spectrophotometry, and Liquid Chromatography–Mass Spectrometry (LC-MS) is widely used for its analytical capabilities. When combined with the appropriate measures. These techniques ensure accurate, precise, and reliable results, making them highly effective for method validation for routine quality control in pharmaceutical applications.

In analytical method consists of practical considerations, such as sample availability. The concentration of the analyte, time constraints, cost, and access to appropriate equipment also play a crucial role in this decision-making process.

Quality by Design (QbD)

The International Conference on Harmonisation (ICH) formulated recommendations for risk assessment, quality by design (QbD), and quality by review (Q8, Q9, and Q10) to address future needs. It is a novel approach to creating and evaluating high-quality pharmaceutical products. Today, developing and analyzing pharmaceutical products with quality features is an essential part of the modern approach.

While it is a significant option for enhancing product quality, implementing it on an industrial scale proves challenging. Establishing a design space and control strategy is fundamental to the quality by design approach. while ensuring repeatability and accuracy. Various mathematical models are employed to analyze mathematical data and generate a design space. (Patil AS, Pethe AM. (2013)

Quality is of paramount importance in the pharmaceutical industry. Instead of merely testing the final product, Quality by Design (QbD) is a modern approach that integrates quality into both the product and the process from the very start. (Vogt FG, Kord AS.(2011)

Drug Profile

| Drug | Empagliflozin |
| --- | --- |
| IUPAC formula | 4-(1-chloro-4-(β-D-glucopyranos-1-yl)-2-[4-((S)-tetrahydrofuran-3-yloxy) benzyl] phenyl) |
| Chemical Formula | C23H27ClO7 |
| Molecular Weight | 450. 91 g/mol |
| Dosage Form | 10 mg, 25mg (pale yellow, round, biconvex) |
| Administration Route | Oral |
| Partition coefficient (log P) | 1.7 |
| Dissociation constant | 12.57 |
| Melting Point | 151-1530c |

Marketed Formulation

Approved by the FDA in 2014, it is available in four formulations: Jardiance (empagliflozin), Glyxambi (empagliflozin and linagliptin), Synjardy (empagliflozin and metformin), and Synjardy XR (empagliflozin and extended-release metformin).

Structure of Empagliflozin

Various analytical methods have been reported for the determination of Empagliflozin

UV-Visible Spectroscopy

| Sr. No | Title | Description | References |
| --- | --- | --- | --- |
| 1. | Method Development and Validation of Empagliflozin in Bulk and Pharmaceutical Dosage Form using UV Spectroscopy | Solvent- Ethanol & Water Wavelength- 223nm Linearity- 1-30ug/ml Robustness- 0.20 Ruggedness- 0.03 R2- 0.998 | Shaik Bima Benazir, Jorige Archana (2021) |

Qbd Based

| Sr. No | Title | Description | References |
| --- | --- | --- | --- |
| 1 | The application of quality by design in the development of the liquid chromatography method to determine Empagliflozin in the presence of its organic impurities | Solvent- Acetonitrile:Water (72:28) %v/v Stationary Phase- column C18 (150*40 mm, 5 mm) Wavelength- 230nm | (Joanna Wittchckind Manoel, 2020). |

RP-HPLC

| Sr. No | Title | Description | References |
| --- | --- | --- | --- |
| 1 | RP-HPLC Method Development & Validation of Empagliflozin by using QbD Approach | Solvent- 0.05 M potassium dihydrogen orthophosphate buffer pH 3 and acetonitrile in a ratio of (40:60 v/v) Stationary Phase- C18 Segment Wavelength- 228nm Detector- PDA | Prerana Bhavsar, Subodh Gangurde (2025) |
| 2 | New validated RP-HPLC method for the estimation of empagliflozin in human plasma | Stationary Phase- C18 column (250 mm × 4.6 mm, 5 µm) Solvent- Methanol : acetonitrile, 50:50% v/v Wavelength- 270nm Flow Rate- 1.0 ml/min R2- 0.999 Detector- PDA | N. Padmaja, T. Desalegn, (2018) |
| 3 | Empagliflozin: RP-HPLC based analytical method development and validation | Stationary Phase- ODS Column Solvent- 0.1%trifluoroacetic acid solution:acetonitrile in a 70:30 (v/v) Wavelength- 224nm Flow Rate- 1.0 ml/min Linearity- 30ug/ml. R2- 0.999 Detector- PDA | Yogeshwari Jambhulkar, Nitu Madan (2024) |
| 4 | Analytical method development and validation of emphagliflozin by rp-hplc | Stationary Phase- C18 column Solvent- methanol and 0.05% acetic acid (75:25) v/v, pH 3.3–3.5) Wavelength- 224nm R2- 0.9995 |  |
| 5 | Development and Validation of an RP-HPLC Method for Determination of Empagliflozin in Empagliflozin Tablet | Stationary Phase- C18 (250 mm × 4.6 mm, 5 µm particle size) Solvent- 0.01 M NaH2PO4 (as buffer) and acetonitrile (60:40) %v/v Detection- 210nm R2- 0.999 | Dr. K M Khairul Alam, Tanbin Jahan Ferdousy (2023) |
| 6 | New analytical method development and validation of empagliflozin (anti-diabetic) drug by rp-hplc method in bulk and pharmaceutical dosage form | Stationary Phase- Agilent Eclipse plus C18 (250mm ×4.6, 5µm Solvent- Acetonitrile and Monopotassium phosphate buffer (45:55) %v/v Wavelength- 224nm R2- 0.9987 | Sarfaraj Ahamad Khan, Dr. Chandanam Sreedhar (2019) |

UPLC

| Sr. No | Title | Description | References |
| --- | --- | --- | --- |
| 1 | Development and Validation of UPLC Method for the Simultaneous Estimation of Saxagliptin and Dapagliflozin in Tablet Dosage Form | Stationary Phase- UPLC ethylene bridge (BEH) C18 1.7 m RP column Solvent- 0.1% OPA and CAN (40:60) %v/v PDA Detection- 254nm Flow Rate- 0.3ml/min | Madhavi, S., and A. P. Rani. (2017) |

HPTLC

| Sr. No | Title | Description | References |
| --- | --- | --- | --- |
| 1 | Stability indicating HPTLC method development and validation for determination of empagliflozin in bulk drug and tablet dosage form | Stationary Phase- precoated with silica gel 60 F254 Solvent- Chloroform: Methanol: Glacial acetic acid (8.5: 1.5: 0.2, v/v/v) Densitometric detection- 225nm | Nutan B. Raut, Padmanabh B. Deshpande (2022) |
| 2 | A novel validated stability indicating method for quantification of Empagliflozin in bulk and marketed formulation by HPTLC applying experimental design approach | Stationary phase: Aluminum plate coated with silica gel. Solvent: Ammonium acetate (2%): Triethylamine : Isopropyl alcohol (4:1:5 %v/v/v) Detection: 237nm | Manojkumar Munde, Nilesh Kulkarni (2023) |
| 3 | Stability indicating assay method for estimation of Empagliflozin using HPTLC | Stationary Phase- silica gel 60 F254 Solvent- Chloroform, Toluene, Methyl alcohol, and Methanolic acid mixed in a proportion of (8:4:2:0.1% v/v/v/v) Densitometric detection- 225nm | Vineeta Khanvilkar, Gayatri Vinchurkar (2025) |

LC-MS

| Sr. No | Title | Description | References |
| --- | --- | --- | --- |
| 1 | Development and validation of empagliflozin in human plasma using nevirapine as internal standard by liquid chromatography-tandem mass spectrometry. | Stationary Phase- Phenomenex Synergi, 4µm,4.6×75mm Solvent- mixture of 5mM Ammonium Acetate buffer with 0.1% Formic Acid: Acetonitrile (50:50 v/v) R2- 0.999 | Jagadeesh, M., & Kumar, (2022) |
| 2 | Derivatization Method as a Residual Solvent of Acetic Acid by GC-MS Method in Empagliflozin Drug Substance: Development and Evaluation | Stationary Phase- Column: Agilent Technologies, Elite 5-MS, 30mm X 0.25 mm, 1.0-micron Solvent- Diluent: Methanol Source energy: 70eV IR and 1HNMR. | Sushil Kumar Singh, Amol S Gaikwad (2025) |

Analytical Method Validation

Analytical method validation is the process of demonstrating that analytical procedures are suitable for their intended use. (Prabh Simran Singh (2011) More specifically, analytical method validation involves generating documented proof that a specified method consistently yields accurate test results to assess a product against its defined specifications and quality attributes. The method must be validatable, transferable, robust, reliable, accurate, and precise to support daily activities within the Quality Control environment. The method should not proceed to the validation phase until it is fully developed. Validation experiments must be conducted and documented using qualified and calibrated instrumentation and equipment. (Ravisankar P (2014)

The primary aim of any pharmaceutical manufacturing unit is to consistently produce medicines of the required quality at the most economical cost (Shushila DC, Deepa MD (2022) . The role of Validation is crucial, as it ensures reliable and repeatable outcomes for both routine analysis and stability testing. This has become increasingly important in the field of quality control and accreditation, particularly with the growing focus on dissolution, testing and impurity profiling in recent years (Nilam B, Vijaya B (2024).

As defined by the U.S. Food and Drug Administration (FDA), validation refers to a process of production and process control intended to confirm that drug products consistently maintain their identity, strength, quality, and purity.  FDA guidelines issued in May 1987, a validation dossier must contain all the necessary data and testing procedures that demonstrate the system and process comply with established requirements (Jaha SM (2017).

The primary purpose of method validation is to demonstrate that an analytical method performs as intended, giving results that are accurate, reliable, and consistent. Validation of analytical methods is carried out in line with the International Council for Harmonization (ICH) guidelines, specifically ICH Q2 (Indian Pharmacopoeia (IP), (2022)

Type of validation and its purpose. (Toomula N, Kumar A, Kumar SD, Bheemidi VS. (2011)

| Type of validation | Purpose/when required |
| --- | --- |
| New analytical procedure | For a newly developed method |
| Verification of compendial procedure | Confirm suitability of pharmacopeial methods |
| Method transfer | When method is transferred to another laboratory |
| Post-change validation | Significant changes to an existing method |
| Ongoing performance verification | To confirm continue suitability. |

Parameters of Method Validation

| Parameter | Description (ICH) | Evaluation Method | Acceptance criteria of HPLC |
| --- | --- | --- | --- |
| Specificity | Ability to measure analyte in presence of impurities | Blank, placebo, degraded samples | No interferance |
| Accuracy | Nearest true value | %RSD (intra/inter-day) | % Recovery- 98-102% % RSD of recovery concentration must be < 2 |
| Precision | Degree of repeatability | Recovery studies (3 levels, triplicate) | RSD<2% |
| Linearity | Proportional response vs concentration | Calibration curve (r² ≥ 0.999) | Coefficient correlation – NLT 0.999 |
| LOD | Lowest detectable amount | 3.3 × σ/S | S/N > 2 or 3 |
| LOQ | Lowest quantifiable amount | 10 × σ/S | S/N > 10 |
| Range | Working concentration interval | Based on linearity, accuracy | - |
| Robustness | Resistance to small variations | Change pH, flow rate, temperature | RSD < 2% |
| Ruggedness | - | - | Should meet all system suitability parameter |

Quality By Design (Kadam VR, Patil M, (2017)

The USFDA has published specific QbD guidelines for immediate and extended-release drug products and biotechnology products. (Fukuda IM, Pinto CFF, (2018) Regulatory authorities continue to recommend the implementation of ICH quality guidelines such as Q8, Q9, Q10 and Q11. The concept of "Quality by Design" (QbD) was proposed as an approach that encompasses a better scientific understanding of critical processes and product quality, the design of controls and tests based on Scientific limitations of understanding in the field of development and use. (Beg S, Hasnain MS, (2019)

ICH guidelines Q8, Q9 and Q10 related to drug development, quality risk management and quality system structure by QbD.

Benefits of QbD (Waterman KC. (2011).

- QbD helps to improve the quality of the product and easy understanding of the process..

- To develop the quality of products.

- Good development decisions.

Qbd Approaches to Analytical Method Validation

CONCLUSION

This review examines various analytical methods developed for estimating empagliflozin. Analytical methods utilizing RP-HPLC and QbD is a well-established approach that yields more accurate and appropriate results. Future studies should prioritize the development of analytical methods that are both environmentally sustainable and cost-efficient without compromising their high performance.

Future Aspect

Future research on Empagliflozin Method Development hyphenated techniques such as GC–MS/MS and LC–MS/MS provide superior sensitivity and selectivity, enabling detection of analytes at trace and ultra-trace levels, which is essential for impurity profiling and degradation studies and UPLC is expected to significantly advance analytical method development and validation due to its superior speed, resolution, and sensitivity compared to conventional HPLC.

Significantly enhance detection sensitivity and reduce analysis time then bioanalytical development also can be done.

REFERENCES

1. Ndefo, U.A.; Anidiobi, N.O.; Basheer, E.; Eaton, A.T. (2015). Empagliflozin (Jardiance): A Novel SGLT2 Inhibitor for the Treatment of Type-2 Diabetes. Pharm. Ther. 40, 364–368.

2. Chen, L.H.; Leung, P.S. (2013). Inhibition of the sodium glucose co-transporter-2: Its beneficial action and potential combination therapy for type 2 diabetes mellitus. Diabetes Obes. Metab. 15, 392–402.

3. Scheen, A.J. (2014). Pharmacokinetic and Pharmacodynamic Profile of Empagliflozin, a Sodium Glucose Co-Transporter 2 Inhibitor. Clin. Pharmacokinet. 53, 213–225.

5. Chawla, G.; Chaudhary, K.K. (2019). A complete review of empagliflozin: Most specific and potent SGLT2 inhibitor used for the treatment of type 2 diabetes mellitus. Diabetes Metab. Syndr. Clin. Res. Rev. 13, 2001–2008.

6. Chatterjee, S.; Khunti, K.; Davies, M. (2016). Optimizing management of glycaemia. Best Pract. Res. Clin. Endocrinol. Metab. 30, 397–411.

7.  Patil AS, Pethe AM. (2013). Quality by Design (QbD): A new concept for development of quality pharmaceuticals. Int J Qual Assur.  4: 13-19

8. Vogt FG, Kord AS.(2011). Development of quality by design analytical methods. J Pharm Sci. 100: 797-812.

9. Shaik Bima Benazir, Jorige Archana, Mogili Sumakanth (2021). Method Development and Validation of Empagliflozin in Bulk and Pharmaceutical Dosage Form using UV Spectroscopy. Asian Journal of Pharmaceutical Analysis. Vol 11(2): 123-126.

10. Joanna Wittchckind Manoel, Martin Steppe (2020). The application of quality by design in the development of the liquid chromatography method to determine Empagliflozin in the presence of its organic impurities. Royal soci. of chem, 10: 7313-7320.

11. Prerana Prakash Bhavsar, Subodh Anil Gangurde (2025). RP-HPLC Method Development & Validation of Empagliflozin by using QbD Approach. RJPT, Vol 18(11).

12. N. Padmaja, Tegene Desalegn (2018). New validated RP-HPLC method for the estimation of empagliflozin in human plasma. IJPSR, Vol. 9(11), 4885-4889.

13. Yogeshwari Jambhulkar, Nitu Madan (2024). Empagliflozin: RP-HPLC based analytical method development and validation. European journal Pharmaceutical and Medical Research, 11(12):291-297.

14. https://doi.org/10.71152/y05skn43 (2025 )Analytical method development and validation of emphagliflozin by RP-HPLC . Int. Jour. Of pharma Medix india. 3(3):

15. Dr. K M Khairul Alam, Tanbin Jahan Ferdousy (2023). Development and Validation of an RP-HPLC Method for Determination of Empagliflozin in Empagliflozin Tablet. International Journal of Innovative Science and Research Technology, 8(3):3686-3693.

16. Sarfaraj Ahamad Khan, Dr. Chandanam Sreedhar (2019). New analytical method development and validation of empagliflozin (anti-diabetic) drug by rp-hplc method in bulk and pharmaceutical dosage form. IJRAR, 6(1):475-483.

17. Madhavi, S., and A. P. Rani. (2017). Development and Validation of UPLC Method for the Simultaneous Estimation of Saxagliptin and Dapagliflozin in Tablet Dosage Form. Asian Journal of Pharmaceutical and Clinical Research, 10(11): 247–251.

18. Nutan B. Raut, Padmanabh B. Deshpande (2022). Stability indicating HPTLC method development and validation for determination of empagliflozin in bulk drug and tablet dosage form, ejpmr, 2022, 9(7), 443-448.

19. Vineeta Khanvilkar, Gayatri Vinchurkar (2025). Stability indicating assay method for estimation of Empagliflozin using HPTLC, JMPACO, (14)1: 7017-3023

20. Manojkumar Munde, Nilesh Kulkarni. (2023). A novel validated stability indicating method for quantification of Empagliflozin in bulk and marketed formulation by hptlc applying experimental design approach. Indian Drugs, 60: 66-75.

21. Jagadeesh, M., & Kumar, G. (2022). Development and validation of empagliflozin in human plasma using nevirapine as internal standard by liquid chromatography-tandem mass spectrometry. International Journal of Health Sciences, 6(S6), 272–281. https://doi.org/10.53730/ijhs.v6nS6.9683

22. Sushil Kumar Singh, Amol S Gaikwad (2025). Derivatization Method as a Residual Solvent of Acetic Acid by GC-MS Method in Empagliflozin Drug Substance: Development and Evaluation, RJPT, 18(6).

23. Prabh Simran Singh, Gagan Shah, (2011). Analytical Method Development and Validation, Journal of Pharmacy Research, 4(7), 2330-2332.

24. Ravisankar P, Gowthami S, and Devala Rao G, (2014). A review on analytical method development, Indian journal of research in pharmacy and biotechnology, 2, 1183-1195.

25. Shushila DC, Deepa MD (2022). Analytical methods validation: a brief review. WJARR. ;16(2):10–12

26. Nilam B, Vijaya B (2024). A review on analytical methods validation. IJSRST. 11(1):1–4

27. Jaha SM (2017). Validation in pharmaceutical industry: cleaning validation – a brief. Int J Pharm Sci. 5(1):1–3.

28. Indian Pharmacopoeia (IP), (2022), Volume IV, General Chapter: 41 — Validation of Analytical Procedures.

29. Toomula N, Kumar A, Kumar SD, Bheemidi VS. (2011). Development and validation of analytical methods for pharmaceuticals. J Anal Bioanal Tech. 2:127.

30. Kadam VR, Patil M, Pawar VV, Kshirsagar S. (2017).  A review on: Quality by design (QbD). Asian Journal of Research in Pharmaceutical Sciences. 7(4):197-204.

31. Fukuda IM, Pinto CFF, Moreira CdS, Saviano AM, Lourenço FR. (2018). Design of experiments (DoE) applied to pharmaceutical and analytical quality by design (QbD). Brazilian journal of pharmaceutical sciences. 54: e01006.

32. Beg S, Hasnain MS, Rahman M, Swain S.(2019). Introduction to quality by design (QbD): fundamentals, principles, and applications.  Pharmaceutical quality by design: Elsevier; p. 1-17.

33. Waterman KC. (2011). The application of the accelerated stability assessment program (ASAP) to quality by design (QbD) for drug product stability. AAPS PharmSciTech. 12:932-7.