# An Explainable Deep Learning Framework for Automated Brain Stroke Detection Using MRI Images

Prof. N.R.Sonawane Information Technology PVG’s COETM, Pune, India

| Kaushik Bharasdiya | Malhar Suryawanshi | Ayush Dhar | Swayam Malusare |
| --- | --- | --- | --- |
| Information Technology | Information Technology | Information Technology | Information Technology |
| PVG’s COETM, Pune, India | PVG’s COETM, Pune, India | PVG’s COETM, Pune, India | PVG’s COETM, Pune, India |

Abstract Brain stroke is a dangerous neurological condition that can kill you. Early and accurate diagnosis is very important for lowering the risk of death and long-term disability. This paper introduces NeuroScan+, an intelligible deep learning framework for the automated detection and classification of brain strokes from MRI images. The suggested system uses image preprocessing methods like converting to grayscale, thresholding, resizing, and normalization to make images better and help with reliable feature extraction. A Convolutional Neural Network (CNN) sorts scans into three groups: normal, hemorrhagic stroke, and ischemic stroke. To make clinical interpretation easier, Gradient-weighted Class Activation Mapping (Grad-CAM) is used to make heatmaps that show areas of the brain that are affected by strokes, and morphological operations help find areas of lesions. The model's overall accuracy was 94%, according to experimental results. stroke-related abnormalities. The proposed framework offers a practical and interpretable decision-support tool that can assist healthcare professionals in faster and more consistent stroke diagnosis.

Keywords: Brain Stroke Detection; Convolutional Neural Network (CNN); Deep Learning; Medical Image Processing; MRI; CT Scan; Grad-CAM; Explainable Artificial Intelligence System.

# I.INTRODUCTION

Healthcare is one of the most critical sectors where technological advancements can save lives through early and accurate diagnosis. Among the numerous medical conditions, brain stroke has emerged as a major cause of mortality and long-term disability globally. According to the World Health Organization (WHO), millions of people suffer from strokes annually, and timely detection plays a crucial role in reducing complications and fatalities. Stroke diagnosis typically involves the analysis of medical images such as CT or MRI scans, which requires expertise and careful interpretation. However, manual diagnosis can be slow, subjective, and prone to human error. The advent of Artificial Intelligence (AI), particularly Machine Learning (ML) and Deep Learning

(DL), has revolutionized the medical field by providing tools capable of learning complex patterns from vast datasets. Deep learning models, especially Convolutional Neural Networks (CNN), have proven highly effective in image analysis and feature extraction, enabling systems to detect intricate patterns from brain scans that might not be visible to the human eye. The CNN model processes image datasets to detect brain strokes, This approach enhances diagnostic precision, reduces processing time, and provides a decision- support system for healthcare professionals, contributing to more timely and effective treatment.

# RELATED WORK

Recent research in medical diagnostics has increasingly focused on hybrid models that combine Convolutional Neural Networks (CNN) for enhanced disease prediction accuracy. CNNs are widely used for analyzing medical images such as MRI and CT scans to detect brain strokes. Studies have shown that integrating CNN’s feature extraction capabilities with SVM’s classification strength improves diagnostic precision and reduces computational complexity compared to single- model approaches. These hybrid frameworks demonstrate high accuracy—often above 90%—and offer reliable, automated tool.

# LITERATURE SURVEY

- 1.AI-Based Model for Brain Stroke Prediction : Objective: Predict brain stroke occurrence using machine learning techniques.

Method: Compared six ML classifiers — Random Forest (RF), Naïve Bayes (NB), SVM, KNN, AdaBoost, and Logistic Regression. Used the Kaggle Stroke Prediction dataset with SMOTE to balance data. RF achieved 95.23% accuracy.

- Deep Learning and AI in Action (2019–2023): Review on Stroke Detection and Rehabilitation:

Objective: Review AI and DL techniques for stroke detection and post-stroke care.

Method: Analyzed 130+ studies using architectures like CNN, RNN, GAN, YOLO, and DSCNN on datasets such as ISLES and ATLAS. Found AI can automate diagnosis and aid rehabilitation management.

- Ischemic Brain Stroke Detection using Logistic Regression

Objective: Detect ischemic stroke from MRI images efficiently.

Method: Used HSV color thresholding and binary image segmentation to extract lesion features (mean hue, area, variance). Classified using Logistic Regression — achieved 96% accuracy.

- Advanced Stroke Detection and Alert System using ML:

Objective: Provide real-time stroke prediction and alerting.

Method: CNN integrated with IoT sensors for health monitoring and real-time stroke detection. Alerts caregivers automatically when abnormalities are detected.

- Brain Stroke Detection using Multi-layered Deep Neural Network:

Objective: Classify brain strokes into hemorrhagic and ischemic types.

Method: Used an Alex Net-inspired Deep Neural Network with data augmentation and normalization on CT and MRI datasets — achieved 94–98% accuracy.

- Early Detection of Brain Stroke using ML Techniques: Objective: Identify early risk of stroke from patient attributes.

Method: Applied Logistic Regression, Random Forest, KNN, and SVM on clinical data (BP, glucose, BMI, etc.). Random Forest gave best performance.

- Disease Prediction Model using Deep Learning with Noise Resistance:

Objective: Develop robust AI model for noisy medical data.

Method: Proposed dynamic truncated loss and mutual entropy optimization to handle label noise in deep learning. Tested on stroke screening data with high accuracy. Machine Learning for Risk Prediction in COPD.

# DATASET

Dataset_MRI_Folder Contains three subfolders: Hemorrhagic

Ischemic

Normal

Each subfolder contains raw MRI brain images of patients. Normal _ Stroke Patient Details

Contains MRI Brain Scan images of different patients.

Stroke Classification Contains three subfolders:

Hemorrhagic (1500 images in training set) Ischemic (1500 images in training set) Normal (1500 images in training set)

Each subfolder contains processed MRI brain images of patients.

- METHODLOGY

The proposed system, NeuroScan+, is developed using a hybrid Artificial Intelligence framework that integrates Deep Learning and Machine Learning techniques for accurate medical diagnosis. The system consists of major analytical module:

1. Image-Based Brain Stroke Detection using Convolutional Neural Networks (CNN)

The methodology is designed to handle both unstructured medical imaging data and structured clinical data in parallel. This dual approach improves prediction accuracy and enhances real-world applicability in healthcare environments. Supervised learning techniques are applied in this module. In supervised learning, the model is trained using labeled datasets, where each input corresponds to a known output class. The objective is to learn a mapping function:

f(x) = y

where:

x represents the input features

y represents the corresponding output class label

- Brain Stroke Detection Using Convolutional Neural Network

  - Image Acquisition

The system accepts MRI or CT brain images uploaded by users through a web-based interface developed using the Django framework. Each image is securely stored and uniquely identified to prevent duplication.

  - Image Preprocessing

Medical images often contain noise, intensity variation, and irrelevant background details. Therefore, preprocessing is essential to enhance feature clarity and improve model performance.

The following steps are applied:

    - RGB Standardization

All images are converted to RGB format to maintain consistent channel structure.

    - Grayscale Conversion

The RGB image is converted into grayscale. This reduces computational complexity while preserving structural patterns of brain tissue.

Mathematically, grayscale intensity can be represented as: Gray=0.299R+0.587G+0.114B

This step highlights lesion regions more clearly.

    - Binary Thresholding

Binary thresholding is applied to enhance abnormal high- intensity regions.

Binary(x) = { 255,  x > T

0,	x <= T

Where:

x represents the pixel intensity value, and T denotes the predefined threshold value.

This improves stroke region contrast.

    - Image Resizing

All images are resized to 64 × 64 pixels to ensure uniform input size for the CNN model.

    - Normalization

Pixel values are scaled between 0 and 1:

X normalized= 255x

Normalization	improves	training	stability	and	faster convergence.

  - CNN Architecture

The Convolutional Neural Network extracts spatial and structural features automatically from the image.

The architecture consists of:

Convolutional layers (feature extraction) ReLU activation function

Max-Pooling layers Flatten layer

Fully connected dense layers Softmax output layer

The Softmax function converts logits into probability values: Softmax(zi) = e^zi / Σ j=1^n e^zj

Where:

= the input logit for class i

= total number of classes

= exponential function

= sum of exponentials of all logits

The model classifies images into three categories: Normal Brain

Hemorrhagic Stroke Ischemic Stroke

The predicted class is selected using:

Prediction = argmaxi (Pi)

Where:

represents the predicted probability of class .

argmax returns the index of the class with the highest probability.

- Explainable AI using Grad-CAM:

Medical AI systems must be interpretable. Therefore, Grad- CAM (Gradient-weighted Class Activation Mapping) is implemented.

Grad-CAM calculates the importance of feature maps in the last convolutional layer:

L^c Grad-CAM = RelU(Σk af A^k)

Where:

= Feature map of the	channel in the last convolutional

layer

= Gradient-based weight for class	corresponding to feature map

= Rectified Linear Unit activation function-

= Class-discriminative localization map for class C

The resulting heatmap highlights stroke-affected brain regions.

Morphological operations are applied to generate bounding boxes and contour outlines around detected lesion areas.

This increases clinical trust and interpretability.

# RESEARCH GAP

Although numerous studies have explored brain stroke detection  using  machine  learning  and  deep  learning

techniques, most existing systems rely primarily on single- model architectures and limited datasets. Many prior works employ Convolutional Neural Networks (CNNs) for stroke detection from MRI or CT images; however, they often focus only on classification accuracy without addressing key challenges such as data imbalance, feature optimization, and model generalisation.

Additionally, several studies lack robust preprocessing techniques for enhancing lesion visibility, which can affect detection performance. Issues related to limited dataset diversity, overfitting, absence of real-time implementation, and insufficient model interpretability also remain inadequately addressed. Furthermore, many models provide only binary classification results without clearly highlighting the affected regions, reducing clinical trust and transparency.

Therefore, there is a need for an enhanced brain stroke detection framework that integrates effective preprocessing, optimized CNN architecture, balanced data handling, and improved interpretability techniques to provide accurate and clinically reliable results.

# ANALYSIS

The proposed system — Brain Stroke Detection System (NeuroScan+) — was analyzed and tested through multiple modules combining Deep Learning (CNN). The analysis involved data preprocessing, model training, and performance evaluation on both medical imaging datasets (MRI/CT scans) and textual patient data (attributes like blood pressure, glucose level, BMI, and age).

  - Image Analysis (CNN Module)

Objective: Detect and classify brain strokes from MRI/CT scans.

Process: Images were pre-processed using OpenCV

— converted to grayscale, resized, and binary threshold to enhance edge and lesion visibility.

A Convolutional Neural Network (CNN) model was trained to extract spatial and structural patterns from the pre-processed images.

The CNN classified images into Stroke and Non- Stroke categories.

Results: The CNN achieved high detection accuracy (≈90–95%) in distinguishing stroke- affected scans.

The preprocessing steps improved clarity, reduced noise, and enhanced model convergence speed.

Architecture Flow:

- Image Acquisition – MRI or CT brain images are uploaded through a secure web-based interface for processing.

- .Image Preprocessing – The uploaded images undergo grayscale conversion, thresholding, resizing, and normalization to enhance quality and ensure uniform input.

- Feature Extraction (CNN) – A Convolutional Neural Network automatically extracts spatial and structural features from the pre-processed images.

Figure 1: Architecture Flow Diagram of model

- Classification – The fully connected layers and Softmax function classify the image into Normal, Hemorrhagic Stroke, or Ischemic Stroke.

- Explainability (Grad-CAM) – Grad-CAM generates heatmaps to highlight stroke-affected regions for better interpretability.

- Result Visualization – The final prediction, probability score, and highlighted lesion regions are displayed on the dashboard for clinical decision support.

# RESULTS AND DISCUSSION

The proposed Brain Stroke Detection Prediction System (NeuroScan+) successfully integrates Convolutional Neural Networks (CNN) and Support Vector Machines (SVM) to provide a unified diagnostic platform for both image-based and text-based medical data. The experiments were carried out using MRI/CT brain images for stroke detection

- CNN Results – Image-Based Stroke Detection

Figure 2 : Model accuracy graph

Convolutional Neural Network (CNN) model demonstrated strong capability in extracting meaningful

spatial features from MRI and CT brain scans. Through systematic preprocessing—such as grayscale conversion, binary thresholding, and normalization—the quality of the input images was significantly enhanced. These preprocessing steps improved contrast levels and increased the visibility of lesion areas, enabling the network to focus more effectively on abnormal regions.

The model achieved an overall accuracy of 94%, reflecting its reliability in distinguishing between normal brain tissue and stroke-affected regions.

An important observation from the experimental results is the CNN’s efficiency in identifying complex visual patterns that may not always be easily distinguishable through manual inspection. The automated detection process enhances diagnostic consistency and reduces dependency on subjective interpretation.

- System-Level Evaluation

The implemented web-based platform, built using Python (Django framework), OpenCV, and TensorFlow, provided a seamless user experience for uploading medical data and retrieving diagnostic results in real time. The testing phase validated all functional modules, including user authentication, image upload, and report generation.

Performance Metrics: Fast Processing: Real-time stroke prediction from uploaded MRI/CT images.

User Interface: Simple and intuitive, allowing non-technical medical users to operate.

Reliability: Consistent accuracy across different datasets and inputs.

- Discussion:

The proposed CNN-based framework demonstrates effective performance in detecting and classifying brain stroke from MRI and CT images. Preprocessing techniques such as grayscale conversion, thresholding, resizing, and normalization enhance feature representation and improve model stability. The CNN successfully extracts spatial features relevant to stroke-affected regions and classifies images into Normal, Hemorrhagic, and Ischemic categories.

Unlike conventional black-box models, the integration of Grad-CAM provides visual explanations through heatmaps, improving interpretability and clinical trust. The results indicate that combining automated feature learning with

explainable mechanisms strengthens the system’s applicability in real-world healthcare environments.

# LIMITATIONS

The proposed system requires a sufficiently large and diverse dataset to ensure generalization across different imaging conditions. Performance may decline when processing noisy or low-resolution scans. The CNN model is computationally intensive and may require high-performance hardware for efficient training and deployment. Additionally, the current implementation focuses on classification and basic localization, without providing detailed severity assessment or prognosis analysis.

# CONCLUSION AND FUTURE WORK

This paper presented NeuroScan+, an explainable deep learning framework for automated brain stroke detection using MRI and CT images. The CNN model effectively extracts discriminative features and classifies stroke types with high reliability, while Grad-CAM enhances interpretability by highlighting relevant brain regions.

Future work will focus on training with larger multi-center datasets to improve robustness and generalization. The incorporation of transfer learning, attention mechanisms, and cloud-based deployment can further enhance performance and scalability. Extending the system to include stroke severity estimation and early risk assessment would increase its clinical impact.

Future work will focus on enhancing model generalization by training on larger, multi-centre datasets to improve robustness across diverse imaging conditions. The incorporation of transfer learning and attention-based deep learning architectures may further optimize classification performance. Extending the framework to include stroke severity assessment and lesion volume estimation can increase its clinical utility. Additionally, cloud-based deployment and integration with hospital information systems will be explored to enable real-time and scalable clinical implementation.

# REFERENCES

- M. S. Hossain et al., “Artificial Intelligence-Based Model for Brain Stroke Prediction,” International Journal of Advanced Information Technology Science and Applications, vol. 12, no. 5, 2021.

- M. Malini and P. Krishna, “Hybrid Feature Selection and Classification Model for Stroke Prediction,” International

Journal of Advanced Trends in Information Technology Science and Engineering, vol. 11, no. 2, pp. 1118–1124, 2022.

- M. Hossain et al., “AI Model for Early Stroke Risk Detection,” Journal of Medical Imaging and Health Informatics, vol. 10, no. 4, 2020.

- J. B. Hossain et al., “Deep Learning and Artificial Intelligence in Action (2019–2023): A Review on Brain Stroke Detection, Diagnosis, and Intelligent Post-Stroke Rehabilitation Management,” Frontiers in Neuroscience, vol. 17, 2023.

- Journal of IEEE Emerging Trends in Engineering and Technology (JIEEE), “Stroke Detection and Alerting System Using CNN,” vol. 5, issue 2, 2020.

- arXiv preprint, “Robust Learning Under Label Noise for Stroke Screening,” arXiv:2406.16982v1, 2024.

- ACM Proceedings, “CNN for Brain Stroke Detection and Subtyping,” International Conference on Information Technology Science and Information Technology, 2023.

- M. S. Hossain et al., “Artificial Intelligence in Healthcare: Stroke Diagnosis and Prediction,” Elsevier Journal of Intelligent Systems, vol. 3, no. 2, 2022.