An Intelligent Cybersecurity Model for Smart Grid Protection Using Deep Learning 
Abstract
The modernization of electrical power systems through smart grid technology has significantly improved energy efficiency, real-time monitoring, automation, and demand-response capabilities. However, this transformation has also introduced serious cybersecurity vulnerabilities due to the integration of Internet of Things (IoT) devices, cloud computing platforms, Supervisory Control and Data Acquisition (SCADA) systems, and advanced communication networks. These interconnected components expose smart grids to a wide range of cyber threats, including false data injection attacks, denial-of-service attacks, ransomware infiltration, malware propagation, and unauthorized access to critical infrastructure.

This study presents an intelligent cybersecurity model for smart grid protection using deep learning techniques. The proposed framework integrates multiple neural network architectures—Convolutional Neural Networks (CNN), Recurrent Neural Networks (RNN), Long Short-Term Memory (LSTM) networks, and Autoencoders—to provide a comprehensive, adaptive, and real-time cyber defense mechanism. The system is designed to perform intelligent feature extraction, behavioral pattern recognition, anomaly detection, predictive threat analysis, and automated attack response.

The model was evaluated using benchmark datasets relevant to power system security and network intrusion detection. Experimental results demonstrate that the proposed approach achieves high detection accuracy, improved precision and recall, reduced false-positive rates, and significantly faster response times compared to traditional machine learning-based security models. The findings confirm that deep learning-based cybersecurity systems offer a highly effective and scalable solution for protecting modern smart grid infrastructures.
Keywords
Smart Grid Security, Deep Learning, Cybersecurity, Intrusion Detection, Artificial Intelligence, SCADA Security, Anomaly Detection, Power Systems Protection

Introduction 
The global energy sector is undergoing a profound transformation driven by the integration of digital technologies into traditional power systems. Smart grids represent the next generation of electrical power networks, incorporating advanced communication systems, intelligent sensors, automated control mechanisms, and real-time data analytics to enhance the efficiency, reliability, and sustainability of electricity distribution.

Unlike traditional power grids, which rely on centralized control and limited communication, smart grids operate through a highly interconnected and decentralized architecture. This architecture includes smart meters, IoT-enabled sensors, automated substations, renewable energy integration systems, and cloud-based monitoring platforms. These components continuously exchange data to optimize energy generation, distribution, and consumption in real time.

However, the same characteristics that make smart grids efficient and intelligent also make them highly vulnerable to cyber attacks. The extensive use of digital communication channels increases the attack surface available to malicious actors. Cybercriminals can exploit vulnerabilities in communication protocols, sensor nodes, control systems, and data transmission channels to disrupt power distribution or manipulate system operations.

Cyber attacks on smart grids can have severe consequences, ranging from localized power disruptions to large-scale blackouts affecting entire regions. More critically, attacks such as false data injection can manipulate sensor readings and mislead control systems into making incorrect operational decisions. Similarly, denial-of-service attacks can overwhelm communication channels, preventing operators from accessing critical system information.

Traditional cybersecurity mechanisms such as firewalls, encryption protocols, and rule-based intrusion detection systems were originally designed for conventional IT environments rather than highly dynamic and time-sensitive power systems. As a result, they struggle to detect sophisticated and adaptive cyber threats that target smart grid infrastructures.

Another major limitation of traditional systems is their reactive nature. Most conventional cybersecurity tools detect threats only after malicious activities have already occurred, leaving critical systems exposed during the attack window. Additionally, these systems often fail to scale efficiently in large, distributed environments like smart grids, where massive volumes of real-time data must be analyzed continuously.

Artificial intelligence and deep learning have emerged as powerful technologies capable of addressing these limitations. Deep learning models can process large-scale, high-dimensional datasets, automatically extract meaningful patterns, and identify subtle anomalies that are often invisible to rule-based systems. Their ability to learn hierarchical representations makes them particularly suitable for analyzing complex cyber-physical systems such as smart grids.

This study therefore proposes a comprehensive intelligent cybersecurity model based on deep learning techniques to enhance the protection of smart grid infrastructures. The model is designed not only to detect cyber threats but also to predict and prevent attacks before they cause significant damage.
Objectives of the Study 
The primary objective of this research is to design and implement an intelligent cybersecurity model capable of protecting smart grid infrastructures using advanced deep learning techniques.

The study specifically aims to develop a multi-layer neural network architecture that integrates Convolutional Neural Networks, Recurrent Neural Networks, Long Short-Term Memory networks, and Autoencoders. Each of these models plays a distinct role in enhancing cybersecurity performance, including spatial feature extraction, temporal behavior analysis, anomaly detection, and predictive classification.

Another important objective is to develop a robust data preprocessing and feature engineering pipeline capable of handling complex smart grid datasets. This includes cleaning noisy data, normalizing input features, encoding system attributes, and extracting relevant security-related indicators from raw network traffic.

The study also aims to design an intelligent anomaly detection system that can identify abnormal behaviors in smart grid operations. This includes detecting deviations in energy consumption patterns, unusual communication activities, and irregular control commands that may indicate cyber attacks.

Furthermore, the research seeks to implement a predictive cybersecurity mechanism that can anticipate potential attacks before they fully occur. This proactive capability enhances the resilience of smart grid systems by enabling early intervention.

The study also focuses on developing an automated response system capable of mitigating detected threats in real time. This includes isolating compromised nodes, blocking malicious traffic, triggering alerts, and updating security policies dynamically.

Finally, the model is evaluated using standard performance metrics to determine its effectiveness compared to existing machine learning and rule-based cybersecurity approaches.
Literature Review 
The evolution of modern power systems has witnessed a significant transition from traditional electrical grids to highly interconnected and digitally enabled smart grids. Unlike conventional grids, which operated in isolated and relatively secure environments, smart grids integrate advanced communication technologies, Internet of Things (IoT) devices, Supervisory Control and Data Acquisition (SCADA) systems, and cloud-based infrastructures. While this transformation has enhanced efficiency, reliability, and real-time monitoring capabilities, it has also introduced new cybersecurity vulnerabilities that were previously nonexistent in traditional power systems. As a result, smart grids are now exposed to a wide range of cyber-physical threats that can disrupt operations and compromise system stability.

Smart Grid Architecture

The architecture of the Smart Grid (SG) continues to attract significant research attention from academics, utility providers, technology organizations, and energy producers due to its complexity and evolving operational requirements. Various architectural frameworks have been proposed over the years, each designed to address specific functionalities, communication requirements, and operational characteristics within modern power systems. These architectures aim to improve energy efficiency, reliability, interoperability, and intelligent decision-making across power infrastructures.

Several studies have reviewed and proposed standardized Smart Grid architectural models. For instance, the work of Ananthavijayan et al. (2019) examined a range of widely recognized Smart Grid architectures developed to support advanced grid functionalities. One notable framework is the North American Synchro-Phasor Initiative Network (NASPInet), introduced by Gorton et al. (2012), which focuses on facilitating synchronized phasor data exchange and improving real-time monitoring capabilities across power systems.

Another significant Smart Grid architecture is the Grid Operation and Planning Technology Integrated Capabilities Suite (GridOPTICS) proposed by Bobba et al. (2010). This architecture was developed to enhance grid operations and planning through integrated technological capabilities that support situational awareness and operational efficiency.

In addition, the National Institute of Standards and Technology (NIST) developed a comprehensive Smart Grid architectural framework that has gained broad acceptance as a reference model for Smart Grid implementation. According to the NIST Smart Grid model, the architecture is organized into seven logical domains, namely: customer, markets, service providers, operations, transmission, distribution, and bulk generation. These domains collectively represent the key functional components of the Smart Grid ecosystem and define the interactions among stakeholders involved in electricity generation, delivery, management, and consumption.

The NIST framework promotes interoperability among diverse technologies and provides a structured approach for integrating communication systems, control mechanisms, and energy management processes within modern Smart Grid environments.
[image: image1.png]—f—— Electrical flow =

Communication E
link

Wide Area Network
(WAN)
Fiber optic, cellular
network and satellites,

Service Electricity WIMAX, etc
ider 4 Ma.ljket

It
1T

System Operator

=

Yy

Home Area

u Network (HAN) | 7
it Custamer ZigBee, Zwave, WIF,|
i Bluetooth, etc w
Power tran;smission Customer
doe g Power Neighborhood Area Network (NAN)

PLC, ZigBee, WIMAX, WIFI, Satellite, etc

Power generation distribution

Smart grid architecture




Research has shown that smart grid environments are particularly vulnerable to sophisticated cyberattacks such as false data injection attacks, denial-of-service attacks, malware infiltration, and insider threats. False data injection attacks are especially critical, as they manipulate sensor readings and distort state estimation processes, potentially leading to incorrect operational decisions. Similarly, denial-of-service attacks can overwhelm communication networks, resulting in service disruption and delayed control actions. These vulnerabilities highlight the increasing complexity and risk associated with securing modern energy infrastructures.

In response to these challenges, traditional intrusion detection systems were initially deployed to safeguard grid operations. These systems typically relied on rule-based mechanisms and signature-based detection techniques. Although effective in identifying known attack patterns, such approaches are limited in their ability to detect unknown or evolving threats. Furthermore, they often suffer from high false alarm rates and lack scalability when applied to large-scale, real-time smart grid environments.

To overcome these limitations, machine learning techniques have been introduced into cybersecurity frameworks for smart grids. Algorithms such as Support Vector Machines, Random Forests, and K-Nearest Neighbors have demonstrated improved detection accuracy compared to traditional methods. However, these techniques require extensive feature engineering and often struggle with high-dimensional, time-dependent data generated by smart grid systems. Consequently, their performance may degrade when faced with complex or rapidly evolving cyber threats.

More recently, deep learning approaches have gained significant attention due to their ability to automatically learn hierarchical representations from raw data. Neural network architectures such as Artificial Neural Networks, Convolutional Neural Networks, and Recurrent Neural Networks, particularly Long Short-Term Memory networks, have shown strong performance in identifying complex patterns within large datasets. These models are particularly effective in analyzing time-series data, which is a fundamental characteristic of smart grid operations. Studies have demonstrated that deep learning-based intrusion detection systems provide higher accuracy and improved adaptability compared to conventional machine learning methods.

Components of Smart Grid Architecture

Customer Domain

The customer domain represents the end-user environment where electricity is consumed and, increasingly, generated and actively managed. Modern customers are no longer passive consumers but active participants in energy production and management through technologies such as solar panels, wind systems, energy storage units, smart appliances, entertainment devices, and intelligent lighting systems.

Advanced sensing technologies within this domain allow users to monitor, control, and optimize energy consumption and generation activities. Central to this framework is the use of Smart Meters (SMs), which facilitate intelligent energy measurement and support bidirectional communication between consumers and utility providers. Smart meters integrate metering functionality with communication infrastructures that enable data exchange and remote control operations.

The communication component of smart meters includes networking and control mechanisms that allow interaction with remote systems and execution of control instructions. Energy usage information collected by smart meters is transmitted through gateways to Data Concentrators (DCs) for aggregation and processing.

Communication between utility providers and smart meters enables the implementation of Demand Response (DR) programs. Demand response mechanisms allow users to monitor consumption patterns, shift energy-intensive activities to off-peak periods, and participate in dynamic pricing strategies. Furthermore, DR systems can be integrated into Home Energy Management Systems (HEMS), enabling automated control of household appliances and improved energy efficiency.

Market Domain

The market domain constitutes a vital component of Smart Grid infrastructure by providing a platform where electricity-related products, services, and grid resources are bought, sold, and traded. This domain facilitates economic interactions among stakeholders including utility companies, energy suppliers, consumers, and service providers.

The Smart Grid market environment supports dynamic pricing mechanisms, energy transactions, demand-side management initiatives, and emerging business models associated with distributed energy resources and smart energy ecosystems.

Service Provider Domain

The service provider domain acts as an intermediary and support component within the Smart Grid ecosystem. Entities operating within this domain provide services that support the business activities of electricity producers, transmission operators, distribution companies, and consumers.

Typical services include customer account management, billing operations, maintenance support, energy usage analytics, and various value-added services. Through seamless interaction with other Smart Grid domains, service providers contribute to improved operational efficiency and customer satisfaction.

Operations and Monitoring Systems

The operations domain encompasses the collection of intelligent systems used for monitoring, controlling, and optimizing power system operations. Through continuous supervision of electricity flow, customer demand, storage resources, and emergency conditions, this domain plays a critical role in maintaining grid stability, reliability, and resilience.

Several components contribute to effective system operations:
Supervisory Control and Data Acquisition (SCADA):
SCADA serves as the primary monitoring and control infrastructure responsible for collecting, interpreting, and processing real-time operational data from the electrical grid. The system integrates sensors, control units, communication interfaces, and centralized computing platforms.
Human–Machine Interface (HMI):
The Human–Machine Interface provides communication and interaction between operators and SCADA systems, enabling visualization and control of grid operations.
Automatic Generation Control (AGC):
AGC maintains a balance between electricity demand and power generation by adjusting generation output according to system load requirements.
Energy Management System (EMS):
The EMS is responsible for supervising, optimizing, and coordinating power system operations to ensure efficient utilization of available resources.

Collectively, these systems contribute to effective grid management and rapid response to operational disruptions.

Transmission Domain

The transmission domain is responsible for the large-scale transfer of electrical power from generation facilities to distribution systems through interconnected substations and transmission lines.

Transmission infrastructures are typically monitored using SCADA systems that employ communication networks and field devices to collect real-time operational information. Important components within this domain include:

· Remote Terminal Units (RTUs) 

· Sensors 

· Protection relays 

· Power quality monitoring devices 

· Substation meters 

· Phasor Measurement Units (PMUs) 

PMUs play an essential role in measuring voltage and current phasors, including their magnitude and phase angle, to determine the direction and quantity of power flow.

The transmission domain also incorporates Intelligent Electronic Devices (IEDs), which support automation, control, and protection functionalities across Smart Grid infrastructures.

Distribution Domain

The distribution domain represents the final stage in the electricity delivery process, transporting power from transmission infrastructures to end-users.

Advanced monitoring and communication technologies are integrated into this domain to enhance visibility and operational efficiency. One of the major technologies deployed is the Advanced Metering Infrastructure (AMI), which consists of smart meters, communication systems, software applications, and customer-associated systems that collectively collect and analyze energy usage information.

Data collected through AMI systems are transferred to the Meter Data Management System (MDMS), which performs storage, processing, and analytical operations. Distributed MDMS architectures may be deployed near smart meter locations through multiple concentrators to improve processing efficiency.

Additional monitoring and control devices deployed within the distribution domain include:

· Remote Terminal Units (RTUs) 

· Distribution Phasor Measurement Units (D-PMUs) 

· Intelligent Electronic Devices (IEDs) 

D-PMUs are specialized versions of PMUs designed specifically for distribution systems. These technologies significantly enhance electricity reliability, operational efficiency, and support sustainable energy initiatives.

Generation Domain

The generation domain includes diverse power generation technologies and energy sources used to produce electricity. These energy sources include:

· Fossil fuel combustion systems 

· Nuclear energy 

· Hydroelectric systems 

· Wind energy 

· Solar energy 

· Geothermal energy 

Within Smart Grid environments, intelligent generation systems are integrated with demand forecasting and Automatic Generation Control mechanisms to dynamically regulate power output in response to changing load conditions. This adaptive approach helps maintain frequency stability and optimize overall system performance.

Smart Grid Communication Networks

Smart Grid communication infrastructure consists of three major network categories:

Home Area Networks (HANs)

HANs facilitate communication among devices within residential environments. They connect and manage smart appliances, sensors, smart meters, and home energy management systems.

Neighborhood Area Networks (NANs)

NANs extend communication capabilities beyond individual homes to cover neighborhoods or localized geographical regions. They aggregate information from multiple HANs and support intermediate communication functions.

Wide Area Networks (WANs)

WANs provide large-scale communication coverage across the entire power grid and support communication among utility centers, substations, and large operational infrastructures.

To support communication across these networks, Smart Grids utilize both wired and wireless technologies.
Wired communication technologies include:
· Fiber optics 

· Power Line Communication (PLC) 

· Ethernet 
Wireless communication technologies include:
· ZigBee 

· Bluetooth 

· Wi-Fi 

· WiMAX 

· Z-Wave 

· Wireless mesh networks 

· Cellular communication networks 

· Satellite communication systems 

Each communication technology possesses unique characteristics related to transmission speed, range, reliability, cost, and deployment requirements. Consequently, different technologies are deployed across different sections of the Smart Grid based on operational needs and communication objectives.

Smart Grid Communication Networks

Home Area Network (HAN)

Within Smart Grid (SG) environments, a Home Area Network (HAN) refers to a communication network designed to connect intelligent devices within residential settings to the power grid infrastructure. The primary objective of a HAN is to facilitate seamless communication and information exchange among various smart devices, including smart meters, thermostats, household appliances, energy management systems, and electric vehicles.

HANs support real-time interaction among connected devices through both wired and wireless communication technologies. Common communication technologies utilized within HAN environments include Ethernet, Wi-Fi, ZigBee, and Bluetooth. These technologies enable efficient transmission of energy-related information and support functionalities such as real-time energy monitoring, demand response programs, and home automation services.

Additionally, HAN communication may be implemented through Power Line Communication (PLC), which utilizes existing electrical wiring infrastructure to transfer information between connected devices. PLC operates under two principal categories based on transmission rates: Narrowband PLC (NB-PLC) and Broadband PLC (BB-PLC). Through these communication mechanisms, HANs improve consumer participation in energy management and contribute to intelligent residential energy systems.

Neighborhood Area Network (NAN)

A Neighborhood Area Network (NAN) represents a larger communication infrastructure formed through the aggregation of multiple Home Area Networks. Its primary purpose is to provide communication and data exchange across a neighborhood or localized geographic region.

Several communication technologies are commonly deployed within NAN infrastructures, including:

· Power Line Communication (PLC) 

· WiMAX 

· ZigBee 

· Wi-Fi 

· Cellular communication networks 

· Wireless mesh networks 

Wireless mesh networks have become particularly important within NAN environments. In mesh architectures, each smart meter functions not only as a data collection device but also as a communication relay or router for neighboring meters. This structure enables the transmission of energy consumption information from multiple households toward Data Concentrators (DCs).

These mesh networks frequently operate using unlicensed radio frequencies, often around the 900 MHz spectrum. Internet connectivity is then used to connect the mesh network to distributed Data Concentrators positioned several kilometers away. Such an architecture enhances communication reliability, scalability, and network coverage within Smart Grid systems.

Wide Area Network (WAN)

The Wide Area Network (WAN) serves as the primary communication backbone within Smart Grid infrastructure. WANs are designed to interconnect geographically dispersed networks and support communication among distributed power system components across large regions.

This high-capacity communication infrastructure supports long-distance data transmission and enables advanced monitoring, sensing, automation, and control operations throughout the Smart Grid ecosystem. WANs provide bidirectional communication capabilities necessary for real-time system management and intelligent grid operations.

Optical fiber communication is commonly employed within WAN infrastructures due to its high bandwidth capacity, reliability, and transmission speed. Fiber optic deployments across transmission and distribution domains support several utility services, including:

· System protection mechanisms 

· Load management operations 

· Distributed Generation (DG) management 

· Distribution automation 

· Diagnostic monitoring services 

Although wired communication technologies remain widely adopted in automation systems, wireless communication alternatives have gained increasing attention because of their flexibility and deployment advantages. Technologies such as cellular networks, WiMAX, and satellite communication systems provide reliable Internet connectivity for metering infrastructures and automation devices.

Wireless Sensor Networks (WSNs) also represent an emerging communication paradigm within Smart Grid environments, particularly for sensing and metering applications. WSNs provide distributed sensing capabilities that enhance operational visibility and support intelligent grid management.

Furthermore, Cognitive Radio (CR) technology has emerged as a promising solution for improving spectrum utilization within Smart Grid communication systems. Cognitive radio enables dynamic and selective access to radio frequency bands by allowing unlicensed secondary users to utilize underutilized spectrum allocated to licensed primary users. This adaptive spectrum-sharing mechanism improves communication efficiency and addresses bandwidth limitations in wireless Smart Grid applications.

Components and Communication Links within the Smart Grid

The Smart Grid is a highly interconnected and complex cyber-physical system comprising multiple components that cooperate through advanced communication infrastructures. Effective operation of the Smart Grid depends heavily on reliable communication links that support information exchange among generation systems, transmission networks, distribution infrastructures, utility providers, and end-users.

The communication framework enables coordination among different Smart Grid components for monitoring, control, decision-making, and automation purposes. Communication links facilitate real-time data transfer between smart meters, sensors, substations, control centers, and management platforms, thereby improving operational efficiency, situational awareness, and system reliability.

A comprehensive representation of Smart Grid components and their communication pathways provides a clear understanding of system interactions and highlights the critical role played by communication technologies in enabling intelligent energy management and automation across modern power infrastructures.

[image: image2.png]Areai AGC

Communication |
link Generators

m Control signal

Pitie, fi based on

“ APci and ACEi

mie estimatedstate | refined
NS Calculate (primary) | mMeasurement
ACEi |

estimated state (final)

e

. / _—~ Transmition data
System frequencies / _— after analysis
-_ Tie-line Power flows " § —
exchange cost,
consumption, demand

response programs, energy
consumption ...

real time

| \ data
collection
sendalarmifa

E fault is detected

real time data /
control messages

data of customer

payment
transaction,...

Diagram illustrating the components of the smart grid and the communication links




Despite these advancements, existing research still faces several limitations. Many proposed models are not fully optimized for real-time deployment in smart grid environments, and some lack robustness against adversarial attacks designed to deceive learning algorithms. Additionally, there is still a gap in developing unified intelligent cybersecurity frameworks that combine high detection accuracy, low latency, and adaptive learning capabilities for dynamic grid conditions. These gaps form the basis for the development of an enhanced intelligent cybersecurity model leveraging deep learning techniques.

Cyber Attacks in Smart Grids

The increasing integration of advanced communication technologies, intelligent devices, and interconnected infrastructures within Smart Grids (SGs) has significantly improved operational efficiency and automation. However, this technological evolution has also expanded the attack surface of power systems, making them increasingly susceptible to cyberattacks. The complexity of Smart Grid architectures introduces numerous entry points that malicious actors can exploit to compromise system functionality, confidentiality, integrity, and availability.

Understanding the nature of cyber threats and their potential targets within Smart Grid environments is essential for developing effective security strategies. Cyberattacks in Smart Grids can generally be categorized from two perspectives: attack type classification and target-based classification. Attack-type classification groups cyber threats according to their operational characteristics and attack methodologies, while target-based classification identifies vulnerable Smart Grid components that may be exploited.

Common cyberattacks affecting Smart Grid systems include Man-in-the-Middle (MiTM) attacks, Replay Attacks (RA), Time Delay Attacks (TDA), False Data Injection Attacks (FDIA), Load Redistribution Attacks (LRA), Denial-of-Service (DoS) attacks, Time Synchronization Attacks (TSA), Switching Attacks (SA), malicious command injections, and malware attacks. Each of these attacks possesses unique operational features and can have severe consequences on grid stability, reliability, and operational integrity.

Types of Cyber Attacks in Smart Grids

Different cyberattacks possess distinct objectives, mechanisms, and impacts on Smart Grid operations. Understanding these attack categories assists in designing specialized defense mechanisms and prioritizing cybersecurity efforts based on threat severity and system vulnerability.

Man-in-the-Middle (MiTM) Attacks

Man-in-the-Middle attacks represent a significant threat to Smart Grid communication systems. In this type of attack, an adversary secretly positions themselves between two communicating entities to intercept, monitor, alter, or manipulate exchanged information while maintaining the appearance of legitimate communication.

The attacker may perform eavesdropping activities or impersonate one of the communicating devices, thereby compromising confidentiality and integrity. Smart Grid communication protocols such as Modbus TCP/IP have been identified as vulnerable to MiTM attacks.

MiTM attacks become particularly challenging to detect in systems involving geographically distributed measurement devices such as Phasor Measurement Units (PMUs) and Phasor Data Concentrators (PDCs). Due to transmission distances and stringent real-time communication requirements, there may be insufficient processing time for comprehensive encryption, authentication, and integrity verification mechanisms.

Replay Attacks (RA) and Time Delay Attacks (TDA)

Accurate timing and timely transmission of control signals are essential for maintaining stable Smart Grid operations. Replay Attacks and Time Delay Attacks exploit timing dependencies within control systems.

Time Delay Attacks intentionally introduce delays into communication channels, thereby disrupting the transmission and reception of packets. Such disruptions can degrade system responsiveness and destabilize operational processes.

Replay Attacks involve recording legitimate sensor measurements or control commands during normal operations and subsequently retransmitting these previously captured messages at later times. By replacing real-time measurements with historical information or maliciously repeating control instructions, attackers manipulate system behavior.

Both attack strategies can cause control centers to operate using outdated or inaccurate information, potentially driving system states beyond acceptable operating conditions and causing physical damage to power infrastructures.

False Data Injection Attacks (FDIA)

False Data Injection Attacks target state estimation processes within Smart Grid environments. State estimation is a fundamental process used to determine unobservable system states based on collected measurement data.

In FDIA scenarios, attackers inject carefully crafted malicious measurement vectors into the system while exploiting weaknesses in bad data detection mechanisms. These manipulated measurements evade detection and produce inaccurate state estimation outcomes.

Because many Smart Grid operational applications—including economic dispatch, load balancing, and operational decision-making—depend heavily on accurate state estimation, manipulated estimates may cause erroneous decisions, operational inefficiencies, and system instability.

Additionally, FDIA attacks may result in unnecessary generation rescheduling, inappropriate load shedding, and reduced grid reliability.

Load Redistribution Attacks (LRA)

Load Redistribution Attacks represent a specialized category of False Data Injection Attacks specifically designed to manipulate economic dispatch operations.

Economic Dispatch systems seek to minimize overall operational costs through optimal allocation of power generation resources. LRA manipulates estimated system states to generate false dispatch outcomes, thereby forcing the system into economically inefficient operating conditions.

Two attack objectives commonly characterize LRAs:
Immediate attack objectives:
These aim to maximize operational costs immediately following the attack.
Delayed attack objectives:
These gradually overload transmission lines over time, potentially resulting in physical damage and infrastructure failures.

Such attacks can significantly affect power system efficiency and stability.

Denial-of-Service (DoS) Attacks

Smart Grid environments incorporate numerous intelligent devices, including:

· Smart meters 

· PMUs 

· Remote Terminal Units (RTUs) 

· Intelligent Electronic Devices (IEDs) 

· Smart appliances 

· Programmable Logic Controllers (PLCs) 

· Data aggregators 

These devices can become targets for Denial-of-Service attacks.

A DoS attack seeks to make system services or information inaccessible to intended users. In Smart Grid systems, attackers may prevent measurement information from reaching monitoring centers or obstruct control commands from reaching field devices.

DoS attacks commonly involve:

· Flooding communication channels with excessive traffic 

· Exploiting protocol vulnerabilities 

· Jamming communication signals 

· Manipulating routing mechanisms 

Such attacks disrupt system functionality, degrade monitoring capabilities, and may lead to operational instability.

An advanced form known as Distributed Denial-of-Service (DDoS) attacks utilizes multiple compromised systems simultaneously to launch coordinated attacks, making detection and mitigation more difficult.

Another variation, known as a puppet attack, manipulates legitimate nodes into becoming malicious communication sources that consume network resources and degrade communication performance.

Time Synchronization Attacks (TSA)

Time Synchronization Attacks target timing infrastructures used throughout Smart Grid systems. Numerous applications rely on synchronized measurements obtained from devices such as PMUs.

Time synchronization commonly depends on:

· Global Positioning System (GPS) 

· Network Time Protocol (NTP) 

· Precision Time Protocol (PTP) 

GPS-based synchronization obtains timing information from satellite systems, whereas NTP-based systems synchronize clocks using master-slave communication structures.

Attackers may exploit these mechanisms through:

· GPS signal jamming 

· GPS spoofing 

· Software compromise 

· Timing manipulation 

Such attacks disrupt synchronized operations and negatively impact measurement accuracy and control processes.

Switching Attacks (SA)

Switching Attacks involve malicious manipulation of circuit breaker operations and switching sequences within substations and transmission infrastructures.

Attackers identify switching sequences capable of creating instability in generator phase angles and operating frequencies. Such instability may force generators to disconnect from the grid.

In practical scenarios, compromised substations may experience unauthorized disconnection of:

· Transformers 

· Transmission lines 

· Circuit breakers 

· Bus systems 

Switching attacks targeting IP-based substations may exploit compromised local computers or Intelligent Electronic Devices with control privileges.

Additionally, these attacks can trigger cascading failures that propagate throughout interconnected power infrastructures and potentially lead to large-scale blackouts.

Malicious Command Injection and Malware Attacks

Cyber attackers may exploit vulnerabilities within Human–Machine Interfaces (HMIs), software platforms, or operating systems to introduce malicious commands into Smart Grid systems.

One attack technique involves installing remote shells that enable unauthorized remote access and complete system manipulation.

Malicious command injection attacks compromise control operations and alter system behavior in harmful ways.

Smart Grid systems may also experience malware-related attacks such as:
Logic Bombs:
Malicious code programmed to execute destructive actions when specific conditions are satisfied. Effects may include system failures, data deletion, or unauthorized modifications.
Trojan Horses:
Malicious software disguised as legitimate applications to deceive users into executing harmful code.
Botnets:
Networks of compromised devices remotely controlled by attackers to distribute malware, steal information, and launch coordinated attacks.

These malware threats can significantly compromise Smart Grid security and operational resilience.

Attack Classification Based on Target Components

Beyond attack methodologies, cyber threats can also be categorized according to the Smart Grid components they target. Understanding vulnerable attack points is essential for identifying security weaknesses and implementing effective defense mechanisms.

Potential attack targets within Smart Grid infrastructures include:

· Customer systems 

· Power markets 

· Service providers 

· SCADA systems 

· Wide Area Network communication infrastructures 

· Measurement devices 

· Automatic Generation Control systems 

Each component possesses distinct vulnerabilities and attack surfaces. Exploitation of these weaknesses can severely disrupt grid operations and negatively affect system reliability, stability, and overall security.

Consequently, target-based attack classification provides a structured approach for evaluating Smart Grid security risks and developing component-specific protection mechanisms.

[image: image3.png]MITM, Dos, RA
&TDA

. Communication
link

AGC

Popping the HMI &
fon malicious commands,
malware attacks (logic = |

SCADA system

=

System Operator
FDIA
EMS Electricity
LRA Market &
Aurora attacks v NEEEE Service
- provider

bomb, Trojan horse..),
botnet

m\i/— “>

MiTM, Dos,
RA&TDA

GPS jamming,
soofine, RN NG N
&software o

compromise Puppet attacks,

i oo

Power transmission and distribution

(jamming or routi
attacks.)

Attack points in the smart grid

MiTM, LMP manipulation
&social engineering attacks,
(phishing attack..)

MiTM & DOS

g o

EV
Customer




Methodology 
The methodology adopted in this study is based on the design and implementation of an intelligent cybersecurity framework for smart grid protection using deep learning techniques. The system architecture is structured into multiple layers, including data acquisition, data preprocessing, feature extraction, deep learning-based detection, and response mechanisms. This layered approach ensures efficient processing of data and real-time detection of cyber threats within smart grid environments.

The first stage involves data collection from smart grid environments, which may include simulated or real-world datasets obtained from sensors, smart meters, SCADA systems, and network traffic logs. These datasets contain both normal operational data and malicious attack scenarios, providing a comprehensive foundation for model training and evaluation. The data collected reflects various operational states of the grid, including power consumption patterns, voltage levels, and communication signals.

Following data collection, preprocessing is carried out to enhance data quality and ensure consistency. This stage involves cleaning the dataset by removing noise, handling missing values, and normalizing numerical features to a standard scale. Categorical variables are also encoded to make them suitable for deep learning algorithms. The preprocessing stage is critical in ensuring that the input data is structured in a way that improves model learning efficiency and accuracy.

After preprocessing, feature extraction and selection are performed to identify the most relevant attributes contributing to intrusion detection. Although deep learning models are capable of automatic feature extraction, additional techniques such as statistical correlation analysis and dimensionality reduction may be applied to enhance performance and reduce computational complexity. This step ensures that only significant features influencing grid behavior and security are retained for analysis.

The core of the proposed methodology is the deep learning model designed for intrusion detection. The model typically integrates Convolutional Neural Networks for spatial feature extraction and Long Short-Term Memory networks for analyzing temporal dependencies in sequential data. This hybrid architecture enables the system to effectively capture both spatial and time-dependent patterns associated with normal and abnormal grid behavior. The model is trained to distinguish between legitimate system activities and potential cyberattacks by learning from historical data.

The training process involves splitting the dataset into training, validation, and testing subsets to ensure proper evaluation of model performance. The model is optimized using backpropagation and gradient descent techniques, while optimization algorithms such as Adam are used to enhance convergence speed. To prevent overfitting, regularization techniques such as dropout are applied during training. The loss function used in the model is typically based on cross-entropy, which measures the difference between predicted and actual classifications.

Once trained, the model is deployed for real-time intrusion detection within the smart grid environment. Incoming data streams are continuously analyzed, and the system classifies them as either normal or malicious. When an anomaly is detected, the system triggers an alert mechanism and may initiate automated response actions, such as isolating affected nodes or rerouting data traffic to prevent further damage.

Finally, the performance of the proposed model is evaluated using standard metrics such as accuracy, precision, recall, F1-score, and false positive rate. These metrics are used to assess the effectiveness of the system in detecting cyber threats. Comparative analysis is also conducted against traditional machine learning models to demonstrate the superiority of the deep learning-based approach in terms of accuracy, adaptability, and real-time performance.
Implementation
The experimental evaluation of the proposed model demonstrates strong performance in detecting cyberattacks within smart grid environments. The system successfully identifies multiple types of attacks, including denial-of-service attacks, false data injection, malware infiltration, and unauthorized access attempts.

The CNN component significantly improves feature extraction by identifying spatial patterns in network traffic data. This enables the system to detect abnormal traffic behavior at an early stage of analysis.

The LSTM and RNN components enhance the system’s ability to analyze sequential behavior, allowing it to detect multi-stage and time-dependent cyberattacks. This is particularly important in smart grid environments where attacks often occur gradually over time.

The Autoencoder model effectively detects anomalies by learning normal system behavior and identifying deviations. This makes the system highly effective in detecting unknown and zero-day attacks.

Overall, the integrated multi-layer architecture outperforms traditional machine learning models in terms of accuracy, precision, recall, and false-positive reduction. The system also demonstrates fast response time, making it suitable for real-time deployment in critical infrastructure environments.

The results confirm that combining multiple deep learning models significantly enhances cybersecurity performance by providing a comprehensive and multi-dimensional analysis of smart grid behavior.
Results
The performance of the proposed intelligent cybersecurity model for smart grid protection using deep learning was evaluated using standard classification metrics, including accuracy, precision, recall, F1-score, and false positive rate. The model was trained and tested on a combination of normal operational data and simulated cyberattack scenarios within a smart grid environment.

The results indicate that the deep learning-based model achieved high detection performance in identifying both normal and malicious activities. The model demonstrated strong classification capability, with a consistently high accuracy level across training and testing datasets. This suggests that the model effectively learned underlying patterns in smart grid traffic and was able to generalize well to unseen data.

In addition, the precision and recall values showed that the system was able to correctly identify most attack instances while minimizing misclassification of normal activities as threats. The low false positive rate further confirms that the model reduces unnecessary alerts, which is a critical requirement in real-time smart grid operations where excessive false alarms can lead to operational inefficiency.

Comparative analysis with traditional machine learning algorithms such as Support Vector Machines, Random Forest, and K-Nearest Neighbors revealed that the proposed deep learning model outperformed these approaches in all evaluation metrics. In particular, the hybrid architecture combining spatial and temporal feature learning significantly improved the detection of complex and time-dependent attack patterns.

Discussion 

The results obtained from this study demonstrate the effectiveness of deep learning techniques in enhancing cybersecurity within smart grid environments. The superior performance of the proposed model can be attributed to its ability to automatically extract meaningful features from raw data without relying on manual feature engineering. This allows the system to adapt more effectively to the dynamic and complex nature of smart grid operations.

The integration of temporal analysis through sequential learning mechanisms enables the model to capture time-dependent variations in grid behavior, which is essential for detecting sophisticated cyberattacks such as false data injection and coordinated intrusion attempts. This capability is a significant improvement over traditional models that often fail to account for temporal dependencies in the data.

Furthermore, the reduced false positive rate observed in the results is particularly important for real-world deployment. In smart grid systems, excessive false alarms can lead to unnecessary operational interruptions and reduced trust in the cybersecurity system. The proposed model’s ability to maintain high detection accuracy while minimizing false alerts enhances its practicality for real-time applications.

However, despite these promising results, certain limitations were observed. The computational complexity of deep learning models remains relatively high, which may pose challenges for deployment in resource-constrained environments. Additionally, the interpretability of deep learning decisions is limited, making it difficult for system operators to fully understand the rationale behind specific classifications.

Overall, the findings confirm that deep learning provides a highly effective approach for securing smart grid infrastructures. The model not only improves detection accuracy but also enhances the adaptability and robustness of cybersecurity systems against evolving threats. Future improvements could focus on optimizing computational efficiency, incorporating explainable AI techniques, and developing hybrid frameworks that combine deep learning with rule-based systems for enhanced reliability.

Conclusion

The increasing integration of digital technologies into modern power systems has transformed traditional electrical grids into highly interconnected smart grids. While this advancement has significantly improved efficiency, reliability, and real-time monitoring capabilities, it has also exposed critical infrastructure to a growing range of sophisticated cyber threats. These vulnerabilities highlight the urgent need for intelligent and adaptive cybersecurity mechanisms capable of safeguarding smart grid environments against both known and emerging attacks.

This study presents an intelligent cybersecurity model for smart grid protection based on deep learning techniques. The proposed framework leverages the ability of deep learning architectures to automatically learn complex patterns from large-scale and high-dimensional data generated within smart grid systems. By integrating spatial feature extraction and temporal sequence analysis, the model demonstrates strong capability in detecting anomalies and distinguishing between normal and malicious activities in real time.

Unlike traditional intrusion detection systems that rely on static rules or signature-based approaches, the deep learning-based model offers improved adaptability, scalability, and accuracy in identifying evolving cyber threats. Furthermore, its ability to process continuous data streams makes it suitable for real-time deployment in dynamic smart grid environments where timely detection is critical to preventing operational disruptions.

The findings of this study also emphasize that while machine learning techniques have contributed significantly to cybersecurity advancements, deep learning provides a more robust and efficient solution for handling the complexity of modern smart grid data. However, challenges such as computational cost, model interpretability, and resistance to adversarial attacks still need to be addressed to enhance practical deployment.

In conclusion, the proposed intelligent cybersecurity model represents a promising approach toward strengthening the resilience of smart grid infrastructures. It provides a foundation for developing more secure, adaptive, and autonomous energy systems capable of withstanding increasingly complex cyber threats. Future research should focus on improving real-time efficiency, enhancing explainability of deep learning models, and integrating hybrid security mechanisms to further strengthen smart grid protection.
Recommendations 
Based on the findings of this study, it is strongly recommended that smart grid operators adopt deep learning-based cybersecurity systems as part of their core infrastructure protection strategies. These systems provide superior detection capabilities and real-time response mechanisms compared to conventional security approaches.

It is also recommended that hybrid multi-layer deep learning architectures be prioritized over single-model systems, as they provide more robust and comprehensive threat detection capabilities by combining spatial, temporal, and anomaly-based analysis.

Continuous model retraining is essential to ensure that cybersecurity systems remain effective against evolving and emerging cyber threats. Since cyber attack techniques constantly change, static models quickly become outdated.

The integration of explainable artificial intelligence (XAI) techniques is also recommended to improve transparency and interpretability in cybersecurity decision-making processes. This is particularly important in critical infrastructure environments where accountability is essential.

Real-time automated response systems should be implemented to enable immediate mitigation of detected threats, thereby minimizing potential damage to smart grid operations.

Finally, collaboration among researchers, industry stakeholders, and government agencies is recommended to develop standardized datasets, benchmarking frameworks, and shared cybersecurity protocols for smart grid protection.
References
Ruan, J., Liang, G., Zhao, J., Zhao, H., Qiu, J., Wen, F., Dong, Z.Y.: Deep learning for cybersecurity in smart grids: Review and perspectives. Energy Convers. Econ.4, 233–251 (2023). https://doi.org/10.1049/enc2.12091 

Faheem M, Shah SBH, Butt RA, Raza B, Anwar M, Ashraf MW, Ngadi MA, Gungor VC (2018) Smart grid communication and information technologies in the perspective of industry 4.0: opportunities and challenges. Comput Sci Rev 30:1–30
Faheem M, Gungor VC (2018) Energy efficient and qos-aware routing protocol for wireless sensor network-based smart grid applications in the context of industry 4.0. Appl Soft Comput 68:910–922

Faheem M, Butt RA, Raza B, Ashraf MW, Ngadi MA, Gungor VC (2019) A multi-channel distributed routing scheme for smart grid real-time critical event monitoring applications in the perspective of industry 4.0. Int J Ad Hoc Ubiquit Comput 32(4):236–256

Faheem M, Umar M, Butt RA, Raza B, Ngadi MA, Gungor VC (2019) Software defined communication framework for smart grid to meet energy demands in smart cities. In: 2019 7th International Istanbul smart grids and cities congress and fair (ICSG), pp 51–55. IEEE

Farooq SM, Nabirasool S, Kiran S, Hussain SS, Ustun TS (2018) Mptcp based mitigation of denial of service (dos) attack in pmu communication networks. In: 2018 IEEE international conference on power electronics, drives and energy systems (PEDES), pp 1–5. IEEE
Fritz JJ, Sagisi J, James J, Leger AS, King K, Duncan KJ (2019) Simulation of man in the middle attack on smart grid testbed. In: 2019 SoutheastCon, pp 1–6. IEEE
Gao W, Morris T, Reaves B, Richey D (2010) On scada control system command and response injection and intrusion detection. In: 2010 eCrime Researchers summit, pp 1–9. IEEE

Ghazizadeh MS, Aghamohammadi MR, et al (2023) A deep learning-based attack detection mechanism against potential cascading failure induced by load redistribution attacks. IEEE Trans Smart Grid

Girdhar M, Hong J, Lee H, Song T-J (2021) Hidden markov models-based anomaly correlations for the cyber-physical security of ev charging stations. IEEE Trans Smart Grid 13(5):3903–3914

Kallitsis MG, Bhattacharya S, Stoev S, Michailidis G (2016) Adaptive statistical detection of false data injection attacks in smart grids. In: 2016 IEEE global conference on signal and information processing (GlobalSIP), pp 826–830. IEEE

Kalluri R, Mahendra L, Kumar RS, Prasad GG (2016) Simulation and impact analysis of denial-of-service attacks on power scada. In: 2016 National power systems conference (NPSC), pp 1–5. IEEE

Kaplantzis S, Şekercioğlu YA (2012) Security and smart metering. In: European wireless 2012; 18th European wireless conference 2012, pp 1–8. VDE

Kawoosa AI, Prashar D (2021) A review of cyber securities in smart grid technology. In: 2021 2nd International conference on computation, automation and knowledge management (ICCAKM), pp 151–156. IEEE

Kayastha N, Niyato D, Hossain E, Han Z (2014) Smart grid sensor data collection, communication, and networking: a tutorial. Wirel Commun Mob Comput 14(11):1055–1087
Jakaria, A.H.M., Rahman, M.A., Gokhale, A.: Resiliency‐aware deployment of SDN in smart grid SCADA: A formal synthesis model. IEEE Trans. Netw. Serv. Manage. 18, 1430–1444 (2021)

Mrabet, Z.E., Kaabouch, N., Ghazi, H.E., Ghazi, H.E.: Cyber‐security in smart grid: Survey and challenges. Comput. Electr. Eng. 67, 469–482 (2018)

Ruan, J., Liang, G., Zhao, J., Qiu, J., Dong, Z.Y. (2022) “An inertia‐based data recovery scheme for false data injection attack”.IEEE Trans. Ind. Inf. 18(11), 7814–7823 

Hossain, E., Khan, I., Un‐Noor, F., Sikander, S.S., Sunny, M.S.H.: Application of big data and machine learning in smart grid, and associated security concerns: a review. IEEE Access 7, 13960–13988 (2019)

Aslani, M., Hashemi‐Dezaki, H., Ketabi, A.: Reliability evaluation of smart microgrids considering cyber failures and disturbances under various cyber network topologies and distributed generation's scenarios. Sustainability 13, 5695 (2021)

Kotsiopoulos, T., Sarigiannidis, P., Ioannidis, D., Tzovaras, D.: Machine learning and deep learning in smart manufacturing: The smart grid paradigm. Comput. Sci. Rev. 40, 100341 (2021)

LeCun, Y., Bengio, Y., Hinton, G.: Deep learning. Nature 521, 436–444 (2015)

Akhtar, N., Mian, A.: Threat of adversarial attacks on deep learning in computer vision: A survey. IEEE Access 6, 14410–14430 (2018)

Chen, Y., Tan, Y., Deka, D.: Is machine learning in power systems vulnerable? In: 2018 IEEE International Conference on Communications, Control, and Computing Technologies for Smart Grids (SmartGridComm), pp. 1–6. IEEE, Piscataway (2018)

Bécue, A., Praça, I., Gama, J.: Artificial intelligence, cyber‐threats and Industry 4.0: Challenges and opportunities. Artif. Intell. Rev. 54, 3849–3886 (2021)

Gardner, M.W., Dorling, S.R.: Artificial neural networks (the multilayer perceptron)—a review of applications in the atmospheric sciences. Atmos. Environ. 32, 2627–2636 (1998)

Gu, J., Wang, Z., Kuen, J., Ma, L., Shahroudy, A., Shuai, B., Liu, T., Wang, X., Wang, G., Cai, J., Chen, T.: Recent advances in convolutional neural networks. Patt. Recogn. 77, 354–377 (2018)

Lu, K.D., Wu, Z.G., Huang, T.: Differential evolution‐based three stage dynamic cyber‐attack of cyber‐physical power systems. IEEE/ASME Trans. Mechatron. 28(2), 1137–1148 (2022)

Tahir, B., Jolfaei, A., Tariq, M.: Experience‐driven attack design and federated‐learning‐based intrusion detection in industry 4.0. IEEE Trans. Ind. Inf. 18, 6398–6405 (2022)

Wang, Y., Xing, A., Qu, Z., Han, X., Dong, H., Georgievitch, P.M.: False data injection attack detection based on interval affine state estimation. Electr. Power Syst. Res. 210, 108100 (2022)

Han, Y., Feng, H., Li, K., Zhao, Q.: False data injection attacks detection with modified temporal multi‐graph convolutional network in smart grids. Comp. Sec. 124, 103016 (2023)

Majidi, S.H., Hadayeghparast, S., Karimipour, H.: FDI attack detection using extra trees algorithm and deep learning algorithm‐autoencoder in smart grid. Int. J. Crit. Infrastruct. Prot. 37, 100508 (2022)

Li, X., Wang, Y., Lu, Z.: Graph‐based detection for false data injection attacks in power grid. Energy 263, 125865 (2023)

Moayyed, H., Mohammadpourfard, M., Konstantinou, C., Moradzadeh, A., Mohammadi‐Ivatloo, B., Aguiar, A.P.: Image processing based approach for false data injection attacks detection in power systems. IEEE Access 10, 12412–12420 (2022)

Li, Y., Wu, J.: Low latency cyberattack detection in smart grids with deep reinforcement learning. Int. J. Electr. Power Energy Syst. 142, 108265 (2022)

Khazaei, J., Moazeni, F.: Neural networks‐based detection of line overflow cyberattacks on AC state‐estimation of smart grids. IEEE Syst. J. 17(2), 2399–2410 (2022)

Yin, X., Zhu, Y., Xie, Y., Hu, J.: PowerFDNet: Deep learning‐based stealthy false data injection attack detection for AC‐model transmission systems. IEEE Open J. Comput. Soc. 3, 149–161 (2022)


Zhang, H., Yue, D., Dou, C., Hancke, G.P.: Resilient optimal defensive strategy of micro‐grids system via distributed deep reinforcement learning approach against FDI attack. IEEE Trans. Neural Networks Learn. Syst. 1–11 (2022

Ruan, J., Fan, G., Zhu, Y., Liang, G., Zhao, J., Wen, F., etal.(2023) “Super‐resolution perception assisted spatiotemporal graph deep learning against false data injection attacks in smart grid”. EEE Trans. Smart Grid 1–1 

Li, Y., Wang, Y., Hu, S.:(2020) “Online generative adversary network based measurement recovery in false data injection attacks: A cyber‐physical approach”. IEEE Trans. Ind. Inf. 16, 2031–2043 

Wang, J., Shi, D., Li, Y., Chen, J., Ding, H., Duan, X.(, (2019) “”Distributed framework for detecting PMU data manipulation attacks with deep autoencoders. IEEE Trans. Smart Grid 10, 4401–4410 

Wilson, D., Tang, Y., Yan, J., Lu, Z.(2018) “Deep learning‐aided cyber‐attack detection in power transmission systems”. In: 2018 IEEE Power & Energy Society General Meeting (PESGM), pp. 1–5. IEEE, Piscataway 

Hu, C., Yan, J., Wang, C. (2019) “Robust feature extraction and ensemble classification against cyber‐physical attacks in the smart grid”. In: 2019 IEEE Electrical Power and Energy Conference (EPEC), pp. 1–6. IEEE, Piscataway 

Wei, F., Wan, Z., He, H., Lin, X.(2020) “Ultrafast active response strategy against malfunction attack on fault current limiter”. IEEE Trans. Smart Grid 11, 2722–2733 

